Greenhouse Gas and Criteria Pollutant Accounting Methodology for use in Load‐Serving

Entity Portfolio Development in 2026 Integrated Resource Plans

January 2026

Introduction

IRP Staff have developed a Clean System Power (CSP) calculator tool for Load Serving Entities (LSEs) to use in estimating the GHG and criteria pollutant emissions of their portfolios for 2028, 2030, 2035, 2040, and 2045.

This document contains instructions for using the spreadsheet calculator tool. All LSEs filing Standard Plans as part of the IRP process are required to demonstrate use of the CSP method and calculator tool to account for emissions of their portfolios. LSEs are also free to use other tools to inform or supplement this accounting method. Importantly, the calculator is not intended to be used as an after‐the‐fact compliance tool, but rather to provide LSEs a simple and uniform way of estimating the emissions associated with their IRP portfolios.

The core function of the CSP calculator is to assign emissions associated with the CAISO system’s dispatchable thermal generation and unspecified imports (“system power”) to LSEs based on how each LSE plans to rely on CAISO system power to meet its load on an hourly basis. The tool also calculates emissions from other generation sources that can be attributed to an LSE’s resource portfolio, including combined heat and power (CHP) and coal, as well as criteria pollutant emissions from biogas and biomass. The CSP tool relies on hourly dispatch profiles and results from the CPUC’s SERVM production cost and reliability model.

The CSP methodology enables the CPUC to address four critical needs for the IRP process: (1) to evaluate the expected GHG emissions associated with individual LSE plans and resource portfolios on a fair and consistent basis; (2) to compare each LSE’s expected GHG emissions against its CPUC-assigned benchmark; (3) to evaluate the expected criteria pollutant emissions associated with individual LSE plans and resource portfolios on a fair and consistent basis; and (4) to compare expected LSE emissions in aggregate against the 2025 Filing Requirements Portfolio to meet the GHG planning target for the electric sector at least cost.

Note that neither emissions from, nor demand met by, Behind-the-Meter Combined Heat and Power (BTM CHP) resources are included in the CSP calculator. While individual LSEs are not required to plan to reduce BTM CHP emissions, these emissions nevertheless count towards the electric sector emissions total.  Commission staff will account for BTM CHP emissions when calculating electric sector emissions of the aggregated LSE portfolios during the development of the Preferred System Plan. Commission-approved LSE GHG benchmarks apply to an LSE’s supply-side emissions; BTM CHP emissions have already been subtracted from the LSE GHG benchmarks.

In the 22-23 IRP cycle, LSEs had to fill out two separate CSP calculators, one for the 30 MMT GHG target and one for the 25 MMT GHG target. For the 24-26 IRP cycle, LSEs must only fill out one CSP calculator corresponding to the 25 MMT GHG target.

Conceptual steps taken by the Clean System Power tool to calculate LSE-specific emissions

The steps of the CSP method are as follows:

- The LSE enters their assigned annual managed sales and BTM photovoltaic (BTM PV) forecasts and GHG benchmarks that have been approved per the process outlined in the August 2025 ALJ Ruling Establishing Process for Finalizing Load Forecasts and Greenhouse Gas Emissions Benchmarks for Individual Integrated Resource Plan Filings (R.25-06-019).

- The managed sales forecast is broken into components on an annual basis. The individual demand modifier components are:

  - Baseline electricity consumption, net of BTM CHP

  - Electric vehicles

  - Building electrification (AAFS)

  - Energy efficiency (AAEE)

  - Data centers

  - Climate change impact (separated into load increases and decreases)

  - BTM photovoltaics

  - BTM storage

- The annual demand forecast is translated into an hourly demand shape for each hour of the year for each demand component, resulting in a profile that reflects the LSE’s expected total energy to serve load (demand at the utility-scale generator bus-bar) on an hourly basis for all future years modeled in the CSP calculator.

- A portion of the LSE’s demand is met with a load-ratio share of the system-wide in front of the meter (IFM) CHP generation. Emissions from IFM CHP generation are attributed to the LSE.

- Using the Resource Data Template (RDT), the LSE builds a projected portfolio of its owned or contracted resources, which includes both online and planned resources. The portfolio can, and for most LSEs should, change over time from the first year (2028) to the last year (2045) that is included in the CSP calculator. After filling out the RDT, the LSE should copy the numeric values from CSP output tab in the RDT directly into the Supply Inputs tab of the CSP workbook using the “paste values” option in Excel. Resources count towards an LSE’s portfolio in the CSP calculator only if their power output is delivered to (1) a California Balancing Authority area, if RPS- eligible, or (2) the CAISO system if the resource is not RPS-eligible.

  - This portfolio includes:

    - RPS-eligible delivered resources (whether within CAISO or a dedicated import; includes RPS Bucket 1 and any other RPS-eligible resources that meet the criteria to qualify as RPS Bucket 1 except for the contract execution date of the resource)

    - Large hydro within CAISO

    - Dedicated hydro imports

    - Imports from an Asset Controlling Supplier

    - Nuclear

    - Coal (dedicated import)

    - Shed demand response (load shedding at peak)

    - Standalone battery storage

    - Pumped hydro storage

    - Hybrid or paired solar and battery resources

    - Generation with a defined hourly profile that:

      - Does not fit into one of the categories above, and

      - Does not produce GHG emissions

    - Standalone storage with a defined hourly profile that does not fit into one of the categories above

  - The portfolio excludes:

    - Dispatchable gas resources (combined cycle, combustion turbine, etc.)

    - Unspecified imports

    - Gas-fired combined heat and power

The resource capacity data that is passed from the RDT to the CSP calculator has different units based on resource type:

- Installed capacity for shed demand response, pumped hydro, and custom profile storage

- Installed discharge depth for standalone batteries. This is frequently referred to as the “energy capacity” of the battery.

- Annual energy for all other resources

Conversion of RDT inputs to the appropriate CSP units is performed automatically in the RDT; LSEs do not need to perform this calculation.

- The LSE can toggle between calculating emissions for their full portfolio of resources (online + in-development + review + planned) or a portfolio with only their online + in-development resources. The IRP filing will only consider emissions from the CSP calculator for the full portfolio of resources (online + in-development + review + planned). Emissions from the portfolio with only online + in-development resources should be submitted with LSE IRP filings but will be used for informational purposes only.

- For each resource type in the projected portfolio, the resource capacity data from the RDT is used to produce a production profile for each hour for the modeled years. Storage resources can both increase demand (charging) or decrease demand (discharging). The CSP calculator converts all supply resources from the RDT to installed capacity before multiplying by an hourly capacity factor.

- The hourly production from each resource type in the projected portfolio is added to the hourly production profile of IFM CHP, resulting in the total supply from all resources except for system power.

- The hourly production from all resources in the previous step is subtracted from the hourly demand profile, resulting in an hourly MW value (referred to in the tool as “Net purchases, before curtailment and exports”) for each hour that represents the amount of power available from the LSE’s portfolio relative to the LSE’s demand in that hour. Positive values indicate that the LSE is relying on system power – dispatchable gas within CAISO and unspecified imports – to serve part of its demand. Negative values indicate that the LSE has excess power that can be supplied to the system.

SERVM dispatch patterns can include hours with simultaneous renewable curtailment and gas generation and/or unspecified imports during the same hour. There are a variety of factors that may cause simultaneous curtailment of renewable generation and production from dispatchable gas generation/unspecified imports, including transmission constraints within CAISO, minimum uptime and downtime constraints on thermal resources, reserve requirements, ramp rate limitations, etc. Consequently, it is likely to be difficult to displace the remaining thermal generation in many of these hours. The hourly emissions factor calculation, outlined in a subsequent section, produces an emissions factor that represents the average emissions per MWh of system power. As long as there is non-zero generation from CAISO dispatchable gas generators and/or unspecified imports, the calculated emissions factor will fall in the range of typically observed CAISO system power emissions factors (~0.35-0.7 tCO2/MWh). This is true even if the magnitude of the system power is small (perhaps a few hundred MWs), and even if there is curtailment somewhere on the system. Applying this emissions factor to hours in which there is significant curtailment is inappropriate because this would allow an LSE to displace emissions from system power during hours when there is little to no system power that could be displaced. Consequently, the net purchases value that is used to calculate emissions is adjusted during hours when renewable curtailment is observed in the SERVM production cost simulation. To ensure that all system-level emissions are accounted for across LSE portfolios, the MW level of dispatchable gas + unspecified imports is added back to the LSE’s net purchases on a load-ratio share basis during hours where there is a meaningful level of curtailment (>100 MW) in SERVM. The result of the above calculations is the hourly “net system power,” which represents the power supplied by the system (or sent back to the system if negative).

- The net system power is multiplied by the system emissions intensity on an hourly basis, yielding total emissions associated with using system power for that LSE for every hour of the year. Four separate emissions profiles (CO2, SO2, NOx, and PM2.5) are multiplied by the net system power value in each hour, resulting in separate values for hourly emissions for each of the four emission types calculated in the Clean System Power tool. When an LSE has an oversupply of power (a negative net system power), it receives credit for avoiding system power at the system power emissions intensity during that hour.

- Emissions from coal, IFM CHP, biomass, and biogas are calculated in a similar manner using the hourly production profiles developed above.

- Hourly emissions from the previous two steps are summed over the course of a year to yield resource-specific subtotals. The subtotals are then added together, resulting in the total emissions for each year for each type of emissions. Criteria pollutant emissions (SO2, NOx, PM2.5) from specified imports of coal generation are calculated for informational purposes but are not included in the total emissions because these emissions occur outside of California.

- For the purpose of calculating an LSE’s percentage of RPS-eligible delivered renewable and GHG-free generation, excess generation that is not used to serve an LSE’s load is divided between exports and curtailment. Exported generation contributes to an LSE’s RPS-eligible delivered renewable and GHG-free generation; curtailed generation does not. All excess generation is assumed to be exported up to the LSE’s load-ratio share of hourly SERVM exports; any excess generation past this level of exports is curtailed.

- The CSP calculator also calculates “Zero Emissions Power From System,” which represents system power that is used to cover a portion of an LSE’s load during periods of system-wide curtailment.

- The CSP calculator makes an adjustment to the calculated emissions from system power to account for a known difference in GHG emissions between RESOLVE, SERVM, and the CSP calculator, which stem from differences in modeling approach between the three tools. Per CPUC direction, LSEs should plan their portfolios to be consistent with RESOLVE resource portfolios. To align emissions calculated by the CSP calculator with the RESOLVE resource portfolios that LSEs must plan to, an adjustment is made each year based on the difference between GHG emissions in the 2025 Filing Requirements RESOLVE model and CAISO-wide GHG emissions calculated by CSP calculator (using inputs from the 2025 Filing Requirements SERVM model).

Hourly emissions factors used in the CSP calculator

The CSP Calculator is a tool that automates calculation of the net system power attributable to each LSE. It contains emissions intensities for system power that represent the average of only dispatchable thermal and unspecified imports on the CAISO system. The net system power emissions intensities are calculated in this manner because they are designed to quantify the emissions associated with consuming system power during hours when an LSE does not have enough GHG-free power to serve its own hourly load, while also assuming that CAISO system operations reflect a proportionate achievement of a statewide GHG target for the electric sector. Consequently, system power hourly emissions intensities are not directly comparable to other analyses that quantify the average emissions intensities of all generation (and imports and exports), both emitting and GHG-free. The CSP calculator also quantifies emissions “credits” that LSEs may receive by supplying more power to the system than is necessary to cover their own load.

Average system power emissions factors, as opposed to marginal, are used in the tool. Marginal emissions factors may be more appropriate when assessing the emissions impact of new investments or incremental demand (e.g., estimating emissions reductions from power plants that would turn down to accommodate additional renewable generation). The decision to use average rather than marginal emissions factors for system power reflects the underlying goal of the CSP method: to attribute system‐wide emissions to multiple LSEs in a consistent manner, so that the aggregation of their portfolio emissions will be comparable to those of the system. One benefit of using average emissions factors is that multiplying an average emissions factor by a given level of system power will sum to the total emissions for that amount of system power. In California, where there is a single dominant dispatchable fuel (natural gas), marginal emissions factors will tend to overestimate aggregate emissions because the marginal generator tends to be less efficient than generators further down in the stack of dispatchable resources.

Calculation description:

The average emissions factors (metric tons/MWh) of generation on the CAISO system associated with the 2025 Filing Requirement Portfolios are calculated for a subset of study years (2028, 2030, 2035, 2040, and 2045) on an hourly basis.

Hourly, unit-level generation profiles from the SERVM production cost model maintained by CPUC staff are the basis for the hourly generation profiles. SERVM dispatch values originate from simulations of the 2025 Filing Requirement Portfolios; the SERVM runs for the CSP calculator represent the 2025 Filing Requirement Portfolios directly and have not been tuned to a 0.1 loss-of-load expectation. While SERVM simulates many years of historical conditions in each production cost model run, dispatch data corresponding to only the weather year 2009 is used for the Clean System Power tool. 2009 is chosen because annual load, peak load, wind output, and solar output values for this year are close to the average value across all SERVM-modeled weather years. To ensure data quality, fuel consumed during normal (non-start) operations is adjusted to be within the bounds of minimum and maximum efficiency, and a minimum CO2 emissions factor is enforced.

Emissions intensity values for CO2 and criteria pollutants (NOx, PM2.5, and SO2) are calculated on an hourly basis for system power (dispatchable gas + unspecified imports), coal, CHP, biogas, and biomass. Hourly emissions factors for each generator class are calculated as the sum of emissions from all generators within that generator class, divided by the sum of generation.

CO2 emissions are calculated based on the amount of fuel consumed in each hour and the CO2 content of that fuel. Consistent with the treatment of bio-based CO2 emissions in RESOLVE, CO2 emissions are zero based on current CARB accounting rules for biogas and biomass. In each hour, the CO2 emissions factors for system power are a weighted average across CAISO dispatchable gas generation and unspecified imports. CO2 emissions factors for system power include unspecified imports at the CARB-deemed unspecified import rate of 0.428 tCO2/MWh.

Neither emissions nor power production from IFM CHP resources are included in the calculation of system power emissions factor. IFM CHP emissions factors are calculated separately because CHP is treated differently than system power in the tool.

Criteria pollutant emissions for each unit are calculated based on available factors – metric tons of emissions per (1) MWh of generation, or (2) MMBtu of fuel. NOx emissions include different factors for start and normal operations.  Criteria pollutant emissions factors for system power do not include any emissions associated with unspecified imports – these emissions factors are calculated using only emissions from in-CAISO dispatchable gas resources. The criteria pollutant hourly emissions intensity values for biomass and biogas are adjusted using minimum and maximum emission intensity cutoffs.

Changes from the Clean System Power calculator used in the 22-23 IRP cycle

The primary differences between the Clean System Power Calculator in the 24-26 IRP cycle and that of the 22-23 cycle are summarized below.

- Updated years calculated by the tool. The 2022 CSP calculator included 2024, 2026, 2030, and 2035; the 2025 CSP calculator includes 2028, 2030, 2035, 2040, and 2045.

- Inclusion of resource status in the tool. The 2025 CSP calculator includes differentiation between online/in-development resources and in review/planned resources. This differentiation is also newly included in the 2025 RDT.

- Single version of tool. There were two versions of the 2022 CSP calculator – one for a 25 MMT GHG target and one for a 30 MMT GHG target. There is only a single version of the 2025 CSP tool for the 2025 GHG target.

- Input updates. The following inputs have been updated to newer vintages:

  - IEPR: the 2022 CSP calculator used the 2021 IEPR. The 2025 CSP calculator uses the 2024 IEPR.

  - Resource, demand, and emissions profiles: The 2022 CSP calculator resource, demand, and emissions profiles were derived from SERVM runs with the 2021 PSP portfolios. The 2025 CSP calculator resource, demand, and emissions profiles are derived from the SERVM runs with the 2025 Filing Requirement portfolios.

  - C&I profile: The 2022 CSP calculator used the CEC’s California Commercial End-Use Survey for C&I profiles. The 2025 CSP calculator uses NREL’s California C&I 2024 profile. This dataset includes load broken down by sector (Commercial, Industrial, Transportation, and Residential), with the commercial and industrial sectors combined to make the C&I profile.

  - LSE demand allocation and GHG emissions benchmarks. The 2022 CSP calculator used LSE demand allocations and GHG emissions benchmarks as decided in the 2022 ALJ Ruling finalizing load forecasts and GHG benchmarks. The 2025 CSP calculator uses LSE demand allocations and GHG emissions benchmarks determined by the CPUC per the process outlined in the August 2025 ALJ Ruling Establishing Process for Finalizing Load Forecasts and Greenhouse Gas Emissions Benchmarks for Individual Integrated Resource Plan Filings (R.25-06-019).

Layout of the Clean System Power Tool

The CSP Calculator is an Excel tool created to help LSEs calculate emissions associated with their resource portfolio. It calculates the LSE’s annual emissions for a subset of the modeling years used in IRP modeling: 2028, 2030, 2035, 2040, and 2045.

Most users should only modify two worksheets in the Excel workbook: the Supply Inputs and Demand Inputs worksheets. ESPs will also need to use a third worksheet: ESP GHG Benchmarks.  As described below, the workbook contains many other worksheets that hold input data and perform calculations. The Excel spreadsheet consists of the following worksheets:

- Cover + Data Sources: This worksheet contains information regarding key data sources, a description of the workbook’s color-coding scheme, and notes.

- Supply Inputs: This worksheet is where LSEs copy information on their supply-side resource portfolio from the RDT using the “paste values” option in Excel. In addition, this worksheet contains an input table that LSEs must fill out with 8760 resource generation profiles if they have included custom storage, renewable, or GHG-free resources in their portfolio. The only part of the supply inputs tab that does not directly come from RDT is the custom profile section.

- Demand Inputs: This worksheet is where LSEs enter information on their annual demand forecast that has been approved by the CPUC. On this worksheet LSEs can also enter custom demand inputs for various load components if desired.

- ESP GHG Benchmarks: This worksheet contains a calculator that the ESPs must use to calculate their individual GHG benchmarks. This worksheet does not affect any other aspects of the tool.

- Results: Annual emissions results and aggregated generation and load information are presented on this worksheet.

- LSE Demand Forecasts: This worksheet contains data on electricity deliveries to end users approved by the CPUC. As described below, this worksheet can be used to look up an LSE’s managed retail sales forecast.

- LSE BTM PV Forecasts: This worksheet contains LSE-specific BTM PV forecasts approved by the CPUC. This worksheet can be used to look up an LSE’s BTM PV forecast.

- GHG Benchmarks: This is a list of LSE-specific benchmarks determined by the CPUC. This worksheet should be used by LSEs when developing their portfolios to look up the maximum GHG emissions that their portfolio should achieve.

- Supply Demand Balance Calcs: This worksheet starts with hourly demand at the generator bus-bar and calculates an hourly MW profile for dispatchable gas + unspecified imports attributable to an LSE’s load by subtracting power production from various resource types from the LSE’s load profile. It also divides energy that is not used to serve an LSE's load between curtailment and exports.

- Supply Calcs: This worksheet adds up power production and storage dispatch from resources in the LSE’s portfolio.

- Emissions Calcs: This worksheet combines power production information on the Supply Calcs and Supply Demand Balance Calcs worksheets with emissions factors from the Emissions Profiles worksheet to calculate hourly emissions by resource type.

- Demand Calcs: This worksheet combines annual demand forecast information from the Demand Inputs worksheet with normalized hourly demand profiles from the Demand Profiles worksheet to create the hourly demand profile used in the Supply Demand Balance Calcs worksheet.

- IEPR CAISO Load Modifiers: This worksheet contains data from the 2024 IEPR and is used to divide an LSE’s managed retail sales forecast into more detailed demand components.

- Demand Profiles: This worksheet contains the hourly, normalized load shapes that are applied to the LSE’s annual load forecast for each of the modeled years. It contains shapes for the following demand categories: baseline, commercial and industrial, energy efficiency, electric vehicles, BTM PV, building electrification, data centers, climate change, and BTM storage.

- Resource Profiles: This worksheet contains hourly production profiles for various generation resources. Storage and hybrid/paired solar-battery resource profiles are also included on this worksheet.

- Emissions Profiles: This worksheet contains hourly emissions profiles for GHG and criteria pollutant emissions for system power, coal, IFM CHP, biomass, and biogas resources.

- Renewable Profiles: This worksheet contains hourly renewable profiles for standalone solar and wind resources. Profiles in this worksheet are based on the production potential profiles (i.e. pre-curtailment) used as inputs to the SERVM model. All profiles correspond to weather conditions from the year 2009 and are not shifted for daylight savings time (are in standard time throughout the year).

Instructions for Using the LSE Clean System Power Tool

To use the tool effectively, a user would generally take the following steps:

- Define demand level and profile:

  - Annual managed sales and BTM PV forecasts: Input the LSE’s annual managed sales and BTM PV forecasts for each of the modeling years in the “Managed Retail Sales Forecast (assigned to LSE)” and “Behind-The-Meter Photovoltaics (BTM PV) Forecast (assigned to LSE)” rows of the Demand Inputs worksheet. The LSE must enter its IRP‐assigned values and therefore should refer to the LSE Demand Forecasts worksheet for LSE‐specific managed retail sales forecast values. Populating the Managed Retail Sales Forecast and BTM PV rows will automatically populate the “Calculated Demand” section of the Demand Inputs worksheet, which breaks the managed sales forecast into many components by assuming that the LSE has a sales‐weighted share of specific components of the IEPR demand forecast, such as the level of baseline demand, energy efficiency, electric vehicles, etc. Each of these demand components receive a distinct hourly shape in the CSP tool. If instructed by the CPUC, LSEs may choose to use different annual levels of load modifiers, provided that they provide a detailed explanation as to how their alternate load modifier assumptions were developed in the Narrative Template. This is done by selecting “Yes” under the “Use Custom” column and entering in demand values in the Custom Demand Inputs section. Custom demand inputs must be grossed up for T&D losses before they are entered. Note that LSEs must enter their assigned managed retailed sales and BTM PV forecasts even if they plan to use custom levels of demand. This is because assigned managed retail sales are used to apportion non-dispatchable gas and IFM CHP generation to LSE portfolios.

  - Custom hourly forecast (optional): Users can specify custom 8760 demand profiles for each component of the demand forecast on the “Custom Hourly Load Profiles” section of the Demand Inputs worksheet provided the total annual energy volumes remain consistent with the forecast in section 1a above and the LSE provides a detailed explanation as to how their load shape was developed in the Narrative Template. This option is appropriate for LSEs that know the hourly shape of their demand components. Custom hourly shapes are applied to the annual demand forecasts in the Demand Inputs worksheet. The same custom demand profile shape is applied to all years. The hourly SERVM model simulations that are used to populate data throughout the calculator use the convention that all future years start on a Monday. When entering custom hourly demand forecasts, users should strive to maintain this convention whenever possible. Also, if possible, custom hourly demand forecasts should be based on weather conditions from 2009. Custom hourly demand forecasts should remain in standard time throughout the year (i.e. no daylight savings shift).

  - Custom Commercial and Industrial (C&I) fraction of baseline demand (optional): Users can specify a percentage of their baseline demand that comes from C&I loads in each year provided the total annual energy volumes remain consistent with the forecast in section 1a above and the LSE provides a detailed explanation as to how their percentage was developed in the Narrative Template. Users should toggle the “Use Custom?” toggle to “Yes” to enable the custom C&I percentage. This percentage should not include (1) demand from electrification of buildings that is incremental to that embedded in the IEPR baseline demand, (2) electric vehicles, or (3) demand from data centers because these components are handled elsewhere in the tool. A C&I baseline hourly demand shape will be applied to the C&I percentage, and the remaining baseline demand will receive a non-C&I hourly demand shape. If a custom C&I percentage is not entered, the default percentage will be used.

- Define owned or contracted supply-side resource portfolio: On the Supply Inputs worksheet, input the LSE’s resource portfolio for each of the modeling years. Resources should only be added here if their power output is delivered to (1) a California Balancing Authority area, if RPS-eligible, or (2) the CAISO system if the resource is not RPS-eligible. The Resource Data Template aggregates LSEs portfolios into the CSP format in the “CSPReportSheet” tab; LSEs should directly paste the RDT data into CSP calculator using the “paste values” option in Excel. Differentiation made in the RDT on resource status (online/in-development or in review/planned) is carried through to the CSP tool.

Users may want to refer to information presented in the “Information Only” section of the Supply Inputs worksheet, which depicts their portfolio in units of MW of capacity and GWh of annual generation. The capacity factor assumed by the tool for each resource in each year is also shown. For all resources that have “GWh” in the “Units” column of the Supply Inputs worksheet, the CSP calculator ensures that the total GWh/year entered by the LSE in the RDT is included in the LSE’s portfolio. It is therefore possible that the “Calculated Capacity” section may not exactly match an LSE’s capacity as entered in the RDT.

Information on each resource type in the CSP is provided below:

  - RPS-eligible delivered renewable resources: Supply-side solar, wind, geothermal, biomass, biogas, small hydro resources. RPS PCC 1 and any other RPS‐ eligible resources that meet the criteria to qualify as RPS PCC 1 except for the contract execution date should be entered. RPS PCC 2 and 3 should not be included. For standalone wind and solar resources, users can choose between an aggregated representation of existing resources, or new (candidate) resources located in CAISO. Offshore and out-of-state wind resource types are also available. In addition to other supply-side solar resources, a distributed solar option is available for LSEs who would like to include distributed solar resources that are in front of the meter.

  - Hybrid or paired solar and battery: LSEs may represent hybrid or paired solar-battery resources in the CSP calculator using output shapes from an aggregate of hybrid and paired resource dispatch in the SERVM model. Here “paired” resources refer to generation and storage resources that share the same grid interconnection and “hybrid” resources refer to a subset of paired resources that have constraints which require storage to charge from the paired generation resource rather than the grid. The hybrid or paired solar and battery profile on the Resource Profiles tab is the weighted average dispatch of SERVM resources. Recognizing that there are a range of possible hybrid and paired configurations, if the hybrid/paired profile in the CSP calculator does not adequately represent an LSE’s expected hybrid or paired resource output, LSEs can use the custom renewable profile functionality described below as an alternate way to include hybrid or paired resource generation.

  - Large Hydro in CAISO: Energy from large hydro resources. The division between “large” and “small” hydro should be consistent with RPS eligibility – any hydroelectric generation that is balanced by CAISO, does not currently count towards RPS requirements, and is not imported from the Pacific Northwest should be entered as Large Hydro.

  - Imported Hydro: Dedicated hydro imports are included in this category.

  - Asset Controlling Supplier: Identical to Imported Hydro, with the exception that, consistent with CARB accounting, imports from an Asset Controlling Supplier incur GHG-emissions at a low but non-zero rate (0.02 tCO2/MWh, roughly 20 times lower than a typical gas combined cycle).

  - Nuclear: Nuclear generation, including direct imports into the CAISO system (likely Palo Verde).

  - Coal: Represents owned or contracted generation from dedicated coal imports.

  - Shed Demand Response (DR): MW capacity of load shedding demand response programs. Given the infrequent dispatch of this resource, the RDT specifies MW capacity for shed DR (as opposed to GWh for most other resources).

  - Storage: The LSE’s owned or contracted storage capacity over time for two stand-alone storage options – pumped hydro and batteries. The tool will use this capacity in conjunction with normalized storage dispatch profiles derived from the SERVM model to determine storage dispatch in each hour. The normalized storage dispatch profiles vary by year. Any BTM storage resources that are incremental to BTM storage resources in the CEC’s IEPR demand forecast should be included here. Battery capacity data passed from the RDT to the CSP is in units of MWh nameplate energy capacity. Representing batteries in this manner allows the CSP to include different battery durations.

LSEs may utilize the Storage Resource Custom Profile option if they determine that one or many of their standalone storage resources differ enough from the pumped storage or batteries options above to require representation via an LSE-entered custom 8760 charge/discharge profile. Only one custom storage resource profile is allowed in each year; if LSEs plan to represent multiple resources under this category, they should add together the individual production profiles of each resource to create an aggregate 8760 shape representing the output of all resources they have chosen to represent as a custom profile resource. When possible, LSEs should use 2009 weather conditions when developing custom resource profiles.

  - Custom Renewable and GHG-free resources: LSEs are also permitted the option of adding two custom 8760 energy production profiles in the Supply Inputs worksheet. There are two separate profile options: one for RPS-eligible delivered energy and another for GHG-free non-RPS energy. The two profiles are used in the same way in the CSP calculations, with the exception that GHG-free non-RPS energy will not be counted towards the RPS-eligible delivered renewable percentage calculation in the Results tab. When possible, LSEs should use 2009 weather conditions when developing custom energy production profiles. The RDT will aggregate the GWh of generation that LSE plans to represent via custom renewable and GHG-free profiles; this total must match the sum of hourly energy production in each year. Only one custom renewable profile and one custom GHG-free profile is allowed in each year; if LSEs plan to represent multiple resources under each of these categories, they should add together the individual production profiles of each resource to create an aggregate 8760 shape representing the output of all resources they have chosen to represent with custom profiles.

    - One possible use of the custom renewable resource functionality is to represent a wind resource with a production profile that is significantly different than any of the options on the Supply Inputs worksheet. Similarly, LSEs could use the GHG-free resource profile to represent a large hydro contract with a unique output profile.

    - Another possible use of the custom renewable profile is to represent hybrid or paired solar and battery resources. LSEs should only use this option if they determine that the CSP’s hybrid/paired resource does not accurately represent their resource(s). To represent a hybrid or paired resource with a custom 8760 profile, LSEs should develop an output profile for the resource outside the CSP calculator and enter the result into the tool in the Custom Hourly profiles section of the Supply Inputs tab.  Note that the CSP calculator contains both solar generation profiles and storage dispatch profiles that could be used to create a custom hybrid generation shape.

- Investigate results: Results are shown in the Results worksheet. Results include values for annual demand, power production, total emissions by source and by year, average emissions intensity, percent renewable generation, and percent GHG-free generation.

The percent RPS-eligible delivered renewable generation metric shown in the CSP Results worksheet is not directly comparable to an LSE’s renewable generation that would be used to comply with the state’s RPS requirement because the CSP calculator quantifies renewable generation that is directly delivered to California. Generation from PCC2 and PCC3 renewables are eligible for RPS requirement compliance but are not included in the CSP calculator’s renewable generation percentage.

- Explore alternative assumptions (optional): Adjust inputs in the Demand Inputs and Supply Inputs worksheets to explore different resource and demand scenarios. As most inputs on the Supply Inputs worksheet originate from the RDT, if an LSE would like to change their supply portfolio, they should edit the RDT and copy the results into the CSP.

ESP GHG Emissions Benchmark

The CSP Calculator contains a tool for ESPs to calculate their individual 2030, 2035, 2040, and 2045 GHG Emissions Benchmarks.

Because the IEPR does not include load forecasts for individual ESPs, the GHG Emissions Benchmark is determined for all ESPs in aggregate within each IOU service territory, and these top-level values are made public. Each ESP is required to calculate its own confidential GHG Emissions Benchmarks based on its load share within the host IOU’s territory. For any ESP that serves load in more than one IOU service territory, that ESP should add up the separate GHG Emissions Benchmarks calculated based on its share of direct access load for each IOU service territory to result in a single benchmark.

Commission staff will be communicating to each ESP its individual load forecast to be used within the tool.

The only type of GHG emission considered in the CSP calculator is CO2

2025 Filing Requirements Portfolio is posted on the 2024-2026 IRP Cycle Events and Materials Page linked here: https://www.cpuc.ca.gov/industries-and-topics/electrical-energy/electric-power-procurement/long-term-procurement-planning/2024-26-irp-cycle-events-and-materials

Load Forecast Template Ruling: https://docs.cpuc.ca.gov/SearchRes.aspx?docformat=ALL&docid=574962704

https://data.nrel.gov/submissions/126

https://docs.cpuc.ca.gov/SearchRes.aspx?docformat=ALL&docid=574962704