## Gas System Census Tract Data
PG&E
Consumption by Census Tract - Summary Statistics
TractID | County | City | ZipCode | ClimateZone | TransmZone | HCA | MCA | Services | Large Customers | Demand Nodes | Total Load | Peak Load | Load Change | PressureDist | OpDist | DistAvCost | HiPressMains | MedPressMains | HiPressServices | MedPressServices | PressureUnk | Diam2OrLess | Diam2to4 | Diam4to8 | Diam8to12 | DiamOver12 | DiamUnk | EarlyAldylA | LaterAldylA | UnkDateAldylA | NAPlastic | CPSteel | NCPSteel | Copper | Iron | MaterialUnk | RiskScoreTop200 | RiskScore0201to0400 | RiskScore0401to0600 | RiskScore0601to0800 | RiskScore0801to1000 | RiskScore1001to1200 | RiskScore1201to1400 | RiskScore1401to1600 | RiskScore1601to1800 | RiskScore1801to2000 | Oldest | HighestLeakProbMains | HighLeakProbMains | UpperLeakProbMains | LowerLeakProbMains | LowLeakProbMains | HighestConsqMains | HighConsqMains | UpperConsqMains | LowerConsqMains | LowConsqMains | UnkRiskMain | HighestLeakProbServices | HighLeakProbServices | UpperLeakProbServices | LowerLeakProbServices | LowLeakProbServices | HighestConsqServices | HighConsqServices | UpperConsqServices | LowerConsqServices | LowConsqServices | UnkRiskService | AvMainRisk | AvServiceRisk | AvMainConsq | AvServiceConsq | AvMainRiskScore | AvServiceRiskScore | AvMainPressure | AvMainYear | AvServiceYear | AvSurvey | AvMainLeaks | AvServiceLeaks | HistAvMainHazLeaks | HistAvServiceHazLeaks | RetiredMain | RetiredService | GRCReplaceMainsPrograms | GRCReplaceServicesPrograms | RecentMains | RecentServices | PlannedMains | PlannedServices | MainValves | HiBranches | HiPressRegs | MedPressRegs | LowPressRegs | UnkPressRegs | PGEHPR | RegStationType | RegStationCustomers | RegStationAge | RegStationGRC | RegStationReplacement | TransmMiles | TransmWallLoss | AvTransmDiam | AvTIMPScore | CompressorStn | SmallTransmInfr | LargeTransmInfr
Total | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 3575087 | 921 | 533743 | 22424263 | N/A | 1027.6447 | 5351 | N/A | 13141860427.9337 | 0 | 43582.1443 | 228 | 34073.9765 | 471.9421 | 65194.4873 | 9526.6497 | 2692.5804 | 163.2917 | 113.6039 | 437.4499 | 962.125 | 7146.7958 | 7.0081 | 39484.3227 | 30169.2586 | 303.7442 | 0.7157 | 53.782 | 0 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 6365.8427 | 2169.5638 | 10846.5205 | 10846.186 | 10846.3635 | 10846.3347 | 2178.9561 | 10846.5295 | 10846.5132 | 10846.3855 | 10845.9764 | 0 | 1686.5055 | 8432.4992 | 8432.4427 | 8432.4898 | 8432.3863 | 1686.5055 | 8432.4992 | 8432.4992 | 8432.4992 | 8432.3204 | 0 | 10.6228 | 5.7036 | 62768.4587 | 87515.6116 | 188.8536 | 154.1089 | 157019.9113 | 6640102 | N/A | N/A | 505.8198 | 2058.7772 | 741.6606 | 4766.1251 | 1520.9343 | 2104.475 | 8412.086 | 17628.7218 | 3512.1598 | 3998.0944 | 216.6112 | 164.5301 | 31117 | 0 | 526 | 3885 | 197 | 0 | 2560 | 0 | N/A | 14795 | 31 | 0 | 6427.1466 | 3814 | 23515.7166 | 4.3873 | N/A | N/A | N/A
Average | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 1046.2649 | 0.26953 | 156.2022 | 6562.5587 | N/A | 0.30612 | 1.566 | N/A | 3846022.9523 | 0 | 12.7545 | 1.6765 | 9.9719 | 0.13812 | 19.0795 | 2.788 | 0.788 | 0.047788 | 0.033247 | 0.12802 | 0.28157 | 2.0915 | 0.0020509 | 11.5553 | 8.8292 | 0.088892 | 0.00020945 | 0.01574 | 0 | 0.058531 | 0.058531 | 0.058531 | 0.058531 | 0.058531 | 0.058531 | 0.058531 | 0.058531 | 0.058531 | 0.058531 | 1.863 | 0.63493 | 3.1743 | 3.1742 | 3.1742 | 3.1742 | 0.63768 | 3.1743 | 3.1743 | 3.1742 | 3.1741 | 0 | 0.49356 | 2.4678 | 2.4678 | 2.4678 | 2.4678 | 0.49356 | 2.4678 | 2.4678 | 2.4678 | 2.4678 | 0 | 0.0031088 | 0.0016692 | 18.3695 | 25.6118 | 0.055269 | 0.045101 | 46.8018 | 1943.2549 | 1945.014 | N/A | 0.14803 | 0.60251 | 0.21705 | 1.3948 | 0.44511 | 0.61588 | 2.4618 | 5.1591 | 1.0278 | 1.1701 | 0.063392 | 0.04815 | 9.1065 | 0 | 0.15394 | 1.137 | 0.057653 | 0 | 0.7492 | 0 | N/A | 27.0475 | 0.0090723 | 0 | 1.8987 | 2.233 | 14.0141 | 0.0025687 | N/A | N/A | N/A
Median | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 1032 | 0 | 139 | 1953 | N/A | 0.1351 | 1 | N/A | 3349975.3624 | 0 | 11.4025 | 1 | 9.7801 | 0.023805 | 18.0257 | 2.1864 | 0.38994 | 0 | 0 | 0.068793 | 0.047065 | 0.56443 | 0 | 8.125 | 7.0397 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0229 | 0.19361 | 2.3147 | 2.8488 | 2.757 | 2.4065 | 0.1889 | 2.539 | 2.8122 | 2.1982 | 1.0222 | 0 | 0.17884 | 1.6002 | 2.1273 | 1.5814 | 1.9767 | 0.06589 | 1.8732 | 1.9861 | 1.7884 | 1.1107 | 0 | 0.0027853 | 0.0015227 | 18.4587 | 26.2591 | 0.050138 | 0.040122 | 50 | 1975 | 1977 | N/A | 0 | 0.1338 | 0.11674 | 1.096 | 0.092155 | 0.26356 | 1.6797 | 4.6782 | 0.32491 | 0.51536 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 21 | 0 | 0 | 0 | 0 | 11.5681 | 0.0012189 | N/A | N/A | N/A
Standard Deviation | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 582.902 | 0.85822 | 103.9609 | 60622.5356 | N/A | 3.9579 | 1.422 | N/A | 1290210.8662 | 0 | 8.0877 | 1.5237 | 5.6249 | 0.64579 | 11.1794 | 2.5547 | 1.1839 | 0.24589 | 0.20096 | 0.2018 | 0.61163 | 3.6022 | 0.012878 | 11.2873 | 8.2105 | 0.44672 | 0.0015999 | 0.16725 | 0 | 0.30674 | 0.22256 | 0.19028 | 0.19029 | 0.18004 | 0.15216 | 0.15523 | 0.14832 | 0.15888 | 0.13967 | 2.156 | 1.1992 | 3.1782 | 2.172 | 2.2341 | 2.8018 | 1.0318 | 2.9025 | 2.5038 | 3.5785 | 4.9865 | 0 | 0.9781 | 2.6155 | 1.9467 | 2.6908 | 2.226 | 1.0401 | 2.3122 | 2.1904 | 2.4166 | 3.372 | 0 | 0.0026894 | 0.00078529 | 7.8569 | 10.2584 | 0.051161 | 0.033869 | 9.8332 | 255.7361 | 251.5601 | N/A | 0.28543 | 3.1116 | 0.31513 | 1.5165 | 0.92176 | 1.2742 | 2.6601 | 4.1656 | 2.4184 | 2.1769 | 0.43684 | 0.27815 | 9.9731 | 0 | 0.73322 | 3.5353 | 0.30585 | 0 | 3.2331 | 0 | N/A | 20.5675 | 0.10916 | 0 | 7.5326 | 19.4711 | 7.8284 | 0.0040587 | N/A | N/A | N/A
Minimum | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | 0 | 0 | 0 | N/A | -0.9963 | 0 | N/A | 1787740.5624 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.5652 | 0 | 0 | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A | 0 | 0 | 0 | 0 | 0 | 1.0451 | 2.8803e-05 | N/A | N/A | N/A
Maximum | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 3697 | 13 | 890 | 2268776 | N/A | 180.1702 | 20 | N/A | 6373278.7179 | 0 | 58.4823 | 12 | 41.3042 | 19.1708 | 80.5354 | 29.4823 | 12.2375 | 6.5686 | 5.0077 | 2.3317 | 11.4828 | 40.2412 | 0.56995 | 99.1319 | 58.1799 | 8.0022 | 0.028239 | 4.8658 | 0 | 6.6615 | 3.1967 | 1.9564 | 4.1124 | 2.9726 | 1.6242 | 1.6495 | 1.5355 | 2.437 | 1.2897 | 15.5852 | 16.575 | 35.6347 | 17.5906 | 17.1797 | 25.8658 | 10.5453 | 41.0669 | 21.5667 | 46.2441 | 44.7618 | 0 | 15.0794 | 21.5461 | 11.9449 | 20.6801 | 14.91 | 12.1332 | 18.2045 | 14.3641 | 19.5035 | 24.9818 | 0 | 0.10197 | 0.022748 | 44.8012 | 53.1464 | 1.7363 | 1.2101 | 57 | 2020 | 2020 | N/A | 4.0002 | 141.6481 | 4.4618 | 35.412 | 15.2339 | 23.4945 | 19.0797 | 21.4049 | 46.79 | 35.1902 | 13.1267 | 8.9004 | 113 | 0 | 22 | 54 | 4 | 0 | 51 | 0 | N/A | 102 | 2 | 0 | 186.5479 | 417 | 42 | 0.081872 | N/A | N/A | N/A
Units | Text | Text | Numeric | Text | Text | Text | Text | Count | Count | Count | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Hour (ccfh) | % | Count | Text | $/mi | Miles | Miles | Miles | Miles | Miles | Miles | Miles | Miles | Miles | Miles | Miles | Miles | Miles | Miles | Miles | Miles | Miles | Miles | Miles | Miles of | Miles | Miles | Miles | Miles | Miles | Miles | Miles | Miles | Miles | Miles | Miles | Miles | Miles | Miles | Miles | Miles | Miles | Miles | Miles | Miles | Miles | Miles | Miles | Miles | Miles | Miles | Miles | Miles | Miles | Miles | Miles | Miles | Miles | leaks / (year*mi) | leaks / (year*mi) | Signficant Injurty Fatality (SIF) / 10,000 leaks | Signficant Injurty Fatality (SIF) / 10,000 leaks | Signficant Injurty Fatality (SIF) / year | Signficant Injurty Fatality (SIF) / year | Psi | Year | Year | Date | Leaks/mile | Leaks/mile | Leaks/mile | Count | Miles | Miles | Miles | Miles | Miles | Miles | Miles | Miles | Count | Count | Count | Count | Count | Count | Count | “High,” “Medium,” “Low,” or “None.” | Count | Years. | Count | Count | Miles | Count. Such anomalies are typically identified for monitoring but not necessarily repair. Wall loss of 80 percent or greater requires immediate repair. | Inches | N/A | Text | Text. | Text.
Definition | County | City | Zip code | Climate Zone as used for billing purposes. See also Preliminary Statement Part A Description of Baseline Territory | The transmission zone which serves end use customers in the census tract. | Does Census tract overlap with a High Consequence Area? | Does Census Tract Overlaps a Moderate Consequence Area? | Number of services within the tract | Number of large volume customers (customers that can receive more than 40,000 cubic feet/hour of gas) | Number of demand nodes as represented in Synergi hydraulic model | Average annual daily gas consumption in 2021 based on billing data. | Peak hourly gas consumption in 2021. Noncore peak load at census tract level based on historical systemwide peak hour. Core usage data not readily available for peak hourly load at census tract level. | Annual gas demand change from 2015 to 2020 | Number of pressure districts | Division (PG&E) | Average cost per mile to replace distribution pipeline in the OpDistrict as defined above. Comments: $/mi. Since average is calculated across the OpDistrict, many tracts will have the same value. | Miles of high pressure (above 60 pounds per square inch (psi)) distribution main pipeline. | Miles of medium pressure (60 psi or below) distribution main pipeline. | Miles of high pressure (above 60 psi) distribution service pipeline. | Miles of medium pressure (60 psi or below) distribution service pipeline. | Miles of main or service distribution pipeline with unknown pressure. | Miles of distribution main and service pipeline with diameter of 2” or less. | Miles of distribution main and service pipeline with diameter over 2” through 4” | Miles of distribution main and service pipeline with diameter over 4” through 8” | Miles of distribution main and service pipeline with diameter over 8” through 12” | Miles of distribution main and service pipeline with diameter over 12” | Miles of main or service distribution pipeline with unknown diameter. | Miles of distribution main and service pipeline made of Aldyl-A plastic installed in 1965-1972 | Miles of distribution main and service pipeline made of Aldyl-A plastic installed in 1973-1985 | Miles of distribution main and service pipeline made of Aldyl-A plastic with unknown manufacturer or installation year | Miles of distribution main and service pipeline made of non-Aldyl-A plastic (polyethylene) | Miles of distribution main and service pipeline made of steel with cathodic protection. | Miles of distribution main and service pipeline made of steel without cathodic protection | Miles of distribution service pipeline made of copper. | Miles of distribution main and service pipeline made of wrought iron | Miles of main or service distribution pipeline with unknown material. | Miles of main distribution pipeline in the census tract with DIMP risk score in the top 200 miles across the utility. Risk scores are calculated using the PG&E system of records for main assets, Gas Distribution Graphics Interchange System (GDGIS), recorded on 1/15/2020, a data "snapshot." Minor variations in asset populations with time may be reflected when comparing unrelated column fields with similar characteristics. | Miles of main distribution pipeline in the census tract with DIMP risk score in the second 200 miles across the utility. Risk scores are calculated using the PG&E system of records for main assets, Gas Distribution Graphics Interchange System (GDGIS), recorded on 1/15/2020, a data "snapshot." Minor variations in asset populations with time may be reflected when comparing unrelated column fields with similar characteristics. | Miles of main distribution pipeline in the census tract with DIMP risk score in the third 200 miles across the utility. Risk scores are calculated using the PG&E system of records for main assets, Gas Distribution Graphics Interchange System (GDGIS), recorded on 1/15/2020, a data "snapshot." Minor variations in asset populations with time may be reflected when comparing unrelated column fields with similar characteristics. | Miles of main distribution pipeline in the census tract with DIMP risk score in the fourth 200 miles across the utility. Risk scores are calculated using the PG&E system of records for main assets, Gas Distribution Graphics Interchange System (GDGIS), recorded on 1/15/2020, a data "snapshot." Minor variations in asset populations with time may be reflected when comparing unrelated column fields with similar characteristics. | Miles of main distribution pipeline in the census tract with DIMP risk score in the fifth 200 miles across the utility. Risk scores are calculated using the PG&E system of records for main assets, Gas Distribution Graphics Interchange System (GDGIS), recorded on 1/15/2020, a data "snapshot." Minor variations in asset populations with time may be reflected when comparing unrelated column fields with similar characteristics. | Miles of main distribution pipeline in the census tract with DIMP risk score in the sixth 200 miles across the utility. Risk scores are calculated using the PG&E system of records for main assets, Gas Distribution Graphics Interchange System (GDGIS), recorded on 1/15/2020, a data "snapshot." Minor variations in asset populations with time may be reflected when comparing unrelated column fields with similar characteristics. | Miles of main distribution pipeline in the census tract with DIMP risk score in the seventh 200 miles across the utility. Risk scores are calculated using the PG&E system of records for main assets, Gas Distribution Graphics Interchange System (GDGIS), recorded on 1/15/2020, a data "snapshot." Minor variations in asset populations with time may be reflected when comparing unrelated column fields with similar characteristics. | Miles of main distribution pipeline in the census tract with DIMP risk score in the eighth 200 miles across the utility. Risk scores are calculated using the PG&E system of records for main assets, Gas Distribution Graphics Interchange System (GDGIS), recorded on 1/15/2020, a data "snapshot." Minor variations in asset populations with time may be reflected when comparing unrelated column fields with similar characteristics. | Miles of main distribution pipeline in the census tract with DIMP risk score in the ninth 200 miles across the utility. Risk scores are calculated using the PG&E system of records for main assets, Gas Distribution Graphics Interchange System (GDGIS), recorded on 1/15/2020, a data "snapshot." Minor variations in asset populations with time may be reflected when comparing unrelated column fields with similar characteristics. | Miles of main distribution pipeline in the census tract with DIMP risk score in the tenth 200 miles across the utility. Risk scores are calculated using the PG&E system of records for main assets, Gas Distribution Graphics Interchange System (GDGIS), recorded on 1/15/2020, a data "snapshot." Minor variations in asset populations with time may be reflected when comparing unrelated column fields with similar characteristics. | Miles of distribution main and service pipeline older than 1941 or with unknown installation date. | Mile with calculated probability of leak per year in highest 5 percent of distribution main pipelines systemwide. | Miles with calculated probability of leak per year in highest quartile (25 percent) of distribution main pipelines systemwide. Thus, HighLeakProbMains includes HighestLeakProbMains. | Miles with calculated probability of leak per year in second highest quartile (25 percent) of distribution main pipelines systemwide. | Miles with calculated probability of leak per year in second lowest quartile of distribution main pipelines systemwide. | Miles with calculated probability of leak per year in lowest quartile of distribution main pipelines systemwide. | Miles with calculated probability of serious safety incident given leak, or consequence of failure, in highest 5 percent of distribution main pipelines systemwide. | Miles with calculated probability of serious safety incident given leak, or consequence of failure, in highest quartile (25 percent) of distribution main pipelines systemwide. Thus, HighConsqMains includes HighestConsqMains. | Miles with calculated probability of serious safety incident given leak, or consequence of failure, in second highest quartile (25 percent) of distribution main pipelines systemwide. | Miles with calculated probability of serious safety incident given leak, or consequence of failure, in second lowest quartile (25 percent) of distribution main pipelines systemwide. | Miles with calculated probability of serious safety incident given leak, or consequence of failure, in lowest quartile (25 percent) of distribution main pipelines systemwide. | Miles of main distribution pipeline with uncalculated risk. | Miles with calculated probability of leak per year in highest 5 percent of distribution service pipelines systemwide. | Miles with calculated probability of leak per year in highest quartile (25 percent) of distribution service pipelines systemwide. Thus, HighLeakProbServices includes HighestLeakProbServices. | Miles with calculated probability of leak per year in second highest quartile (25 percent) of distribution service pipelines systemwide. | Miles with calculated probability of leak per year in second lowest quartile of distribution service pipelines systemwide. | Miles with calculated probability of leak per year in lowest quartile of distribution service pipelines systemwide. | Miles with calculated probability of serious safety incident given leak, or consequence of failure, in highest 5 percent of distribution service pipelines systemwide. | Miles with calculated probability of serious safety incident given leak, or consequence of failure, in highest quartile (25 percent) of distribution service pipelines systemwide. Thus, HighConsqServices includes HighestConsqServices. | Miles with calculated probability of serious safety incident given leak, or consequence of failure, in second highest quartile (25 percent) of distribution service pipelines systemwide. | Miles with calculated probability of serious safety incident given leak, or consequence of failure, in second lowest quartile (25 percent) of distribution service pipelines systemwide. | Miles with calculated probability of serious safety incident given leak, or consequence of failure, in lowest quartile (25 percent) of distribution service pipelines systemwide. | Miles of service distribution pipeline with uncalculated risk | Average main risk within each census tract. PG&E provided average likelihood of failure (LoF) for all mains within each census tract. | Average service risk within each census tract. PG&E provided average likelihood of failure (LoF) for all services within each census tract. | Average main consequence within each census tract. | Average service consequence per census tract. | Average main risk score within the census tract. | Average service risk score within the census tract. | Set pressure, averaged across distribution main pipeline miles. | Year pipeline was installed, averaged across distribution main pipeline miles. | Year pipeline was installed, averaged across distribution service pipeline miles. | Date of most recent leak survey, averaged across distribution main and service pipeline miles. | Main leaks identified in leak surveys, excluding repaired or removed leaks, averaged across distribution main pipeline miles. | Service leaks identified in leak surveys, excluding repaired or removed leaks, averaged across distribution service pipeline miles. | Main hazardous leaks (grade 1) repaired in 2015-2020, averaged across distribution main pipeline miles. | Service hazardous leaks (grade 1) repaired in 2015-2020, averaged across distribution service pipeline miles. | Miles of distribution main pipeline retired/abandoned since 2010 which does not include replacement pipe. | Miles of service pipeline retired/abandoned since 2010 which does not include replacement pipe. | All main pipeline miles subject to the utility’s programs to replace Aldyl-A plastic or aging steel mains. Mileage is calculated using the PG&E system of records for main assets, Gas Distribution Graphics Interchange System (GDGIS), recorded on 1/15/2020, a data "snapshot." Minor variations in asset populations with time may be reflected when comparing unrelated column fields with similar characteristics. | Miles of service pipeline identified for replacement after 2030. Clarify whether main replacement programs 14A, 14D, and 50A include only mains or also include replacement of services, and provide the total mileage of services to be replaced in those programs in order for those programs to be complete, if any. | Miles of distribution main pipeline built since 2010. | Miles of service pipeline built since 2010. | Miles of new planned distribution main pipeline planned for 2023-2026. | Miles of new planned service pipeline planned for 2023-2026. | Number of valves on distribution main pipelines. | Number of high pressure (60 psi or above) distribution line branching points. | Number of high-pressure regulator stations located in the census tract, following the pressure definitions provided for “RegStationType” in the March 1 Ruling. Based on SmallTransmInfr column. Counts do not include large volume customers. | Number of medium-pressure regulator stations located in the census tract, following the pressure definitions provided for “RegStationType” in the March 1 Ruling. | Number of low-pressure regulator stations located in the census tract, following the pressure definitions provided for “RegStationType” in the March 1 Ruling. | Number of regulator stations located in the census tract not included in HiPressRegs, MedPressRegs, or LowPressRegs. | Number of regulator stations referred to as high-pressure regulator stations (HPRs) in General Rate Case filings and associated documentation, consistent with the use of the term “HPR” in assessment of potential for avoided replacement within the Alternative Energy Program and related programs. | Presence of regulator station in census tract and whether it is a high-pressure regulator station (reduces pressure to pressure above 60 psi), medium-pressure (pressure of 1 through 60 psi) or low-pressure (to less than 1 psi) | Number of customers served by the regulator station(s) in the census tract if any such stations. | Ages of regulator stations in the census tract. | Number of regulator stations in the census tract identified for replacement, relocation, or to be newly constructed in 2023-2026. | Number of regulator stations identified in regulator station replacement program for replacement, relocation, or to be newly constructed after 2026. | Transmission pipeline total mileage. | Number of transmission pipeline anomalies with predicted metal wall loss of greater than 40 percent or other anomalies utility considers equally concerning. | Diameter of transmission pipeline, averaged across transmission pipeline miles. | TIMP Risk score of transmission pipeline, averaged across transmission pipeline miles. | Name of compressor station serving the area. | Name(s) of station, regulator, regulator set, valve, and/or valve set connected to transmission, other than included at facilities in “LargeTransmInfr.” | Name(s) of underground gas storage field, compressor station, gas terminal, or wholesale gas receipt point.

## Consumption Data by Census Trac
PG&E
Consumption by Census Tract - Summary Statistics
Statistics | Core California Alternative Rates for Energy (CARE) residential | Core residential excluding CARE | Core commercial | Core industrial | Core NGV | Noncore commercial | Noncore industrial excluding refinery | Noncore refinery | Noncore enhanced oil recovery (EOR) | Noncore electric generation (EG) | Wholesale | Company use | Core subtotal | Noncore subtotal | Other subtotal (Wholesale plus Company use) | Number of customers: Core CARE residential | Number of customers: Core residential excluding CARE | Number of customers: Core commercial | Number of customers: Core industrial | Number of customers: Core NGV | Number of customers: Noncore commercial | Number of customers: Noncore industrial (including refinery) | Number of customers: Noncore refinery | Number of customers: Noncore enhanced oil recovery (EOR) | Number of customers: Noncore electric generation (EG) | Number of customers: Wholesale | Number of customers: Company use | Number of customers: Core subtotal | Number of customers: Noncore subtotal | Number of customers: Other subtotal
Total | 1209785.6413 | 3692548.1297 | 2210114.9996 | 0 | 72965.8814 | 1021365.453 | 2352800.048 | 2625959.2289 | 0 | 9092010.6705 | 82162.6823 | 146680.2927 | 7185414.652 | 15092135.4004 | 228842.975 | 1183440 | 3163300 | 227198 | 0 | 974 | 670 | 304 | 15 | 0 | 413 | 6 | 26 | 4574912 | 1402 | 32
Average | 357.9247 | 1092.4699 | 653.8802 | 0 | 21.5875 | 302.1791 | 696.0947 | 776.911 | 0 | 2689.944 | 24.3085 | 43.3965 | 2125.8623 | 4465.1288 | 67.705 | 350.1302 | 935.8876 | 67.2183 | 0 | 0.28817 | 0.19822 | 0.089941 | 0.0044379 | 0 | 0.12219 | 0.0017751 | 0.0076923 | 1353.5243 | 0.41479 | 0.0094675
Median | 280.866 | 952.3791 | 306.7041 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1844.5713 | 0 | 0 | 272 | 881 | 39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1343 | 0 | 0
Standard deviation | 280.408 | 783.1717 | 1403.6173 | 0 | 249.7062 | 1540.5634 | 9577.9451 | 30904.5454 | 0 | 49914.463 | 1194.3802 | 970.6344 | 1693.1953 | 60846.6938 | 1538.3646 | 286.8229 | 562.1939 | 91.7407 | 0 | 3.4696 | 0.65298 | 0.47126 | 0.074844 | 0 | 0.50692 | 0.042095 | 0.11892 | 637.0747 | 1.2351 | 0.12604
Minimum | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Maximum | 1872.5908 | 7099.3477 | 41075.4745 | 0 | 6665.8984 | 27153.0786 | 383780.2592 | 1716593.5377 | 0 | 2244597.0489 | 69105.2694 | 28870.4588 | 43085.244 | 2266420.7025 | 69105.2694 | 1921 | 3752 | 1225 | 0 | 101 | 8 | 11 | 2 | 0 | 13 | 1 | 3 | 5000 | 22 | 3
Units | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd)
Definition | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data

## Consumption Data by Zip Code
PG&E
Consumption by Zip Code - Summary Statistics
Statistics | Core California Alternative Rates for Energy (CARE) residential | Core residential excluding CARE | Core commercial | Core industrial | Core NGV | Noncore commercial | Noncore industrial excluding refinery | Noncore refinery | Noncore enhanced oil recovery (EOR) | Noncore electric generation (EG) | Wholesale | Company use | Core subtotal | Noncore subtotal | Other subtotal (Wholesale plus Company use) | Number of customers: Core CARE residential | Number of customers: Core residential excluding CARE | Number of customers: Core commercial | Number of customers: Core industrial | Number of customers: Core NGV | Number of customers: Noncore commercial | Number of customers: Noncore industrial (including refinery) | Number of customers: Noncore refinery | Number of customers: Noncore enhanced oil recovery (EOR) | Number of customers: Noncore electric generation (EG) | Number of customers: Wholesale | Number of customers: Company use | Number of customers: Core subtotal | Number of customers: Noncore subtotal | Number of customers: Other subtotal
Total | 1209785.6413 | 3692548.1297 | 2210114.9996 | 0 | 72965.8814 | 1021365.4541 | 2352800.0476 | 2625959.2289 | 0 | 9092010.6709 | 82162.6823 | 146680.2927 | 7185414.652 | 15092135.4015 | 228842.975 | 1183440 | 3163300 | 227198 | 0 | 974 | 670 | 304 | 15 | 0 | 413 | 6 | 26 | 4574912 | 1402 | 32
Average | 1993.0571 | 6083.2753 | 3641.0461 | 0 | 120.2074 | 1682.6449 | 3876.1121 | 4326.1272 | 0 | 14978.6008 | 135.3586 | 241.6479 | 11837.5859 | 24863.485 | 377.0065 | 1949.654 | 5211.3674 | 374.2965 | 0 | 1.6046 | 1.1038 | 0.50082 | 0.024712 | 0 | 0.6804 | 0.0098847 | 0.042834 | 7536.9226 | 2.3097 | 0.052718
Median | 1163.6137 | 4872.3959 | 2425.1888 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10969.6314 | 742.1804 | 0 | 1121 | 4445 | 268 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6812 | 1 | 0
Standard deviation | 2347.0677 | 5959.6612 | 4289.1453 | 0 | 592.5676 | 4128.7271 | 23211.414 | 72906.7488 | 0 | 117086.4454 | 2815.7579 | 2280.1698 | 10240.8573 | 143512.1949 | 3614.1733 | 2380.1583 | 4975.1457 | 372.614 | 0 | 8.142 | 1.9126 | 1.2974 | 0.20945 | 0 | 1.3039 | 0.098929 | 0.29517 | 6668.8328 | 3.4411 | 0.30995
Minimum | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Maximum | 15243.9119 | 30084.1867 | 46884.7222 | 0 | 6665.8984 | 44290.2287 | 391668.1391 | 1716593.5377 | 0 | 2245535.2003 | 69105.2694 | 28870.4588 | 69705.0145 | 2267358.8539 | 69105.2694 | 16447 | 26743 | 1659 | 0 | 102 | 17 | 16 | 3 | 0 | 14 | 1 | 4 | 30269 | 25 | 4
Units | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd)
Definition | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data

## Consumption Data Systemwide
PG&E
Consumption Data Systemwide - Summary Statistics
Unit: CCFd
Statistics | Core California Alternative Rates for Energy (CARE) residential | Core residential excluding CARE | Core commercial | Core industrial | Core NGV | Noncore commercial | Noncore industrial excluding refinery | Noncore refinery | Noncore enhanced oil recovery (EOR) | Noncore electric generation (EG) | Wholesale | Company use | Core subtotal | Noncore subtotal | Other subtotal (Wholesale plus Company use) | Number of customers: Core CARE residential | Number of customers: Core residential excluding CARE | Number of customers: Core commercial | Number of customers: Core industrial | Number of customers: Core NGV | Number of customers: Noncore commercial | Number of customers: Noncore industrial (including refinery) | Number of customers: Noncore refinery | Number of customers: Noncore enhanced oil recovery (EOR) | Number of customers: Noncore electric generation (EG) | Number of customers: Wholesale | Number of customers: Company use | Number of customers: Core subtotal | Number of customers: Noncore subtotal | Number of customers: Other subtotal
Total | 1209785.6413 | 3692548.1297 | 2210114.9996 | 0 | 72965.8814 | 1021365.4528 | 2352800.0481 | 2625959.229 | 0 | 9092010.6706 | 82162.6823 | 146680.2927 | 7185414.652 | 15092135.4012 | 228842.975 | 1183440 | 3163300 | 227198 | 0 | 974 | 670 | 304 | 15 | 0 | 413 | 6 | 26 | 4574912 | 1402 | 32
Average | 0.9129 | 0.9769 | 8.8532 | 0 | 64.6288 | 1463.2743 | 7541.0258 | 175063.9486 | 0 | 21494.1151 | 13693.7804 | 5641.5497 | 1.3416 | 10422.7454 | 7151.343 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Median | 0.798 | 0.8005 | 0.8744 | 0 | 0.2536 | 738.6653 | 1264.8037 | 6425.5241 | 0 | 524.326 | 2192.8468 | 7.0725 | 0.8006 | 741.0536 | 956.8011 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Standard deviation | 3.1457 | 2.1848 | 71.733 | 0 | 402.7445 | 2653.6719 | 29243.5036 | 428909.9562 | 0 | 118038.2788 | 24828.0716 | 9529.6401 | 16.8362 | 80750.68 | 14115.4295 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Minimum | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1383.6304 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Maximum | 810.9114 | 1297.7663 | 18321.5704 | 0 | 6665.8984 | 26571.5512 | 383780.2592 | 1716593.5377 | 0 | 1510826.75 | 69105.2694 | 28860.3005 | 18321.5704 | 1716593.5377 | 69105.2694 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Units | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd) | Hundreds of Cubic Feet per Day (ccfd)
Definition | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data | Average Annual Daily Consumption in 2021 based on billing data