## Distribution Pipelines
Pacific Gas and Electric Company Maintenance Data Costs Template (R.24-09-012)
Row ID | Row Name | Value | Definition | General Rate Case Citation (document and page number) | PG&E Notes
G1 | Maintenance cost per service | 82.8411 | Average cost of gas distribution pipeline maintenance, per service. Calculated by adding G3 and G4, then dividing by G2. | NA | Any ratesetting activity should rely on the forecast presented in the General Rate Case (GRC). The value presented in this spreadsheet is different from the forecast methodology used in the GRC or other proceedings.
G2 | Services | 3708829 | Number of services operated by the utility. |  | 2024 PHMSA Report: PG&E_CY2024_PHMSA Form F 7100.1-1 Page 1
G3 | Total capital maintenance costs | 86879414.3875 | Annual capital cost of all gas distribution main and service leak detection and prevention, maintenance, and repairs, excluding pipeline replacement. | NA | This row includes only the Capital MATs from the rows below.
G4 | Total O&M maintenance costs | 220364090.0525 | Annual operations and maintenance cost of all gas distribution main and service leak detection and prevention, maintenance, and repairs, excluding pipeline replacement. | NA | This row includes only the Expense MATs from the rows below.
G5 | Impr Rel/Dep - Gas Service Repl Leaks - MAT 50G (Capital) | 19593706.7175 | Replace / deactivate entire or stub services due to leaks. | Program Description: Exhibit (PG&E-3), Ch. 8., p. 8-30, line 24 to p. 8-31, line 30 Recorded costs: Exhibit (PG&E-3), Ch. 8., P. 8-34, Table 8-10, line 3 | Value calculated as the average per year over 2021 to 2024, each year's value taken as is, values not escalated into 2024 dollars for the average calculation. As such these numbers will not match values in the 2027 GRC application.
G6 | Emergent Leaking Main Replacement - 50K (Capital) | 3376265.01 | Replace / install > or = 100' gas distribution main due to leaks. | Program Description: Exhibit (PG&E-3), Ch. 8., p. 8-30, line 24 to p. 8-31, line 30 Recorded costs: Exhibit (PG&E-3), Ch. 8., P. 8-34, Table 8-10, line 4 | Value calculated as the average per year over 2021 to 2024, each year's value taken as is, values not escalated into 2024 dollars for the average calculation. As such these numbers will not match values in the 2027 GRC application.
G7 | Impr Rel/Dep - Gas Service Repl Leaks - 50M (Capital) | 1083962.095 | Replace / deactivate entire or stub complex services due to leaks. | Program Description: Exhibit (PG&E-3), Ch. 8., p. 8-30, line 24 to p. 8-31, line 30 Recorded costs: Exhibit (PG&E-3), Ch. 8., P. 8-34, Table 8-10, line 4 | Value calculated as the average per year over 2021 to 2024, each year's value taken as is, values not escalated into 2024 dollars for the average calculation. As such these numbers will not match values in the 2027 GRC application.
G8 | GD Below Ground Service Repair - MAT 3PB (Capital) | 3826459.69 | Replace / deactivate entire or stub services due to leaks found during incremental Gas Leak Abatement surveys. | Program Description: Exhibit (PG&E-3), Ch. 8., p. 8-30, line 24 to p. 8-31, line 30 Recorded costs: Exhibit (PG&E-3), Ch. 8., P. 8-34, Table 8-10, line 1 | Value calculated as the average per year over 2021 to 2024, each year's value taken as is, values not escalated into 2024 dollars for the average calculation. As such these numbers will not match values in the 2027 GRC application.
G9 | GD Below Ground Service Repair Cmplx - MAT 3PC (Capital) | 344609.445 | Replace / deactivate entire or stub complex services due to leaks found during incremental Gas Leak Abatement surveys. | Program Description: Exhibit (PG&E-3), Ch. 8., p. 8-30, line 24 to p. 8-31, line 30 Recorded costs: Exhibit (PG&E-3), Ch. 8., P. 8-34, Table 8-10, line 2 | Value calculated as the average per year over 2021 to 2024, each year's value taken as is, values not escalated into 2024 dollars for the average calculation. As such these numbers will not match values in the 2027 GRC application.
G10 | Emerg Resp-G-Dig-Ins-Svcs - 52B (Capital) | 2293987.58 | Replace / deactivate entire or stub services due to "dig-in", outside forces orthird party damage. Also, includes service cut-offs due to emergencies (i.e. due to fire). | Program Description: Exhibit (PG&E-3), Ch. 8., p. 8-26, line 22 to p. 8-27, line 15 Recorded costs: Exhibit (PG&E-3), Ch. 8., P. 8-28, Table 8-8, line 1 | Value calculated as the average per year over 2021 to 2024, each year's value taken as is, values not escalated into 2024 dollars for the average calculation. As such these numbers will not match values in the 2027 GRC application.
G11 | Emerg Resp-G-Dig-Ins-Main - 52C (Capital) | 412595.7775 | Replace > or = 100' gas distribution main due to dig-in or damage by outside forces or third party. Deactivate > or = 1' gas distribution main due to dig-in or damage by outside forces. | Program Description: Exhibit (PG&E-3), Ch. 8., p. 8-26, line 22 to p. 8-27, line 15 Recorded costs: Exhibit (PG&E-3), Ch. 8., P. 8-28, Table 8-8, line 2 | Value calculated as the average per year over 2021 to 2024, each year's value taken as is, values not escalated into 2024 dollars for the average calculation. As such these numbers will not match values in the 2027 GRC application.
G12 | Impr Rel/Dep Gas Valves - 50E (Capital) | 9448241.7325 | Replace / install gas distribution valves > or = 2" (e.g. emergency shutdown, riser valves 2" or greater, and therm billing area valves). | Program Description: Exhibit (PG&E-3), Ch4., p. 4-45, lines 2-18 Recorded costs: Exhibit (PG&E-3), Ch4., P. 4-49, Table 4-8, line 1 | Value calculated as the average per year over 2021 to 2024, each year's value taken as is, values not escalated into 2024 dollars for the average calculation. As such these numbers will not match values in the 2027 GRC application.
G13 | Impr Rel/Dep Gas CP Systems - MAT 50D (Capital) | 1495111.4825 | ETS (Electrical Test Station) ≥ 5 stations at a single location • Rectifier replacement, including insert, or new installation • Pipe Coating ≥ 40 feet • Remote Monitoring Units (RMUs) | Program Description: Exhibit (PG&E-3), Ch. 8., p. 8-94, lines 1-12 Recorded costs: Exhibit (PG&E-3), Ch. 8., P. 8-95, Table 8-23, line 1 | Value calculated as the average per year over 2021 to 2024, each year's value taken as is, values not escalated into 2024 dollars for the average calculation. As such these numbers will not match values in the 2027 GRC application.
G14 | Improve Reliability /System Dependability-G-Deep Well Anode - MAT 50P (Capital) | 15980160.7275 | The CP Systems – New/Replace Program is a capital program to install or replace CP systems | Program Description: Exhibit (PG&E-3), Ch. 8., p. 8-94, lines 13-28 Recorded costs: Exhibit (PG&E-3), Ch. 8., P. 8-95, Table 8-23, line 2 | Value calculated as the average per year over 2021 to 2024, each year's value taken as is, values not escalated into 2024 dollars for the average calculation. As such these numbers will not match values in the 2027 GRC application.
G15 | Impr Rel/Dep-CutOff Idle G Svc - MAT 50H (Capital) | 4798957.2025 | Remove / deactivate entire or stub services due to idle facilities. | Program Description: Exhibit (PG&E-3), Ch4., p. 4-47, lines 3-25 Recorded costs: Exhibit (PG&E-3), Ch4., P. 4-49, Table 4-8, line 4 | Value calculated as the average per year over 2021 to 2024, each year's value taken as is, values not escalated into 2024 dollars for the average calculation. As such these numbers will not match values in the 2027 GRC application.
G16 | Gas Overbuild - G - MAT 50J (Capital) | 16231891.305 | Relocation / rearrangement of gas main (> 100 continuous feet) and/or complete gas service replacement to clear overbuild conflicts. | Program Description: Exhibit (PG&E-3), Ch4., p. 4-52 line 25 to p. 4-53, line 18. Recorded costs: Exhibit (PG&E-3), Ch4., P. 4-54, Table 4-9, line 1 | Value calculated as the average per year over 2021 to 2024, each year's value taken as is, values not escalated into 2024 dollars for the average calculation. As such these numbers will not match values in the 2027 GRC application.
G17 | Gas Reg Replacement - MAT 74A (Capital) | 7993465.6225 | Labor to replace failed or deteriorating residential and non- residential regulators while performing routine maintenance or other field activity. Includes targeted regulator replacement programs. Regulator replacement only | Program Description: Exhibit (PG&E-3), Ch 8., p. 8-71 lines 9 to 21. Recorded costs: Exhibit (PG&E-3), Ch 8., P. 8-72, Table 8-19, line 1. | Value calculated as the average per year over 2021 to 2024, each year's value taken as is, values not escalated into 2024 dollars for the average calculation. As such these numbers will not match values in the 2027 GRC application.
G18 | Leak Survey - MAT DEA (Expense) | 12932855.045 | Perform compliance foot and mobile surveys of distribution mains and services only. | Program Description: Exhibit (PG&E-3), Ch. 8., p. 8-8, line 26 to p. 8-12, line 15 Recorded costs: Exhibit (PG&E-3), Ch. 8., P. 8-13, Table 8-3, line 2. | Value calculated as the average per year over 2021 to 2024, each year's value taken as is, values not escalated into 2024 dollars for the average calculation. As such these numbers will not match values in the 2027 GRC application.
G19 | Advanced Mobile Technology - MAT DEF (Expense) | 6160787.025 | Use of Picarro Surveyor to perform compliance leak survey (drive) of distribution mains and services only. | N/A | Value calculated as the average per year over 2021 to 2024, each year's value taken as is, values not escalated into 2024 dollars for the average calculation. As such these numbers will not match values in the 2027 GRC application.
G20 | Rechecks - MAT DED (Expense) | 1032428.51 | Charge for routine above and below ground Grade 3 & 2 leak rechecks and /or follow-up Grade 0 rechecks. | Program Description: Exhibit (PG&E-3), Ch. 8., p. 8-8, line 26 to p. 8-12, line 15 Recorded costs: Exhibit (PG&E-3), Ch. 8., P. 8-13, Table 8-3, line 5. | Value calculated as the average per year over 2021 to 2024, each year's value taken as is, values not escalated into 2024 dollars for the average calculation. As such these numbers will not match values in the 2027 GRC application.
G21 | Gas Leaks & Emergencies - MAT DDG (Expense) | 29881180.2525 | Respond to customer reported gas emergencies including hi/low pressure, leaks, fires, explosions, carbon monoxide investigations, etc. on the customer’s side of the gas meter. | Program Description: Exhibit (PG&E-3), Ch. 8., p. 8-64, lines 3 to 31. Recorded costs: Exhibit (PG&E-3), Ch. 8., P. 8-65, Table 8-16, line 1. | Value calculated as the average per year over 2021 to 2024, each year's value taken as is, values not escalated into 2024 dollars for the average calculation. As such these numbers will not match values in the 2027 GRC application.
G22 | Leak Survey Meter Repair - MAT FIS (Expense) | 6738905.1575 | Scheduled repair of Non-Hazardous gas leaks (aka fuzz leaks/zip ties) at the meter set. | Program Description: Exhibit (PG&E-3), Ch. 8., p. 8-70, lines 9 to 27. Recorded costs: Exhibit (PG&E-3), Ch. 8., P. 8-72, Table 8-18, line 1. | Value calculated as the average per year over 2021 to 2024, each year's value taken as is, values not escalated into 2024 dollars for the average calculation. As such these numbers will not match values in the 2027 GRC application.
G23 | G Meter Atmospheric Corrosion - MAT HYI (Expense) | 1284143.9175 | Perform remediation of atmospheric corrosion on customer gas meters and regulators as identified through the Atmospheric Corrosion Inspection Program (includes FAS completion codes 5243, 5247,5248 and 5249). Work is proactively managed, planned, and scheduled in advance. | Program Description: Exhibit (PG&E-3), Ch. 8., p. 8-70, line 28 to p. 8-71, line 8. Recorded costs: Exhibit (PG&E-3), Ch. 8., P. 8-72, Table 8-18, line 1. | Value calculated as the average per year over 2021 to 2024, each year's value taken as is, values not escalated into 2024 dollars for the average calculation. As such these numbers will not match values in the 2027 GRC application.
G24 | Locate & Mark - MAT DFA (Expense) | 53591604.3325 | Locate and mark underground G&E Distribution facilities per USA requests. Prep. maps, process tickets and perform admin. work and G&E damage prev. activities. | Program Description: Exhibit (PG&E-3), Ch. 8., p. 8-49, line 1 to p. 8-50, line 23. Recorded costs: Exhibit (PG&E-3), Ch. 8., P. 8-53, Table 8-13, line 2 | Value calculated as the average per year over 2021 to 2024, each year's value taken as is, values not escalated into 2024 dollars for the average calculation. As such these numbers will not match values in the 2027 GRC application.
G25 | Mark & Locate Standby - MAT DFB (Expense) | 406221.9625 | Standby is performed for work within 5 feet of a gas or electric transmission facility or for excavation activity within close proximity of a critical distribution facility. Standby's for gas distribution facilities should only be performed at locations the Senior Gas Engineer determine as critical. | Program Description: Exhibit (PG&E-3), Ch. 8., p. 8-50, line 24 to p. 8-51, line 16. Recorded costs: Exhibit (PG&E-3), Ch. 8., P. 8-53, Table 8-13, line 3. | Value calculated as the average per year over 2021 to 2024, each year's value taken as is, values not escalated into 2024 dollars for the average calculation. As such these numbers will not match values in the 2027 GRC application.
G26 | Maint-Prev-G Mains - MAT FHA (Expense) | 1148215.3225 | Non-leak repairs to distribution gas mains, including rewrap or lower mains, replace/relocate < 100', install ETS for the purpose of locating the main. | Program Description: Exhibit (PG&E-3), Ch. 8., p. 8-40, line 6 to p. 8-42, line 5 Recorded costs: Exhibit (PG&E-3), Ch. 8., P. 8-43, Table 8-11, line 1 | Value calculated as the average per year over 2021 to 2024, each year's value taken as is, values not escalated into 2024 dollars for the average calculation. As such these numbers will not match values in the 2027 GRC application.
G27 | Maint-Prev-G Svcs - MAT FHE (Expense) | 4242497.465 | Repair non-leaking gas distribution services: riser replacements, rewraps, clear and/or repair plugged services, cut-off less than a full services | Program Description: Exhibit (PG&E-3), Ch. 8., p. 8-40, line 6 to p. 8-42, line 5 Recorded costs: Exhibit (PG&E-3), Ch. 8., P. 8-43, Table 8-11, line 2 | Value calculated as the average per year over 2021 to 2024, each year's value taken as is, values not escalated into 2024 dollars for the average calculation. As such these numbers will not match values in the 2027 GRC application.
G28 | Maint-Corr-G Svc Vlv - MAT FHI (Expense) | 2608749.9375 | Repair or replace inoperative service valves <2". Repairing inoperative service valves includes: exposing buried/inaccessible service valves and raising the riser and relocation of an existing service valve <2” | Program Description: Exhibit (PG&E-3), Ch. 8., p. 8-40, line 6 to p. 8-42, line 5 Recorded costs: Exhibit (PG&E-3), Ch. 8., P. 8-43, Table 8-11, line 3 | Value calculated as the average per year over 2021 to 2024, each year's value taken as is, values not escalated into 2024 dollars for the average calculation. As such these numbers will not match values in the 2027 GRC application.
G29 | Maint-Corr-G Main Lk - MAT FIG (Expense) | 28860128.2075 | Expense repair of non-dig-in leaks less than 100 feet on any distribution main and appurtenances (flanges, valves, etc.) | Program Description: Exhibit (PG&E-3), Ch. 8., p. 8-30, line 24 to p. 8-31, line 30 Recorded costs: Exhibit (PG&E-3), Ch. 8., P. 8-33, Table 8-9, line 2 | Value calculated as the average per year over 2021 to 2024, each year's value taken as is, values not escalated into 2024 dollars for the average calculation. As such these numbers will not match values in the 2027 GRC application.
G30 | CM - Gas Service Leak Above Ground - MAT FIH (Expense) | 2908369.6425 | Leak pin-pointing and repair of non-dig-in leaks below the service valve on the above ground portion of the service. | Program Description: Exhibit (PG&E-3), Ch. 8., p. 8-30, line 24 to p. 8-31, line 30 Recorded costs: Exhibit (PG&E-3), Ch. 8., P. 8-33, Table 8-9, line 3 | Value calculated as the average per year over 2021 to 2024, each year's value taken as is, values not escalated into 2024 dollars for the average calculation. As such these numbers will not match values in the 2027 GRC application.
G31 | Maint-Corr_G_Svc Leak_BG - MAT FIP (Expense) | 22845723.1725 | Leak pinpointing and repair of non-dig in leak on below ground section of any service (includes curb valves) from tee to where riser breaks ground. | Program Description: Exhibit (PG&E-3), Ch. 8., p. 8-30, line 24 to p. 8-31, line 30 Recorded costs: Exhibit (PG&E-3), Ch. 8., P. 8-33, Table 8-9, line 4 | Value calculated as the average per year over 2021 to 2024, each year's value taken as is, values not escalated into 2024 dollars for the average calculation. As such these numbers will not match values in the 2027 GRC application.
G32 | GD Main Leak Repair - MAT LWG (Expense) | 6192567.27 | Expense repair of non-dig-in leaks found during incremental Gas Leak Abatement surveys that are less than 100 feet on any distribution main and appurtenances (flanges, valves, etc.). | Program Description: Exhibit (PG&E-3), Ch. 8., p. 8-30, line 24 to p. 8-31, line 30 Recorded costs: Exhibit (PG&E-3), Ch. 8., P. 8-33, Table 8-9, line 5 | Value calculated as the average per year over 2021 to 2024, each year's value taken as is, values not escalated into 2024 dollars for the average calculation. As such these numbers will not match values in the 2027 GRC application.
G33 | GD Below Ground Svc Leak Repair - MAT LWH (Expense) | 4753959.6275 | Leak pinpointing and repair of non-dig in leak found during incremental Gas Leak Abatement surveys, on below ground section of any service (includes curb valves) from tee to where riser breaks ground. | Program Description: Exhibit (PG&E-3), Ch. 8., p. 8-30, line 24 to p. 8-31, line 30 Recorded costs: Exhibit (PG&E-3), Ch. 8., P. 8-33, Table 8-9, line 6 | Value calculated as the average per year over 2021 to 2024, each year's value taken as is, values not escalated into 2024 dollars for the average calculation. As such these numbers will not match values in the 2027 GRC application.
G34 | Maint-Corr-G Main Dig-ins - MAT FIJ (Expense) | 1739050.865 | Expense repair of dig-in leaks and other third party damage to any distribution main and appurtenances (flanges, valves, etc.). | Program Description: Exhibit (PG&E-3), Ch. 8., p. 8-26, line 22 to p. 8-27, line 15 Recorded costs: Exhibit (PG&E-3), Ch. 8., P. 8-28, Table 8-7, line 1 | Value calculated as the average per year over 2021 to 2024, each year's value taken as is, values not escalated into 2024 dollars for the average calculation. As such these numbers will not match values in the 2027 GRC application.
G35 | Maint-Corr-G Service Dig-ins - MAT FIK (Expense) | 1729872.74 | Expense repair of dig-in leaks and other third party damage to any service (including curb valves). | Program Description: Exhibit (PG&E-3), Ch. 8., p. 8-26, line 22 to p. 8-27, line 15 Recorded costs: Exhibit (PG&E-3), Ch. 8., P. 8-28, Table 8-7, line 2 | Value calculated as the average per year over 2021 to 2024, each year's value taken as is, values not escalated into 2024 dollars for the average calculation. As such these numbers will not match values in the 2027 GRC application.
G36 | Gas Overbuild - MAT FIO (Expense) | 2165072.075 | Relocation of partial gas service and/or main (<100') due to encroachment condition. Only PG&E initiated work performed in accordance with WP 9510P-01 should be done as MAT FIO. | Program Description: Exhibit (PG&E-3), Ch4., p. 4-19, line 13 to p. 4-20, line 7 Recorded costs: Exhibit (PG&E-3), Ch4., P. 4-20, Table 4-4, line 1 | Value calculated as the average per year over 2021 to 2024, each year's value taken as is, values not escalated into 2024 dollars for the average calculation. As such these numbers will not match values in the 2027 GRC application.
G37 | Maint-Corr-G Main Vlv - MAT FIF (Expense) | 698906.555 | Replace valves < 2"; Repair all distribution main valves, i.e. excavate area; repair / modify inoperative parts, (i.e. seals, seats, bolts, bonnet, plug, gate, ball). Repair / seal vaults and lids. Raise vaults and lids unless due to WRO (especially street repaving). | Program Description: Exhibit (PG&E-3), Ch. 8., p. 8-117, line 24 to p. 8-118, line 27 Recorded costs: Exhibit (PG&E-3), Ch. 8., p. 8-119, Table 8-30, line 2 | Value calculated as the average per year over 2021 to 2024, each year's value taken as is, values not escalated into 2024 dollars for the average calculation. As such these numbers will not match values in the 2027 GRC application.
G38 | Maint-Prev-G Vlv - MAT FHG (Expense) | 1580203.01 | Perform scheduled inspection of distribution main valves. Verify operation, identification, and location. Clean / pump out vaults / enclosures. Lubricate / flush valves. Clean / paint valve / frame and cover. | Program Description: Exhibit (PG&E-3), Ch. 8., p. 8-117, line 24 to p. 8-118, line 27 Recorded costs: Exhibit (PG&E-3), Ch. 8., p. 8-119, Table 8-30, line 1 | Value calculated as the average per year over 2021 to 2024, each year's value taken as is, values not escalated into 2024 dollars for the average calculation. As such these numbers will not match values in the 2027 GRC application.
G39 | Op Distr-G Mns/Svcs - MAT FGB (Expense) | 752532.575 | Changing winter and station pressure recorder charts (including downloading ERX pressure recorders), performing instrument calibrations (test equipment, gauges, portable pressure recorders, etc.,) operating valves (including changes in emergency zones), removing distribution system pipeline liquids and monitoring system pressure. | Program Description: Exhibit (PG&E-3), Ch. 8., p. 8-125, lines 17-31 Recorded costs: Exhibit (PG&E-3), Ch. 8., p. 8-126, Table 8-33, line 1 | Value calculated as the average per year over 2021 to 2024, each year's value taken as is, values not escalated into 2024 dollars for the average calculation. As such these numbers will not match values in the 2027 GRC application.
G40 | Maint-Corr-G Cath Prot - MAT FII (Expense) | 7605207.63 | Repair existing anodes or rectifiers; dig up gas facilities to install insulating material; install new anodes on isolated steel as necessary, Install an ETS Station; restore a down CPA w/o replacing capital plant. | Program Description: Exhibit (PG&E-3), Ch. 8., p. 8-92, lines 3-30 Recorded costs: Exhibit (PG&E-3), Ch. 8., p. 8-95, Table 8-22, line 1 | Value calculated as the average per year over 2021 to 2024, each year's value taken as is, values not escalated into 2024 dollars for the average calculation. As such these numbers will not match values in the 2027 GRC application.
G41 | GD Corrosion AC Inspections - MAT FHK (Expense) | 148141.46 | Inspect atmospherically exposed gas mains and services, for atmospheric corrosion. | Program Description: Exhibit (PG&E-3), Ch. 8., p. 8-98, lines 17-33 Recorded costs: Exhibit (PG&E-3), Ch. 8., p. 8-101, Table 8-24, line 1 | Value calculated as the average per year over 2021 to 2024, each year's value taken as is, values not escalated into 2024 dollars for the average calculation. As such these numbers will not match values in the 2027 GRC application.
G42 | Atmospheric Corrosion Service Repairs - MAT FHM (Expense) | 4112478.605 | Perform expense repair of atmospheric corrosion on services to below stopcock. | Program Description: Exhibit (PG&E-3), Ch. 8., p. 8-99, lines 1-19 Recorded costs: Exhibit (PG&E-3), Ch. 8., p. 8-101, Table 8-24, line 3 | Value calculated as the average per year over 2021 to 2024, each year's value taken as is, values not escalated into 2024 dollars for the average calculation. As such these numbers will not match values in the 2027 GRC application.
G43 | Atmospheric Corrosion Main Repairs - MAT FHL (Expense) | 1847750.6925 | Perform expense repair of atmospheric corrosion on mains. | Program Description: Exhibit (PG&E-3), Ch. 8., p. 8-98, lines 3-16 Recorded costs: Exhibit (PG&E-3), Ch. 8., p. 8-101, Table 8-24, line 2 | Value calculated as the average per year over 2021 to 2024, each year's value taken as is, values not escalated into 2024 dollars for the average calculation. As such these numbers will not match values in the 2027 GRC application.
G44 | Cath Protect - Monitoring - MAT DGA (Expense) | 4778680.73 | Take all types of pipe-to-soil reads, including isolated steel, rectifier reads, and remote monitoring. | Program Description: Exhibit (PG&E-3), Ch. 8., p. 8-75, line 24 to p. 8-76, line 19. Recorded costs: Exhibit (PG&E-3), Ch. 8., p. 8-82, Table 8-20, line 1 | Value calculated as the average per year over 2021 to 2024, each year's value taken as is, values not escalated into 2024 dollars for the average calculation. As such these numbers will not match values in the 2027 GRC application.
G45 | Cath Protect-Troubleshoot - MAT DGB (Expense) | 6745343.495 | Troubleshoot / identify problems with down CPA's and take any remedial actions | Program Description: Exhibit (PG&E-3), Ch. 8., p. 8-76, line 20 to p. 8-77, line 31. Recorded costs: Exhibit (PG&E-3), Ch. 8., p. 8-82, Table 8-20, line 2 | Value calculated as the average per year over 2021 to 2024, each year's value taken as is, values not escalated into 2024 dollars for the average calculation. As such these numbers will not match values in the 2027 GRC application.
G46 | Cath Protect - Rectifier Maint - MAT DGC (Expense) | 872512.7725 | Perform rectifier maintenance and associated costs. | Program Description: Exhibit (PG&E-3), Ch. 8., p. 8-78, lines 1-19. Recorded costs: Exhibit (PG&E-3), Ch. 8., p. 8-82, Table 8-20, line 3 | Value calculated as the average per year over 2021 to 2024, each year's value taken as is, values not escalated into 2024 dollars for the average calculation. As such these numbers will not match values in the 2027 GRC application.

## Medium-Pr Regulator Stations
Pacific Gas and Electric Company Maintenance Data Costs Template (R.24-09-012)
Row ID | Row Name | Medium pressure regulator stations | Low pressure regulator stations (a) | Definition | General Rate Case Citation (document and page number) | PG&E Notes
H1 | Maintenance cost per regulator station | 13985.1155 | 21717.0861 | Average cost of maintaining gas distribution medium-pressure regulator stations, per service. Calculated by adding H3 and H4, then dividing by H2. | NA | Any ratesetting activity should rely on the forecast presented in the General Rate Case (GRC). The value presented in this spreadsheet is different from the forecast methodology used in the GRC or other proceedings.
H2 | Regulator stations | 1261 | 184 | Number of gas distribution regulator stations operated by the utility. Include only the medium-pressure (and low-pressure) stations included in the F4 total. | NA | For the values in "Regulator stations", the data was derived from a snapshot as of October 2025. It doesn't constitute an average over multiple years.
H3 | Total capital maintenance costs | 10182748.6825 | 2793421.17 | Annual capital cost of all medium-pressure gas distribution regulator station leak detection and prevention, maintenance, and repairs, excluding station replacement. | NA | This row includes only the Capital MATs from the rows below.
H4 | Total O&M maintenance costs | 7452481.9325 | 1202522.675 | Annual operations and maintenance cost of all medium-pressure gas distribution regulator station leak detection and prevention, maintenance, and repairs, excluding station replacement. | NA | This row includes only the Expense MAT from the rows below.
H5 | Regulator stations component replacement (MAT 50L) Capital | 10182748.6825 | 2793421.17 | Replacement of regulator station component due to deterioration or reduced reliability. Includes valves (both upstream and downstream fire valves and block valves), filters, regulators, and other capital equipment within the station. | Program description : A.25--05-009, Exhibit (PG&E-3), Ch 6., p.6-93 to 6-96. Recorded costs : A.25-05-009, Exhibit (PG&E-3), Ch.6, WP 6-23, table 6-22, line 4. | For the values in "Regulator stations component replacement (MAT 50L) Capital", per instructions provided in the "Directions' tab, PG&E is only reporting the low-pressure and medium-pressure regulator stations. Program-level costs and costs for other types of regulator stations, such as HPRs are not included. Value calculated as the average per year over 2021 to 2024, each year's value taken as is, values not escalated into 2024$ for the average calculation. As such these numbers will not match values for recorded and forecast costs in the 2027 GRC application.
H6 | GD Regulator stations Preventative maintenance (MAT FHB) Expense | 3444349.19 | 479156.21 | Perform scheduled “A, B, & C” maintenance on distribution regulator stations. Includes required maintenance work for all associated equipment inside the district regulator station including inlet and outlet fire valves, and any general housekeeping tasks. Includes vault dewatering for preventative maintenance. | Program description : Exhibit (PG&E-3), Ch 8., p.8-111 to 8-112. Recorded costs : Exhibit (PG&E-3), Ch.8., p.8-113, table 8-28, line 1. | For the values in MAT FHB Expense, per instructions provided in the 'Directions' tab, PG&E is only reporting the low-pressure and medium-pressure regulator stations. Value calculated as the average per year over 2021 to 2024, each year's value taken as is, values not escalated into 2024$ for the average calculation. As such these numbers will not match values in the 2027 GRC application.
H7 | GD Regulator stations Corrective Maintenance (MAT FIB) Expense | 1988485.73 | 251131.86 | Maintain and repair failed or inoperative distribution district regulation equipment. Work includes repair of regulation, filters, station valves, and any vault dewatering for corrective maintenance. Includes inlet and outlet fire valves with a pressure < 60 psig. | Program description : Exhibit (PG&E-3), Ch 8., p.8-111 to 8-112. Recorded costs : Exhibit (PG&E-3), Ch.8., p.8-113, table 8-28, line 2. | For the values in MAT FIB Expense, per instructions provided in the 'Directions' tab, PG&E is only reporting the low-pressure and medium-pressure regulator stations. Value calculated as the average per year over 2021 to 2024, each year's value taken as is, values not escalated into 2024$ for the average calculation. As such these numbers will not match values in the 2027 GRC application.
H8 | GD Regulator stations SCADA maintenance (MAT FHO) Expense | 659315.59 | 132598.73 | SCADA preventative maintenance activities for Remote Terminal Units (RTUs), SCADA Transmitters, and Electronic Pressure Recording Devices (ERXs). | Program description : Exhibit (PG&E-3), Ch 8., p.8-121. Recorded costs : Exhibit (PG&E-3), Ch.8., p.8-122, table 8-31, line 1. | For the values in MAT FHO Expense, per instructions provided in the 'Directions' tab, PG&E is only reporting the low-pressure and medium-pressure regulator stations. Value calculated as the average per year over 2021 to 2024, each year's value taken as is, values not escalated into 2024$ for the average calculation. As such these numbers will not match values in the 2027 GRC application.
H9 | GD SCADA Corrective Maintenance (MAT FHP) Expense | 270315.58 | 53009.1 | SCADA corrective maintenance activities for Remote Terminal Units (RTUs), SCADA Transmitters, and Electronic Pressure Recording Devices (ERXs). SCADA corrective maintenance activities include, but are not limited to: 1) Response and investigation of SCADA alarms at the request of the control center 2) Maintain or repair of failed or inoperative electronic permanent pressure recorder at a regulator station. | Program description : Exhibit (PG&E-3), Ch 8., p.8-121. Recorded costs : Exhibit (PG&E-3), Ch.8., p.8-122, table 8-31, line 2. | For the values in MAT FHP Expense, per instructions provided in the 'Directions' tab, PG&E is only reporting the low-pressure and medium-pressure regulator stations. Value calculated as the average per year over 2021 to 2024, each year's value taken as is, values not escalated into 2024$ for the average calculation. As such these numbers will not match values in the 2027 GRC application.
H11 | GD System Operations (MAT FGC) Expense | 64121.79 | 104848.18 | Control the supply and flow of gas through the distribution system via direction from the GDCC, adjust and change DREGS pressure set points, maintain station pressure in conjunction with winter or planned operational clearances. | Program description : Exhibit (PG&E-3), Ch 8., p.8-125. Recorded costs : Exhibit (PG&E-3), Ch.8., p.8-126, table 8-33, line 2. | For the values in MAT FGC Expense, per instructions provided in the 'Directions' tab, PG&E is only reporting the low-pressure and medium-pressure regulator stations. Value calculated as the average per year over 2021 to 2024, each year's value taken as is, values not escalated into 2024$ for the average calculation. As such these numbers will not match values in the 2027 GRC application.
H10 | GD Regulator stations Atmospheric Corrosion (MAT FHN) Expense | 1025894.0525 | 181778.595 | Perform expense repair of atmospheric corrosion on distribution district regulator stations. | Program description : Exhibit (PG&E-3), Ch 8., p.8-99. Recorded costs : Exhibit (PG&E-3), Ch.8., p.8-101, table 8-24, line 4. | For the values in MAT FHN Expense, per instructions provided in the 'Directions' tab, PG&E is only reporting the low-pressure and medium-pressure regulator stations. Value calculated as the average per year over 2021 to 2024, each year's value taken as is, values not escalated into 2024$ for the average calculation. As such these numbers will not match values in the 2027 GRC application.
(a) | Column added per instructions in the 'Directions' tab.

## Directions
Distribution Pipelines
a. In the tab “Distribution Pipelines,” provide the information shown. In the first two columns, provide the Row ID, and Row Name, as shown; in the third column, provide the information requested; and in the fourth column, provide the Definition, as shown. Provide additional rows showing the cost components which sum to G3 and to G4, as categorized in the utility’s rate case workpapers, and a final column showing general rate case citations for each cost component, including page numbers. If the general rate case application was submitted before 2025, dollar values in rate case citations may be different from values reported here. Include only and all such actual costs borne by ratepayers. Include activities that support gas distribution pipeline safety such as leak surveys and locate-and-mark programs.
Medium-Pressure Regulator Stations
b. In the tab “Medium-Pr Regulator Stations,” provide the information shown. In the first column two columns, provide the Row ID, and Row Name, as shown; in the third column, provide the information for medium-pressure regulator stations; in the fourth column, provide the information for low-pressure regulator stations; and in the fifth column, provide the Definition, as shown. Provide additional rows showing the cost components which sum to H3 and to H4, as categorized in the utility’s rate case workpapers, and a final column showing general rate case citations for each cost component, including page numbers. If the general rate case application was submitted before 2025, dollar values in rate case citations may be different from values reported here. Include only and all such actual costs borne by ratepayers. Include costs associated with maintaining regulator station locations and on-site equipment, such as SCADA equipment, vault lids, fencing, and access roadway maintenance.

## Definitions
1. Definitions
For the data required in this template, use the following definitions unless otherwise stated:
a. Data time period: Annual for calendar years 2021-2024, averaged across these four years.
b. Main and service replacement programs:
i. PG&E: Plastic Pipeline Replacement Program (MAT Code 14D) (which covers aldyl-A); Gas Pipeline Replacement Program (14A) (which covers pre-1941 steel); Reliability Main Replacement Program (50A)
ii. SoCalGas/SDG&E: Vintage Integrity Plastic Plan (within Budget Code 277); Bare Steel Replacement Plan (within 277) (which covers pre-1972 steel without cathodic protection); Main Replacement Programs (252, 253, 255, 267, 278[1])
iii. Southwest Gas: Targeted Pipe Replacement Program (which covers Driscopipe 7000 plastic[2]) (within budget code 9636); Vintage Steel Program (which covers pre-1961 steel) (within 9636 and 9605)
c. Service-only replacement programs:
i. PG&E: Reliability Service Replacement Program (50B)
ii. SoCalGas/SDG&E: Service Replacement Programs (256, 257, 258, 260)
iii. Southwest Gas: Customer-Owned Yard Line Program (school and non-school locations)
iv. Regulator station replacement programs: PG&E: Regulator Station Rebuilds (50C)
v. SoCalGas/SDG&E: rebuilds/replacements within Regulator Stations Program (within budget code 265; exclude non-replacement activities not addressed here)
d. Operating Districts:[3]
i. PG&E: provide name and number of 18 divisions.[4]
ii. SoCalGas: provide name and number of about 50 gas districts.[5]
iii. SDG&E: provide name and number of 5 districts.[6]
iv. Southwest Gas: provide name and number of 7 districts.[7]
e. Work order: Common identifier used by the gas utility to track gas infrastructure work at a given location. For example, the replacement of five adjacent services and the mains serving them typically would be tracked as one work order. The term “project” is also used in this document to refer to a work order.
f. Costs: Provide the costs for all work orders associated with the program, as recorded for the applicable years. That is, state the amount totaled across the program’s work orders. Include costs under the year they were incurred. Include all the costs described in the cost category, regardless of what budget code they are recorded under.
g. Pressure District: Set of customer meters, services and mains that together depends on one or more gas distribution regulator stations, and not on other gas distribution regulator stations.[8] Note that operating districts and pressure districts are not the same.
i. SoCalGas: about 750 pressure systems.[9]
ii. PG&E: about 1200 hydraulically independent systems.[10]
iii. Southwest Gas: Fewer systems due to smaller footprint in California.
h. Pressure Category: Describes the pressure in a pressure district or the outgoing pressure from a regulator station that serves a pressure district.[11]
i. Medium-pressure: pressure of 1 through 60 psig, and the regulator station is not “HPR-type”
ii. Low-pressure: pressure less than 1 psig
[1] Workpaper includes these codes within work group 252. Southern California Gas Company, submitted in SoCalGas General Rate Case A.22-05-015 for years 2024-2027, Work Unit/Activity Level Estimates, SCG-04-CWP-R_Mario_Aguirre-Gas_Distribution_49456.pdf, pp. 45 &ff.
[2] Driscopipe 7000 was installed in 1974-1980. See Prepared Direct Testimony of Kevin Lang on behalf of Southwest Gas Corporation, submitted in Southwest Gas General Rate Case A.22-05-015, August 2019, https://docs.cpuc.ca.gov/PublishedDocs/SupDoc/A1908015/2695/338276400.pdf, p. 5.
[3] Consistent definitions were used for Operating District in Gas System Census Tract Data, filed by gas utilities in response to Administrative Law Judge’s Ruling Seeking Data from Gas Utilities in R.24-09-012, January 13, 14, and 17, 2024, posted on the CPUC’s R.24-09-012 webpage, https://www.cpuc.ca.gov/industries-and-topics/natural-gas/long-term-gas-planning-rulemaking. See definitions in Administrative Law Judge’s Ruling Seeking Revised Data from Gas Utilities in R.20-01-007, September 22, 2022, https://www.cpuc.ca.gov/-/media/cpuc-website/divisions/energy-division/documents/natural-gas/long-term-gas-planning-oir/rulings/revisedgassystemdataruling09212022.pdf, also available on the CPUC’s R.20-01-007 webpage, https://www.cpuc.ca.gov/industries-and-topics/natural-gas/long-term-gas-planning-rulemaking-closed.
[4] PG&E’s 18 Divisions have been reported as: Diablo, East Bay, Mission, Peninsula, De Anza, San Jose, San Francisco, Central Coast, Fresno, Kern, Stockton, Yosemite, North Bay, Sonoma, Humboldt, Northern Valley, Sacramento, and Sierra. For 14A and 14D distribution pipeline replacement contracts, these divisions are used as bid areas, while for some other contract types they may be combined into 8 larger bid areas.
[5] SoCalGas’ 50 districts have been reported as: Orange Coast – Azusa, Anaheim, Alhambra, Aliso Viejo, Downey, Garden Grove, Industry, La Jolla, Pasadena, Santa Ana, Whittier (group 1); Inland – Beaumont, Corona, Chino, Fontana, Murrieta, Ramona, Redlands, Rim Forest, Riverside, San Bernardino (group 2); Inland Desert – Blythe, El Centro, Palm Desert, Yucca Valley (group 3); Lower Los Angeles – 182nd, Belvedere, Crenshaw, Compton, Hollywood, Huntington Park, Juanita, Santa Monica, San Pedro (group 4); Upper Los Angeles/SFV – Branford, Canoga Park, Chatsworth, Glendale, Lancaster, Mojave, Simi Valley, Saticoy, Valencia (group 5); Central Coast - Goleta, Ventura/Oxnard, Santa Barbara, Santa Maria, San Luis Obispo, Templeton (group 6); and San Juaquin Valley – Bakersfield, and Visalia (group 7). The groupings are used for some contract cost purposes.
[6] SDG&E’s five districts are Beach Cities, Eastern, Metro, North Coast, and Northeast.
[7] Southwest Gas’ seven districts are: District 11-Barstow; District 12-Victorville; District 13-Big Bear; District 14-North Lake Tahoe; District 15-Truckee; District 16-South Lake Tahoe; District 19-Needles.
[8] Pressure districts are also discussed in Recommendations for SB 1221 California Natural Gas System Mapping, CPUC Energy Division Staff Proposal, February 20, 2025, https://docs.cpuc.ca.gov/PublishedDocs/Efile/G000/M556/K897/556897432.PDF, p. 15. For additional background on pressure zones, see DeWitte, Tom and Coolidge, Tom, Understanding Pressure Zones, April 2024, https://community.esri.com/t5/gas-and-pipeline-blog/understanding-pressure-zones/ba-p/1416830.
[9] SoCalGas provided pressure district data including meters served and overlapping census tracts per ruling in proceeding R.20-01-007, now available as “demand nodes csv” and “May 20 demand nodes csv” on the “Long Term Gas Planning Rulemaking-Closed” webpage, https://www.cpuc.ca.gov/industries-and-topics/natural-gas/long-term-gas-planning-rulemaking-closed.
[10] Recommendations for SB 1221 California Natural Gas System Mapping, p. 15. See also Gas System Census Tract Data Notes, filed by PG&E in response to Administrative Law Judge’s Ruling Seeking Data from Gas Utilities in R.24-09-012, January 13, 2024, https://www.cpuc.ca.gov/-/media/cpuc-website/divisions/energy-division/documents/natural-gas/long-term-gas-planning-oir/pge/gassystemcensustractdatanotes_pgne.pdf, p. B-18, also posted on the CPUC’s R.24-09-012 webpage, https://www.cpuc.ca.gov/industries-and-topics/natural-gas/long-term-gas-planning-rulemaking.
[11] Exclude HPR-type regulators from this analysis. “HPR-type” means reduces to pressure of 1 through 60 psig and is an “HPR-type” regulator station or a district served by such a station. “HPR-type” refers to a regulator station that uses any of the following spring-operated regulators: Fisher 621, Fisher 627, Fisher 630, Reliance Model HPR 10, Reliance Model HPR 20, Reliance Model HPR 268, Rockwell 141, Rockwell 141A, Rockwell 041, Sprague/Itron B35. HPR-type regulators are excluded because they are smaller and simpler than medium-pressure and low-pressure regulators. These definitions align with regulator station categories proposed in Appendix B Direction to Utilities Draft for Comment, https://docs.cpuc.ca.gov/PublishedDocs/Efile/G000/M556/K897/556897318.PDF. Transmission-level regulator stations are not included.
Note on B16: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Because terms like “district” can refer to different sizes and be so confusing, and utilities may be tempted to use different ones, I think it’s useful to list them in the footnotes.