## Cover
Dates and times used for RA 2027 Coincidence Calculations
Coincidence factors are calculated by TAC and LSE for each hour selected where:
Coincidence Factor = LSE recorded load in TAC at time of CAISO system peak demand / LSE monthly maximum demand in TAC
Statistics (maximum, minimum,median, percentile distribution) were calculated for the following samples:
Top 5 peak days in each month
Top 3 peaks day in each month
2026-07-07
Lynn Marshall
Energy Assessments Division
California Energy Commission
Lynn.Marshall@energy.ca.gov

## Dates_for_RA_2027_Coincidence
Date | Hour of Daily Peak, PST | Year | Month | CAISO MW | Rank of Daily Peak within Month
2023-01-03 | 18 | 2023 | 1 | 29017.0028 | 1
2023-01-11 | 19 | 2023 | 1 | 28877.1435 | 2
2023-01-17 | 19 | 2023 | 1 | 28484.1602 | 5
2023-01-19 | 19 | 2023 | 1 | 28776.4057 | 3
2023-01-30 | 19 | 2023 | 1 | 28555.3674 | 4
2023-02-14 | 19 | 2023 | 2 | 28386.5162 | 5
2023-02-22 | 19 | 2023 | 2 | 28762.2826 | 3
2023-02-23 | 19 | 2023 | 2 | 28937.962 | 2
2023-02-27 | 19 | 2023 | 2 | 29172.7653 | 1
2023-02-28 | 19 | 2023 | 2 | 28618.5625 | 4
2023-03-01 | 19 | 2023 | 3 | 28675.6669 | 1
2023-03-06 | 20 | 2023 | 3 | 27710.1216 | 4
2023-03-09 | 19 | 2023 | 3 | 28240.0229 | 2
2023-03-21 | 19 | 2023 | 3 | 27696.5888 | 5
2023-03-29 | 20 | 2023 | 3 | 27929.7325 | 3
2023-04-03 | 20 | 2023 | 4 | 27592.9307 | 4
2023-04-04 | 20 | 2023 | 4 | 27280.7786 | 5
2023-04-26 | 19 | 2023 | 4 | 28565.1752 | 3
2023-04-27 | 19 | 2023 | 4 | 29230.3444 | 1
2023-04-28 | 19 | 2023 | 4 | 28915.1219 | 2
2023-05-15 | 20 | 2023 | 5 | 29564.2836 | 5
2023-05-16 | 19 | 2023 | 5 | 30642.9702 | 1
2023-05-17 | 20 | 2023 | 5 | 30076.3226 | 3
2023-05-18 | 20 | 2023 | 5 | 29600.235 | 4
2023-05-22 | 19 | 2023 | 5 | 30548.0151 | 2
2023-06-14 | 20 | 2023 | 6 | 29810.6783 | 5
2023-06-16 | 20 | 2023 | 6 | 30075.0436 | 4
2023-06-28 | 20 | 2023 | 6 | 30087.2056 | 3
2023-06-29 | 19 | 2023 | 6 | 32861.2642 | 2
2023-06-30 | 18 | 2023 | 6 | 35794.3303 | 1
2023-07-17 | 18 | 2023 | 7 | 42535.2388 | 3
2023-07-20 | 18 | 2023 | 7 | 42072.993 | 4
2023-07-21 | 18 | 2023 | 7 | 41481.0658 | 5
2023-07-25 | 18 | 2023 | 7 | 43194.3143 | 1
2023-07-26 | 18 | 2023 | 7 | 42819.8046 | 2
2023-08-15 | 18 | 2023 | 8 | 43382.2336 | 2
2023-08-16 | 17 | 2023 | 8 | 43809.236 | 1
2023-08-17 | 17 | 2023 | 8 | 42290.9202 | 5
2023-08-28 | 18 | 2023 | 8 | 42738.7517 | 3
2023-08-29 | 18 | 2023 | 8 | 42662.2349 | 4
2023-09-07 | 18 | 2023 | 9 | 35823.9063 | 5
2023-09-08 | 18 | 2023 | 9 | 38469.8931 | 1
2023-09-09 | 18 | 2023 | 9 | 36217.2025 | 3
2023-09-10 | 18 | 2023 | 9 | 36271.7508 | 2
2023-09-11 | 17 | 2023 | 9 | 36196.4027 | 4
2023-10-05 | 17 | 2023 | 10 | 36267.1059 | 2
2023-10-06 | 17 | 2023 | 10 | 36914.9765 | 1
2023-10-07 | 17 | 2023 | 10 | 34257.3398 | 4
2023-10-18 | 17 | 2023 | 10 | 33430.2112 | 5
2023-10-19 | 17 | 2023 | 10 | 34710.3574 | 3
2023-11-02 | 18 | 2023 | 11 | 28692.3066 | 1
2023-11-06 | 18 | 2023 | 11 | 28355.7489 | 5
2023-11-27 | 18 | 2023 | 11 | 28406.0768 | 4
2023-11-29 | 18 | 2023 | 11 | 28470.3694 | 2
2023-11-30 | 18 | 2023 | 11 | 28467.1412 | 3
2023-12-11 | 18 | 2023 | 12 | 28823.462 | 4
2023-12-12 | 18 | 2023 | 12 | 28777.5343 | 5
2023-12-13 | 18 | 2023 | 12 | 28851.122 | 1
2023-12-18 | 18 | 2023 | 12 | 28845.4057 | 2
2023-12-20 | 18 | 2023 | 12 | 28831.1021 | 3
2024-01-08 | 19 | 2024 | 1 | 28688.5689 | 1
2024-01-09 | 19 | 2024 | 1 | 27921.0078 | 4
2024-01-10 | 19 | 2024 | 1 | 28424.8135 | 2
2024-01-11 | 19 | 2024 | 1 | 28076.3438 | 3
2024-01-12 | 8 | 2024 | 1 | 27647.4528 | 5
2024-02-05 | 19 | 2024 | 2 | 27230.8102 | 5
2024-02-06 | 19 | 2024 | 2 | 27701.254 | 2
2024-02-07 | 19 | 2024 | 2 | 28185.8047 | 1
2024-02-08 | 19 | 2024 | 2 | 27654.8727 | 3
2024-02-20 | 19 | 2024 | 2 | 27285.791 | 4
2024-03-01 | 19 | 2024 | 3 | 25932.7465 | 4
2024-03-04 | 19 | 2024 | 3 | 26581.9317 | 1
2024-03-05 | 19 | 2024 | 3 | 26165.9791 | 3
2024-03-06 | 19 | 2024 | 3 | 26479.8581 | 2
2024-03-07 | 19 | 2024 | 3 | 25782.2913 | 5
2024-04-11 | 19 | 2024 | 4 | 26210.4295 | 3
2024-04-17 | 20 | 2024 | 4 | 25918.5507 | 5
2024-04-22 | 19 | 2024 | 4 | 26703.8961 | 1
2024-04-29 | 20 | 2024 | 4 | 26123.1089 | 4
2024-04-30 | 20 | 2024 | 4 | 26273.2862 | 2
2024-05-15 | 20 | 2024 | 5 | 28416.908 | 5
2024-05-28 | 20 | 2024 | 5 | 28679.473 | 4
2024-05-29 | 20 | 2024 | 5 | 28752.5586 | 3
2024-05-30 | 20 | 2024 | 5 | 30199.2704 | 1
2024-05-31 | 19 | 2024 | 5 | 29722.5933 | 2
2024-06-05 | 18 | 2024 | 6 | 35709.2281 | 5
2024-06-22 | 18 | 2024 | 6 | 36518.48 | 4
2024-06-23 | 18 | 2024 | 6 | 37416.3102 | 3
2024-06-24 | 18 | 2024 | 6 | 38678.9248 | 1
2024-06-25 | 19 | 2024 | 6 | 37735.9662 | 2
2024-07-10 | 18 | 2024 | 7 | 43580.5105 | 5
2024-07-11 | 18 | 2024 | 7 | 44253.6892 | 4
2024-07-23 | 18 | 2024 | 7 | 44564.7662 | 3
2024-07-24 | 18 | 2024 | 7 | 45132.2376 | 1
2024-07-25 | 18 | 2024 | 7 | 44816.5528 | 2
2024-08-03 | 18 | 2024 | 8 | 39890.8899 | 5
2024-08-05 | 18 | 2024 | 8 | 42523.241 | 2
2024-08-06 | 18 | 2024 | 8 | 43149.324 | 1
2024-08-07 | 18 | 2024 | 8 | 40701.5095 | 3
2024-08-20 | 17 | 2024 | 8 | 40525.0887 | 4
2024-09-04 | 17 | 2024 | 9 | 44837.4764 | 4
2024-09-05 | 17 | 2024 | 9 | 47979.048 | 1
2024-09-06 | 17 | 2024 | 9 | 47063.6843 | 2
2024-09-08 | 18 | 2024 | 9 | 43203.3361 | 5
2024-09-09 | 17 | 2024 | 9 | 45538.2476 | 3
2024-10-01 | 17 | 2024 | 10 | 39159.8819 | 4
2024-10-02 | 17 | 2024 | 10 | 41393.5834 | 1
2024-10-03 | 17 | 2024 | 10 | 40216.3138 | 2
2024-10-04 | 17 | 2024 | 10 | 37805.7245 | 5
2024-10-07 | 17 | 2024 | 10 | 39931.1748 | 3
2024-11-18 | 18 | 2024 | 11 | 28226.2889 | 3
2024-11-19 | 18 | 2024 | 11 | 28357.6035 | 1
2024-11-20 | 18 | 2024 | 11 | 28259.9177 | 2
2024-11-21 | 18 | 2024 | 11 | 27948.4962 | 4
2024-11-25 | 18 | 2024 | 11 | 27897.7246 | 5
2024-12-11 | 18 | 2024 | 12 | 28768.1591 | 4
2024-12-12 | 18 | 2024 | 12 | 29415.4973 | 2
2024-12-13 | 18 | 2024 | 12 | 28510.2966 | 5
2024-12-16 | 18 | 2024 | 12 | 29631.0945 | 1
2024-12-17 | 18 | 2024 | 12 | 28940.6101 | 3
2025-01-21 | 8 | 2025 | 1 | 27539.7378 | 4
2025-01-22 | 8 | 2025 | 1 | 27502.6267 | 5
2025-01-27 | 19 | 2025 | 1 | 27665.4094 | 3
2025-01-28 | 19 | 2025 | 1 | 28014.9936 | 2
2025-01-30 | 19 | 2025 | 1 | 28020.1727 | 1
2025-02-04 | 19 | 2025 | 2 | 27237.3791 | 5
2025-02-06 | 19 | 2025 | 2 | 27558.1286 | 4
2025-02-11 | 19 | 2025 | 2 | 28062.3685 | 3
2025-02-12 | 19 | 2025 | 2 | 28436.3987 | 1
2025-02-13 | 19 | 2025 | 2 | 28092.6411 | 2
2025-03-05 | 19 | 2025 | 3 | 26865.7244 | 3
2025-03-06 | 19 | 2025 | 3 | 26673.4232 | 4
2025-03-14 | 9 | 2025 | 3 | 27356.3305 | 1
2025-03-24 | 19 | 2025 | 3 | 26580.9708 | 5
2025-03-25 | 19 | 2025 | 3 | 27126.4396 | 2
2025-04-09 | 19 | 2025 | 4 | 27704.1646 | 1
2025-04-10 | 19 | 2025 | 4 | 27477.5958 | 2
2025-04-11 | 19 | 2025 | 4 | 27316.9185 | 3
2025-04-21 | 20 | 2025 | 4 | 26842.2721 | 5
2025-04-30 | 20 | 2025 | 4 | 27020.4502 | 4
2025-05-09 | 18 | 2025 | 5 | 32264.2394 | 4
2025-05-10 | 18 | 2025 | 5 | 32547.9475 | 3
2025-05-21 | 19 | 2025 | 5 | 32205.4689 | 5
2025-05-30 | 18 | 2025 | 5 | 36225.1761 | 1
2025-05-31 | 19 | 2025 | 5 | 34204.0094 | 2
2025-06-16 | 19 | 2025 | 6 | 34748.9961 | 4
2025-06-17 | 18 | 2025 | 6 | 35163.4655 | 3
2025-06-18 | 18 | 2025 | 6 | 36402.7247 | 1
2025-06-28 | 19 | 2025 | 6 | 34426.2375 | 5
2025-06-30 | 18 | 2025 | 6 | 35959.3993 | 2
2025-07-09 | 18 | 2025 | 7 | 36826.1862 | 3
2025-07-10 | 18 | 2025 | 7 | 39567.4007 | 1
2025-07-11 | 18 | 2025 | 7 | 37515.5611 | 2
2025-07-14 | 18 | 2025 | 7 | 36738.6613 | 4
2025-07-31 | 18 | 2025 | 7 | 35286.6091 | 5
2025-08-07 | 18 | 2025 | 8 | 41242.64 | 3
2025-08-08 | 18 | 2025 | 8 | 40634.1964 | 5
2025-08-20 | 18 | 2025 | 8 | 40808.4897 | 4
2025-08-21 | 18 | 2025 | 8 | 44032.5176 | 1
2025-08-22 | 18 | 2025 | 8 | 43350.2925 | 2
2025-09-01 | 18 | 2025 | 9 | 41478.0248 | 3
2025-09-02 | 18 | 2025 | 9 | 42170.915 | 2
2025-09-03 | 17 | 2025 | 9 | 42192.5729 | 1
2025-09-16 | 17 | 2025 | 9 | 41042.1874 | 4
2025-09-23 | 17 | 2025 | 9 | 39693.7194 | 5
2025-10-01 | 18 | 2025 | 10 | 31104.4747 | 1
2025-10-02 | 18 | 2025 | 10 | 30487.7061 | 4
2025-10-06 | 18 | 2025 | 10 | 30522.7315 | 3
2025-10-07 | 18 | 2025 | 10 | 30593.798 | 2
2025-10-29 | 18 | 2025 | 10 | 30182.9748 | 5
2025-11-04 | 18 | 2025 | 11 | 28020.3034 | 3
2025-11-07 | 18 | 2025 | 11 | 27711.4295 | 5
2025-11-10 | 18 | 2025 | 11 | 29593.2279 | 1
2025-11-11 | 18 | 2025 | 11 | 28263.0487 | 2
2025-11-12 | 18 | 2025 | 11 | 28007.9101 | 4
2025-12-08 | 18 | 2025 | 12 | 28664.4769 | 5
2025-12-09 | 18 | 2025 | 12 | 28833.8999 | 2
2025-12-10 | 18 | 2025 | 12 | 28777.8112 | 4
2025-12-11 | 18 | 2025 | 12 | 28811.4357 | 3
2025-12-15 | 18 | 2025 | 12 | 28884.6267 | 1