## Cover
Dates and times used for RA 2025 Coincidence Calculations
Coincidence factors are calculated by TAC and LSE for each hour selected where:
Coincidence Factor = LSE recorded load in TAC at time of CAISO system peak demand / LSE monthly maximum demand in TAC
Statistics (maximum, minimum,median, percentile distribution) were calculated for the following samples:
Top 5 peak days in each month
Top 3 peaks day in each month
2024-08-15
Lynn Marshall
Energy Assessments Division
California Energy Commission
Lynn.Marshall@energy.ca.gov

## Dates for RA2025 Coincidence
YEAR | MONTH | Date | Hour of Daily Peak, PST | CAISO MW | Rank of Daily Peak within Month
2023 | 1 | 2023-01-03 | 18 | 28989.9567 | 1
2023 | 1 | 2023-01-11 | 19 | 28863.9422 | 3
2023 | 1 | 2023-01-17 | 19 | 28457.8347 | 5
2023 | 1 | 2023-01-19 | 19 | 28865.5522 | 2
2023 | 1 | 2023-01-30 | 19 | 28556.8191 | 4
2023 | 2 | 2023-02-14 | 19 | 28371.919 | 5
2023 | 2 | 2023-02-22 | 19 | 28756.0486 | 3
2023 | 2 | 2023-02-23 | 19 | 28891.0479 | 2
2023 | 2 | 2023-02-27 | 19 | 29126.6559 | 1
2023 | 2 | 2023-02-28 | 19 | 28573.8577 | 4
2023 | 3 | 2023-03-01 | 20 | 28696.9646 | 1
2023 | 3 | 2023-03-06 | 20 | 27699.4049 | 5
2023 | 3 | 2023-03-09 | 19 | 28308.1294 | 2
2023 | 3 | 2023-03-21 | 19 | 27717.7901 | 4
2023 | 3 | 2023-03-29 | 20 | 27943.8223 | 3
2023 | 4 | 2023-04-03 | 20 | 27566.1697 | 4
2023 | 4 | 2023-04-04 | 20 | 27256.2573 | 5
2023 | 4 | 2023-04-26 | 19 | 28645.8439 | 3
2023 | 4 | 2023-04-27 | 19 | 29200.9424 | 1
2023 | 4 | 2023-04-28 | 19 | 29110.2609 | 2
2023 | 5 | 2023-05-15 | 20 | 29581.9194 | 5
2023 | 5 | 2023-05-16 | 19 | 30753.995 | 1
2023 | 5 | 2023-05-17 | 20 | 30107.3171 | 3
2023 | 5 | 2023-05-18 | 20 | 29598.5626 | 4
2023 | 5 | 2023-05-22 | 19 | 30543.1077 | 2
2023 | 6 | 2023-06-14 | 20 | 29972.9899 | 5
2023 | 6 | 2023-06-16 | 20 | 30075.0485 | 4
2023 | 6 | 2023-06-28 | 20 | 30259.4834 | 3
2023 | 6 | 2023-06-29 | 19 | 32874.119 | 2
2023 | 6 | 2023-06-30 | 18 | 35723.0192 | 1
2023 | 7 | 2023-07-17 | 17 | 42461.253 | 3
2023 | 7 | 2023-07-20 | 18 | 42079.3086 | 4
2023 | 7 | 2023-07-21 | 18 | 41366.9215 | 5
2023 | 7 | 2023-07-25 | 18 | 43236.4207 | 1
2023 | 7 | 2023-07-26 | 17 | 42851.1881 | 2
2023 | 8 | 2023-08-15 | 17 | 43220.1332 | 2
2023 | 8 | 2023-08-16 | 17 | 44230.2865 | 1
2023 | 8 | 2023-08-17 | 17 | 42449.1977 | 5
2023 | 8 | 2023-08-28 | 18 | 42664.9331 | 3
2023 | 8 | 2023-08-29 | 18 | 42581.8332 | 4
2023 | 9 | 2023-09-07 | 18 | 35853.2833 | 5
2023 | 9 | 2023-09-08 | 18 | 38490.287 | 1
2023 | 9 | 2023-09-09 | 18 | 36321.8349 | 3
2023 | 9 | 2023-09-10 | 18 | 36296.1373 | 4
2023 | 9 | 2023-09-11 | 17 | 36495.1945 | 2
2023 | 10 | 2023-10-05 | 17 | 36354.2988 | 2
2023 | 10 | 2023-10-06 | 17 | 36936.5036 | 1
2023 | 10 | 2023-10-07 | 17 | 34282.0963 | 4
2023 | 10 | 2023-10-18 | 17 | 33448.8643 | 5
2023 | 10 | 2023-10-19 | 17 | 34719.058 | 3
2023 | 11 | 2023-11-02 | 18 | 28695.4485 | 1
2023 | 11 | 2023-11-06 | 18 | 28392.6054 | 5
2023 | 11 | 2023-11-27 | 18 | 28414.9504 | 4
2023 | 11 | 2023-11-29 | 18 | 28480.7047 | 3
2023 | 11 | 2023-11-30 | 18 | 28488.7144 | 2
2023 | 12 | 2023-12-11 | 18 | 28717.2319 | 5
2023 | 12 | 2023-12-13 | 18 | 28936.1919 | 2
2023 | 12 | 2023-12-14 | 18 | 28754.7231 | 4
2023 | 12 | 2023-12-18 | 18 | 28973.078 | 1
2023 | 12 | 2023-12-20 | 18 | 28887.8099 | 3
2022 | 1 | 2022-01-03 | 19 | 29163.92 | 1
2022 | 1 | 2022-01-04 | 19 | 28584.11 | 2
2022 | 1 | 2022-01-05 | 19 | 28185.37 | 4
2022 | 1 | 2022-01-10 | 19 | 28180.43 | 5
2022 | 1 | 2022-01-31 | 19 | 28457.06 | 3
2022 | 2 | 2022-02-01 | 19 | 28081.92 | 4
2022 | 2 | 2022-02-10 | 19 | 28048.6 | 5
2022 | 2 | 2022-02-22 | 19 | 28726.97 | 2
2022 | 2 | 2022-02-23 | 19 | 29019.71 | 1
2022 | 2 | 2022-02-24 | 8 | 28307.87 | 3
2022 | 3 | 2022-03-01 | 19 | 27608.89 | 5
2022 | 3 | 2022-03-22 | 19 | 27970.67 | 3
2022 | 3 | 2022-03-23 | 19 | 28687.81 | 1
2022 | 3 | 2022-03-24 | 19 | 28483.52 | 2
2022 | 3 | 2022-03-25 | 19 | 27687.06 | 4
2022 | 4 | 2022-04-06 | 19 | 29756.18 | 3
2022 | 4 | 2022-04-07 | 18 | 32916.6 | 2
2022 | 4 | 2022-04-08 | 18 | 33267.76 | 1
2022 | 4 | 2022-04-25 | 19 | 28178.47 | 4
2022 | 4 | 2022-04-26 | 20 | 27449.93 | 5
2022 | 5 | 2022-05-14 | 19 | 30040.03 | 5
2022 | 5 | 2022-05-18 | 20 | 31018.82 | 3
2022 | 5 | 2022-05-24 | 18 | 33299.17 | 2
2022 | 5 | 2022-05-25 | 18 | 34250.09 | 1
2022 | 5 | 2022-05-26 | 17 | 30367.7 | 4
2022 | 6 | 2022-06-21 | 18 | 39408.7 | 5
2022 | 6 | 2022-06-23 | 18 | 39998.73 | 3
2022 | 6 | 2022-06-24 | 17 | 39709.85 | 4
2022 | 6 | 2022-06-27 | 18 | 41362.39 | 1
2022 | 6 | 2022-06-28 | 18 | 40648.4 | 2
2022 | 7 | 2022-07-11 | 18 | 39452.94 | 4
2022 | 7 | 2022-07-18 | 18 | 41412.8 | 1
2022 | 7 | 2022-07-19 | 18 | 41266.39 | 2
2022 | 7 | 2022-07-20 | 17 | 40413.16 | 3
2022 | 7 | 2022-07-21 | 18 | 39327.85 | 5
2022 | 8 | 2022-08-15 | 17 | 43385.67 | 3
2022 | 8 | 2022-08-16 | 17 | 45232.86 | 1
2022 | 8 | 2022-08-17 | 17 | 42754.72 | 4
2022 | 8 | 2022-08-23 | 17 | 42101.82 | 5
2022 | 8 | 2022-08-31 | 17 | 45178.59 | 2
2022 | 9 | 2022-09-01 | 17 | 47101.35 | 5
2022 | 9 | 2022-09-05 | 17 | 48704.16 | 3
2022 | 9 | 2022-09-06 | 16 | 51479.01 | 1
2022 | 9 | 2022-09-07 | 16 | 49859.1 | 2
2022 | 9 | 2022-09-08 | 16 | 48351.2 | 4
2022 | 10 | 2022-10-04 | 17 | 33436.56 | 5
2022 | 10 | 2022-10-05 | 17 | 34316 | 1
2022 | 10 | 2022-10-06 | 17 | 33521.9 | 4
2022 | 10 | 2022-10-07 | 17 | 33933.99 | 3
2022 | 10 | 2022-10-19 | 17 | 34170.63 | 2
2022 | 11 | 2022-11-08 | 18 | 28175.71 | 3
2022 | 11 | 2022-11-21 | 18 | 27980.39 | 5
2022 | 11 | 2022-11-28 | 19 | 28110.24 | 4
2022 | 11 | 2022-11-29 | 18 | 28183.59 | 2
2022 | 11 | 2022-11-30 | 18 | 28252.65 | 1
2022 | 12 | 2022-12-12 | 19 | 30047.5727 | 1
2022 | 12 | 2022-12-13 | 19 | 29724.8028 | 3
2022 | 12 | 2022-12-14 | 19 | 29859.9021 | 2
2022 | 12 | 2022-12-15 | 18 | 29383.0401 | 5
2022 | 12 | 2022-12-19 | 19 | 29588.0673 | 4
2021 | 1 | 2021-01-06 | 19 | 27932.9 | 5
2021 | 1 | 2021-01-07 | 19 | 27944.48 | 4
2021 | 1 | 2021-01-25 | 19 | 29302.03 | 1
2021 | 1 | 2021-01-26 | 19 | 29149.9 | 2
2021 | 1 | 2021-01-27 | 19 | 28265.64 | 3
2021 | 2 | 2021-02-08 | 19 | 26993.44 | 5
2021 | 2 | 2021-02-09 | 19 | 27305.84 | 1
2021 | 2 | 2021-02-11 | 19 | 27180.77 | 3
2021 | 2 | 2021-02-16 | 19 | 27041.57 | 4
2021 | 2 | 2021-02-17 | 19 | 27181.51 | 2
2021 | 3 | 2021-03-03 | 19 | 27910.55 | 3
2021 | 3 | 2021-03-09 | 19 | 27973.1 | 2
2021 | 3 | 2021-03-10 | 19 | 28135.81 | 1
2021 | 3 | 2021-03-11 | 19 | 27612.13 | 5
2021 | 3 | 2021-03-15 | 20 | 27669.91 | 4
2021 | 4 | 2021-04-01 | 19 | 27496.88 | 4
2021 | 4 | 2021-04-19 | 19 | 28297.72 | 3
2021 | 4 | 2021-04-28 | 20 | 27439.43 | 5
2021 | 4 | 2021-04-29 | 19 | 29496.21 | 2
2021 | 4 | 2021-04-30 | 18 | 30066.21 | 1
2021 | 5 | 2021-05-04 | 19 | 30671.97 | 3
2021 | 5 | 2021-05-05 | 18 | 31397.04 | 2
2021 | 5 | 2021-05-12 | 19 | 30556.34 | 4
2021 | 5 | 2021-05-25 | 20 | 30108.08 | 5
2021 | 5 | 2021-05-31 | 18 | 31650.5 | 1
2021 | 6 | 2021-06-15 | 18 | 38852.06 | 4
2021 | 6 | 2021-06-16 | 17 | 38952.04 | 3
2021 | 6 | 2021-06-17 | 17 | 41083.27 | 1
2021 | 6 | 2021-06-18 | 17 | 40580.33 | 2
2021 | 6 | 2021-06-28 | 17 | 37734.45 | 5
2021 | 7 | 2021-07-09 | 17 | 42993.82 | 1
2021 | 7 | 2021-07-19 | 17 | 41867.99 | 2
2021 | 7 | 2021-07-20 | 18 | 41000.13 | 5
2021 | 7 | 2021-07-21 | 18 | 41046.41 | 4
2021 | 7 | 2021-07-29 | 17 | 41363.06 | 3
2021 | 8 | 2021-08-10 | 17 | 41733.52 | 4
2021 | 8 | 2021-08-11 | 17 | 41225.06 | 5
2021 | 8 | 2021-08-12 | 17 | 42148.01 | 2
2021 | 8 | 2021-08-16 | 17 | 42720.12 | 1
2021 | 8 | 2021-08-27 | 17 | 42138.55 | 3
2021 | 9 | 2021-09-07 | 17 | 42344.92 | 3
2021 | 9 | 2021-09-08 | 17 | 43789.26 | 1
2021 | 9 | 2021-09-09 | 17 | 43232.38 | 2
2021 | 9 | 2021-09-10 | 17 | 40084.75 | 5
2021 | 9 | 2021-09-21 | 17 | 40762.73 | 4
2021 | 10 | 2021-10-01 | 17 | 33102.22 | 1
2021 | 10 | 2021-10-02 | 17 | 32353.91 | 4
2021 | 10 | 2021-10-03 | 17 | 32497.64 | 3
2021 | 10 | 2021-10-04 | 16 | 32743.82 | 2
2021 | 10 | 2021-10-05 | 18 | 31214.76 | 5
2021 | 11 | 2021-11-11 | 18 | 29447.55 | 2
2021 | 11 | 2021-11-12 | 18 | 30275.64 | 1
2021 | 11 | 2021-11-15 | 18 | 29019.63 | 3
2021 | 11 | 2021-11-29 | 18 | 28658.19 | 4
2021 | 11 | 2021-11-30 | 18 | 28626.44 | 5
2021 | 12 | 2021-12-13 | 18 | 30659.16 | 3
2021 | 12 | 2021-12-14 | 19 | 31261.39 | 1
2021 | 12 | 2021-12-15 | 19 | 31170.59 | 2
2021 | 12 | 2021-12-16 | 19 | 30498.03 | 4
2021 | 12 | 2021-12-20 | 19 | 30149.99 | 5