## IOU Excess Resources Report
IOU EXCESS RESOURCE REPORTING SUMMARY
Utility Name: | Southern California Edison
Monthly Minimum MW Target: | 765
Date of Report | 2024-08-28
Instructions:
General: Report actual MW values for previous months and estimates for future months. At the top, enter the subset of the resources from Sections 1 and 2 shown on the IOU’s supply plan for each summer month.
1. Supply-Side Emergency Reliability OIR Procurement: Report all approved contracts for supply-side resources authorized under D.21-12-015, showing the amount being claimed toward the IOU's monthly incremental procurement target, even if the amount for any given month is zero MW.
2. Excess Resources from IOU Portfolio Above 17% PRM: Report any additional "excess resources" above the IOU's 15% PRM requirement being applied to CAM for each month.
3. Demand-Side Emergency Reliability OIR Procurement: Report all demand-side resources authorized under D.21-12-015 and being claimed toward the IOU's monthly incremental procurement target.
Subset of the resources below shown on the IOU’s supply plan
|  | 2024-06-01 | 2024-07-01 | 2024-08-01 | 2024-09-01 | 2024-10-01 | On the Supply Plan
| IOU Supply Plan Summer Reliability MW Amount | 765 | 68 | 94 | 1.88 | 418.45 | Not on the Supply Plan (Proxy)
Total resources available as incremental above 17% RA requirement (i.e., progress toward the IOU's incremental effective PRM target)
Project/Resource Name | Resource Type | 2024-06-01 | 2024-07-01 | 2024-08-01 | 2024-09-01 | 2024-10-01 | Advice Letter and/or Resolution | Notes
1. Supply-Side Emergency Reliability OIR Procurement - Itemize each new project/resource by name | Indicate whether the resource is new build, firm import, short-term energy only call option, etc. | MW to be claimed for CAM Cost Recovery |  |  |  |  | List # if applicable | E.g. explain monthly variability, discrepancies between contract values, etc.
Reliability OIR Procurement | Toll | 305 | 68 | 94 | 1.88 | 305 | D.21-12-015
2. Excess Resources from IOU Portfolio Above 17% PRM |  | MW to be claimed for CAM Cost Recovery
Excess above 17% PRM | Toll | 460 |  |  |  | 113.45
Proxy RA | RA-only | 430 | 430 |  | 110 | 131 |  | Proxy RA - not on the supply plans
As-available |  |  | 100 | 100 | 100 | 100 |  | As-available
Daily Import (on-peak) | Daily Import (on-peak) |  | Various |  | Various |  |  | Pls refer to Daily Imports tab
SUBTOTAL SUPPLY-side Excess Procurement |  | 1195 | 598 | 194 | 211.88 | 649.45
3. Demand-Side Emergency Reliability OIR Procurement | Indicate subcategories of resource, if applicable | MW reported
ELRP Ex Ante Forecast (MW) |  | 66.68 | 67.21 | 67.06 | 67.88 | 52 | D.21-12-015 | Forecast Method: Ex Ante (1-in-2); Enrollment projection as of 4/15/24
As-available |  |  | 200 | 200 | 200 | 200 | D.21-12-015 | As-available
SUBTOTAL DEMAND-side Excess Procurement |  | 66.68 | 267.21 | 267.06 | 267.88 | 252
IOU Progress toward Monthly Target |  | 1261.68 | 865.21 | 461.06 | 479.76 | 901.45 | <-- total MW procured
Minimum Excess Procurement Target per D.21-12-015 |  | 765 | 765 | 765 | 765 | 765
DIFFERENCE |  | -496.68 | -100.21 | 303.94 | 285.24 | -136.45 | <-- negative values mean minimum target exceeded; positive values mean minimum target not met
Supply Side Headroom (3,000 Max) |  | -47.5 | 549.5 | 953.5 | 935.62 | 498.05 | <-- maximum additional supply resources permitted
Monthly IOU reports available at: https://www.cpuc.ca.gov/General.aspx?id=6311
D.21-12-015 Ordering Paragraph 74:
"In recognition of the continued tight grid conditions experienced this summer, the California Independent System Operator’s testimony reflecting a significant shortfall in Load Serving Entity supply plan resources at net peak, and the need for additional contingency resources identified in the California Energy Commission’s Summer 2022 Stack Analysis, Southern California Edison Company (SCE), Pacific Gas and Electric Company (PG&E), and San Diego Gas & Electric Company (SDG&E) shall use their best efforts to meet a revised targeted procurement range of 2,000 megawatts (MW) to 3,000 MW for summers 2022 and 2023, which includes and is not additive to the targeted procurement of 1,000 MW of contingency resources adopted in Decision (D.) 21-02-028 and D.21-03-056 and results in an “effective PRM” of 20%-22.5%. Based on the proportional load share in each utility’s service territory, the revised targeted procurement range represents 900 – 1,350 MW of additional procurement for SCE and PG&E, and 200 – 300 MW for SDG&E."
D.21-12-015 Ordering Paragraph 74:
"Pacific Gas and Electric Company, Southern California Edison Company and San Diego Gas & Electric Company shall provide the monthly amounts of the excess resources they applied to the Cost Allocation Mechanism, as well as the calculus used to determine these amounts to Commission’s Energy Division, and Energy Division will post this information on the Commission’s website."
ELRP |  | 2024-06-01 | 2024-07-01 | 2024-08-01 | 2024-09-01 | 2024-10-01 |  | Notes
ELRP Enrollement |  | 364 | 364 | 364 | 364 | 364 |  | Reflects customer-reported nominations as of April 19, 2024 for all ELRP subgroups.

## Daily Imports
2. Excess Resources from IOU Portfolio Above 17% PRM
Project/Resource Name | Resource Type | 2024-07-01 | 2024-07-01 | 2024-07-02 | 2024-07-03 | 2024-07-04 | 2024-07-05 | 2024-07-06 | 2024-07-07 | 2024-07-08 | 2024-07-09 | 2024-07-10 | 2024-07-11 | 2024-07-12 | 2024-07-13 | 2024-07-14 | 2024-07-15 | 2024-07-16 | 2024-07-17 | 2024-07-18 | 2024-07-19 | 2024-07-20 | 2024-07-21 | 2024-07-22 | 2024-07-23 | 2024-07-24 | 2024-07-25 | 2024-07-26 | 2024-07-27 | 2024-07-28 | 2024-07-29 | 2024-07-30 | 2024-07-31
Daily Import (On-peak) | Daily Import (On-peak) |  | 0 | 0 | 150 | 0 | 100 | 150 | 0 | 150 | 125 | 100 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Daily Total |  |  | 0 | 0 | 150 | 0 | 100 | 150 | 0 | 150 | 125 | 100 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Project/Resource Name | Resource Type | 2024-09-01 | 2024-09-01 | 2024-09-02 | 2024-09-03 | 2024-09-04 | 2024-09-05 | 2024-09-06 | 2024-09-07 | 2024-09-08 | 2024-09-09 | 2024-09-10 | 2024-09-11 | 2024-09-12 | 2024-09-13 | 2024-09-14 | 2024-09-15 | 2024-09-16 | 2024-09-17 | 2024-09-18 | 2024-09-19 | 2024-09-20 | 2024-09-21 | 2024-09-22 | 2024-09-23 | 2024-09-24 | 2024-09-25 | 2024-09-26 | 2024-09-27 | 2024-09-28 | 2024-09-29 | 2024-09-30
Daily Import (On-peak) | Daily Import (On-peak) |  | 0 | 0 | 0 | 0 | 100 | 100 | 100
Daily Total |  |  | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
*on-peak block: HE 07 to HE 22