| Safety Incidents Open as of 1-1-2026 and Incidents Reported in 2025 |  |
| --- | --- |
| Gas Incidents |  |
| (In Compliance with CA Public Utilities Code Section 911) |  |

| Incident ID (YYYYMMDD-XXXX) | Facility Owner | Reason for Investigation | Facility Type | Brief Summary of Incident | Open or Closed |
| --- | --- | --- | --- | --- | --- |
| 20230412-3525 | PG&E | Operator Judgement | Regulator | Overpressure condition during maintenance activities in Edwards Air Force Base regulator station | Open |
| 20230614-3550 | SDG&E | Damages Above 50K | Transmission | Contractor discovered release of gas while performing vacuum excavation for pipeline integrity assessment in El Cajon | Open |
| 20241227-3789 | PG&E | Media Coverage | Service Line | Structure fire due to escaped gas from distribution main upstream to the meter set and causing ignition in Capitola | Open |
| 20241229-3790 | PG&E | Media Coverage | Transmission | Underwater gas leak reported off transmission DREG in San Leandro | Open |
| 20250102-3792 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington beach | Closed |
| 20250104-3793 | SDG&E | Public Attention | Other | Multiple odor complaints in San Diego | Closed |
| 20250104-3794 | SoCalGas | Public Attention | Other | Multiple odor complaints in Riverside | Closed |
| 20250108-3796 | SoCalGas | Media Coverage | Service Riser | Wildfire in Pacific Palisades causing meterset damage and gas release | Closed |
| 20250108-3797 | SoCalGas | Public Attention | Other | Multiple odor complaints in Santa Maria | Closed |
| 20250108-3798 | SoCalGas | Media Coverage | Service Riser | Wildfire in Pasadena causing meter set damage and gas release | Closed |
| 20250108-3799 | SoCalGas | Media Coverage | Service Riser | Wildfire in Studio City causing meter set damage and gas release | Closed |
| 20250110-3800 | SoCalGas | Public Attention | Other | Multiple odor complaints in Torrance | Closed |
| 20250110-3801 | SoCalGas | Public Attention | Other | Multiple odor complaints in Santa Ana | Closed |
| 20250111-3802 | SoCalGas | Public Attention | Other | Multiple odor complaints in Riverside | Closed |
| 20250113-3803 | SoCalGas | Public Attention | Other | Multiple odor complaints in San Pedro | Closed |
| 20250113-3804 | SDG&E | Media Coverage | Service Line | Third party contractor struck a 1/2-inch plastic service line causing gas release in San Diego | Closed |
| 20250115-3805 | SoCalGas | Operator Judgement | Transmission | An overpressure condition due to power loss from PSPS event in Ventura | Closed |
| 20250121-3806 | SoCalGas | Public Attention | Other | Multiple odor complaints in Newport Beach | Closed |
| 20250124-3807 | PG&E | Other | Service line | Overpressure condition due to water intrusion and slam-shut activation in Oakland | Closed |
| 20250129-3808 | SoCalGas | Media Coverage | Service Riser | Structure fire spreading to gas facilities damaging meter set assembly causing gas release in Riverdale | Open |
| 20250203-3809 | SoCalGas | Public Attention | Other | Multiple odor complaints in Simi Valley | Closed |
| 20250203-3810 | SDG&E | Public Attention | Other | Multiple odor complaints in San Diego | Closed |
| 20250203-3811 | SDG&E | Public Attention | Other | Multiple odor complaints in San Diego | Closed |
| 20250203-3812 | SoCalGas | Public Attention | Other | Multiple odor complaints in Simi Valley | Closed |
| 20250205-3813 | SDG&E | Public Attention | Other | Multiple odor complaints in San Diego | Closed |
| 20250211-3814 | SoCalGas | Public Attention | Other | Multiple odor complaints in Anaheim | Closed |
| 20250215-3815 | SoCalGas | Public Attention | Other | Multiple odor complaints in Lynwood | Closed |
| 20250225-3817 | MHP | Interruption | Other | Gas turned off until small leak was repaired in Stockton | Open |
| 20250226-3818 | SoCalGas | Public Attention | Other | Multiple odor complaints in San Pedro | Closed |
| 20250226-3820 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach | Closed |
| 20250227-3821 | SoCalGas | Media Coverage | Customer Meter | Structure fire spreading to gas facilities damaging meter set assembly causing gas release in Colton | Closed |
| 20250227-3822 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach | Closed |
| 20250304-3823 | SDG&E | Media Coverage | Customer Meter | Vehicle struck meter set causing gas release in La Mesa | Closed |
| 20250308-3824 | SDG&E | Media Coverage | Service Riser | Contractor damaged 3/4-inch steel riser with bobcat causing gas release in San Diego | Closed |
| 20250314-3825 | SoCalGas | Public Attention | Other | Multiple odor complaints in Los Angeles | Closed |
| 20250314-3826 | SoCalGas | Public Attention | Other | Multiple odor complaints in Harbor City | Closed |
| 20250320-3827 | SoCalGas | Media Coverage | Main | Second-party contractor struck an 8" steel gas main causing a release of gas | Closed |
| 20250324-3829 | SoCalGas | Public Attention | Other | Multiple odor complaints in Carson | Closed |
| 20250328-3830 | PG&E | Gas Loss | Transmission | Accidental unbolting of fitting during ILI tool removal caused unplanned gas release in South San Francisco | Open |
| 20250331-3831 | PG&E | Interruption | Valve | Underpressure event during maintenance resulted in loss of service in Sacramento | Open |
| 20250331-3832 | PG&E | Operator Judgement | Other | Rapid closing of emergency valve caused overpressure incident in Palo Alto | Closed |
| 20250401-3833 | SoCalGas | Public Attention | Other | Multiple odor complaints in Visalia | Closed |
| 20250407-3834 | PG&E | Operator Judgement | Regulator | Overpressure event at district reg station in Carmel | Open |
| 20250408-3835 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach | Closed |
| 20250408-3836 | SoCalGas | Public Attention | Other | Multiple odor complaints in Manhattan Beach | Closed |
| 20250409-3837 | SDG&E | Media Coverage | Main | Third party excavation damaged 3/4-inch steel riser resulting in gas release | Closed |
| 20250409-3838 | SoCalGas | Public Attention | Other | Multiple odor complaints in Los Angeles | Closed |
| 20250410-3839 | SoCalGas | Public Attention | Other | Multiple odor complaints in Compton | Closed |
| 20250421-3840 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach | Closed |
| 20250421-3841 | SoCalGas | Public Attention | Other | Multiple odor complaints in Los Angeles | Closed |
| 20250424-3842 | SDG&E | Gas Loss | Main | Third party contractor struck a 2-inch plastic service line causing gas release in San Diego | Closed |
| 20250506-3843 | SoCalGas | Public Attention | Other | Multiple odor complaints in Cypress | Closed |
| 20250507-3844 | SoCalGas | Public Attention | Other | Multiple odor complaints in Los Angeles | Closed |
| 20250507-3845 | SoCalGas | Public Attention | Other | Multiple odor complaints in Baldwin Park | Closed |
| 20250507-3847 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach | Closed |
| 20250507-3848 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach | Closed |
| 20250508-3849 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach | Closed |
| 20250508-3850 | SoCalGas | Public Attention | Other | Multiple odor complaints in North Hills | Closed |
| 20250510-3851 | SoCalGas | Public Attention | Other | Multiple odor complaints in San Pedro | Closed |
| 20250510-3852 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach | Closed |
| 20250515-3853 | SDG&E | Gas Loss | Main | Third party contractor struck a 4-inch plastic line causing gas release in San Diego | Closed |
| 20250518-3854 | SoCalGas | Public Attention | Other | Multiple odor complaints in Dana Point | Closed |
| 20250518-3855 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach | Closed |
| 20250519-3856 | AmeriGas Propane | Interruption | Regulator | Regulator failure while performing maintenance in Forest Hill | Closed |
| 20250520-3857 | PG&E | Operator Judgement | Main | Overpressure event between the bypass valves in Salinas | Open |
| 20250520-3858 | SoCalGas | Public Attention | Other | Multiple odor complaints in Seal Beach | Closed |
| 20250526-3859 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach | Closed |
| 20250529-3860 | PG&E | Interruption | Regulator | Overpressure event in Reg station during maintenance in Los Banos | Closed |
| 20250606-3861 | SoWEST | Interruption | Service line | Contractor working on abandonment project did not verify that the account was active, resulting in the unplanned outage of one customer in Hesperia | Closed |
| 20250609-3862 | SoWEST | Interruption | Service Line | Contractor cut the sleeve too deep and nicked the 1" PE service line inside in South Lake Tahoe | Open |
| 20250609-3863 | SoWEST | Interruption | Customer Meter | Technician turned off wrong meter for DNP because of error in service system in South Lake Tahoe | Closed |
| 20250610-3864 | SoWEST | Interruption | Service Line | Service tee overtapped causing unplanned outages in Truckee | Closed |
| 20250611-3865 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach | Closed |
| 20250610-3866 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach | Closed |
| 20250622-3870 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach | Closed |
| 20250624-3871 | MHP | Interruption | Other | Leak detected and service interrupted for the residents in Stockton | Closed |
| 20250626-3872 | SoCalGas | Public Attention | Other | Multiple odor complaints in Carson | Closed |
| 20250626-3879 | SDG&E | Media Coverage | Service Line | Third-party contractor struck a 2-inch plastic service causing a release of gas in San Diego | Closed |
| 20250626-3880 | SoCalGas | Public Attention | Other | Multiple odor complaints in Los Angeles | Closed |
| 20250703-3881 | SoCalGas | Public Attention | Other | Multiple odor complaints in San Pedro | Closed |
| 20250704-3882 | SoCalGas | Media Coverage | Customer Meter | Structure fire spreading to gas facilities damaging meter set assembly causing gas release in San Fernando | Closed |
| 20250704-3883 | SoCalGas | Public Attention | Other | Multiple odor complaints in Costa Mesa | Closed |
| 20250705-3884 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach | Closed |
| 20250708-3885 | SoCalGas | Public Attention | Other | Multiple odor complaints in Compton | Closed |
| 20250710-3886 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach | Closed |
| 20250717-3890 | SoCalGas | Operator Judgement | Regulator | Multiple odor complaints in Chino | Closed |
| 20250722-3891 | SDG&E | Public Attention | Other | Multiple odor complaints in Del Mar | Closed |
| 20250723-3892 | SoCalGas | Public Attention | Other | Multiple odor complaints in Culver City | Closed |
| 20250727-3893 | SoCalGas | Public Attention | Other | Multiple odor complaints in Manhattan Beach | Closed |
| 20250728-3894 | SoCalGas | Operator Judgement | Main | Underpressure incident due to water in the main in gas main | Closed |
| 20250729-3895 | SoCalGas | Public Attention | Other | Multiple odor complaints in Newport Beach | Closed |
| 20250730-3896 | SoCalGas | Public Attention | Other | Multiple odor complaints in Manhattan Beach | Closed |
| 20250731-3897 | SoCalGas | Public Attention | Other | Multiple odor complaints in Lynwood | Closed |
| 20250801-3898 | SoCalGas | Public Attention | Other | Multiple odor complaints in Los Angeles | Closed |
| 20250805-3899 | Thompson Gas Propane | Other | Customer Pipe | Leak reporting via automated phone could not be connected posing safety hazard for public in Boonville | Closed |
| 20250806-3900 | SoCalGas | Public Attention | Other | Multiple odor complaints in Hawthorne | Closed |
| 20250806-3901 | SDG&E | Public Attention | Other | Multiple odor complaints in San Diego | Closed |
| 20250806-3902 | SDG&E | Public Attention | Other | Multiple odor complaints in Carlsbad | Closed |
| 20250807-3903 | SDG&E | Public Attention | Other | Multiple odor complaints in Solana Beach | Closed |
| 20250808-3904 | SoCalGas | Operator Judgement | Main | Overpressure incident in Stevenson Ranch | Closed |
| 20250811-3905 | PG&E | Public Attention | Other | Multiple odor complaints in Oroville | Open |
| 20250812-3906 | SoCalGas | Public Attention | Other | Multiple odor complaints in Lakewood | Closed |
| 20250816-3907 | SoWEST | Interruption | Service Line | Service to customers were mistakenly shut down while replacing the service line in Victorville | Open |
| 20250817-3908 | SoCalGas | Public Attention | Other | Multiple odor complaints in Manhattan Beach | Closed |
| 20250817-3910 | SoCalGas | Public Attention | Other | Multiple odor complaints in Newport Beach | Closed |
| 20250819-3911 | SoCalGas | Public Attention | Other | Multiple odor complaints in San Pedro | Closed |
| 20250819-3912 | SDG&E | Operator Judgement | Main | EPC contractor struck high pressure gas line and caused a leak in Poway | Closed |
| 20250819-3914 | SoCalGas | Public Attention | Other | Multiple odor complaints in Hacienda Heights | Closed |
| 20250820-3916 | SoCalGas | Public Attention | Other | Multiple odor complaints in Westchester | Closed |
| 20250821-3917 | SDG&E | Media Coverage | Other | Multiple odor complaints in Oceanside | Closed |
| 20250825-3918 | PG&E | Media Coverage | Service Riser | Fire in the house damaged meter and riser causing gas release and secondary ignition in Auburn | Closed |
| 20250826-3919 | SDG&E | Public Attention | Other | Multiple odor complaints in Oceanside | Closed |
| 20250828-3920 | SoCalGas | Public Attention | Main | Multiple odor complaints in Lancaster | Closed |
| 20250829-3921 | PG&E | Interruption | Controls | Unplanned loss of gas at meter station resulted in underpressure event and loss of service in Firebaugh | Open |
| 20250829-3922 | SoCalGas | Public Attention | Other | Multiple odor complaints in Downey | Closed |
| 20250830-3923 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach | Closed |
| 20250903-3925 | SoCalGas | Public Attention | Other | Multiple odor complaints in Los Angeles | Closed |
| 20250915-3926 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach | Closed |
| 20250916-3928 | SoCalGas | Gas Loss | Transmission | Unknown third party struck a 6-inch-high pressure steel pipeline causing gas release in Lost Hills | Closed |
| 20250917-3929 | SoCalGas | Public Attention | Other | Multiple odor complaints in Colton | Closed |
| 20250917-3930 | SDG&E | Public Attention | Other | Multiple odor complaints in Carlsbad | Closed |
| 20250919-3931 | SDG&E | Public Attention | Other | Multiple odor complaints in Chula Vista | Closed |
| 20250922-3932 | SoCalGas | Public Attention | Other | Multiple odor complaints in Ventura | Closed |
| 20250923-3933 | SDG&E | Public Attention | Other | Multiple odor complaints in Del Mar | Closed |
| 20250926-3934 | SoCalGas | Public Attention | Other | Multiple odor complaints in Sherman Oaks | Closed |
| 20250926-3935 | SDG&E | Public Attention | Other | Third party contractor struck a 2-inch plastic service line causing gas release in San Diego | Closed |
| 20251006-3936 | SoCalGas | Public Attention | Other | Multiple odor complaints in Westminster | Closed |
| 20251008-3937 | Suburban Propane | Gas Loss | Main | Excavator hit 3-inch distribution line causing a propane leak in Norden | Open |
| 20251011-3938 | SoCalGas | Public Attention | Other | Multiple odor complaints in Los Angeles | Closed |
| 20251012-3939 | SoCalGas | Public Attention | Other | Multiple odor complaints in Seal Beach | Closed |
| 20251013-3940 | PG&E | Operator Judgement | Main | Customer shut in leading to equipment failure caused overpressure event on a 2-inch distribution pipeline in Orland | Open |
| 20251018-3942 | SoCalGas | Public Attention | Other | Multiple odor complaints in Lomita | Closed |
| 20251019-3943 | SoCalGas | Public Attention | Other | Multiple odor complaints in Seal Beach | Closed |
| 20251020-3944 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach | Closed |
| 20251021-3945 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach | Closed |
| 20251023-3947 | SoCalGas | Media Coverage | Other | Vehicle struck meter set assembly causing release of gas in Sylmar | Closed |
| 20251024-3948 | SoCalGas | Interruption | Main | Underpressure incident due to water in the gas main in Westminster | Open |
| 20251029-3949 | SoCalGas | Public Attention | Other | Multiple odor complaints in South Pasadena | Closed |
| 20251029-3950 | SDG&E | Other | Regulator | MAOP exceedance of more than 10% during maintenance in San Diego | Open |
| 20251102-3951 | SoCalGas | Damage above 50K | Other | Release of gas reported by customer odor complaint in Northridge | Open |
| 20251117-3952 | SoCalGas | Public Attention | Other | Multiple odor complaints in Moreno Valley | Closed |
| 20251116-3953 | SoCalGas | Casualties or Inpatient Hospitalization | Other | Structure fire with unknown cause resulting in 9 injuries in Chino Hills | Open |
| 20251117-3954 | SDG&E | Media Coverage | Main | Gas leak increased to Code 1 while crew were reporting to repair a Code 2 leak on main in El Cajon | Open |
| 20251126-3955 | SoCalGas | Public Attention | Other | Multiple odor complaints in Los Alamito | Closed |
| 20251208-3956 | SoWEST | Interruption | Service Line | Tech responded to an exposed pipe and cut into it while identifying it incorrectly as abandoned in Carnelian Bay | Open |
| 20251210-3957 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach | Closed |
| 20251210-3958 | SoCalGas | Public Attention | Other | Multiple odor complaints in Pismo Beach | Closed |
| 20251210-3959 | AmeriGas Propane | Media Coverage | Service line | Water utility working with hand tool damaged gas line in Sonora | Open |
| 20251211-3960 | PG&E | Gas Loss | Service line | Explosion at a steel service line while ongoing repairs resulting in 6 injuries and property damage in Hayward | Open |
| 20251212-3961 | SoCalGas | Operator Judgement | Main | Gas release and personnel injuries occur during 4-inch steel main abandonment in Placentia | Open |
| 20251213-3962 | SoCalGas | Public Attention | Other | Multiple odor complaints in Norwalk | Closed |
| 20251215-3963 | SoCalGas | Public Attention | Other | Multiple odor complaints in Costa Mesa | Closed |
| 20251218-3964 | SoCalGas | Media Coverage | Valve | Gas leak reported during leak survey in Beverly Hills | Open |
| 20251219-3965 | SoCalGas | Public Attention | Other | Multiple odor complaints in Santa Monica | Closed |
| 20251219-3966 | SoCalGas | Public Attention | Other | Multiple odor complaints in Manhattan Beach | Closed |
| 20251221-3967 | SDG&E | Public Attention | Other | Multiple odor complaints in Hermosa Beach | Closed |
| 20251222-3968 | SoCalGas | Public Attention | Other | Multiple odor complaints in Seal Beach | Closed |
| 20251222-3969 | PG&E | Operator Judgement | Regulator | Unplanned overpressure incident exceeding MAOP plus allowable buildup in Orland | Open |
| 20251227-3970 | SoCalGas | Media Coverage | Transmission | Gas line release possibly exceeding 3 million cubic feet in Castaic | Open |