|  |
| --- |
| **Safety Incidents Open as of 1-1-2025 and Incidents Reported in 2024** |
|  |
| **Gas Incidents** |
|  |
| **(In Compliance with CA Public Utilities Code Section 911)** |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Incident ID (YYYYMMDD-XXXX)** | **Facility Owner** | **Reason for Investigation** | **Facility Type** | **Brief Summary of Incident** | **Open or Closed** |
| 20230302-3503 | AmeriGas Propane | Operator Judgement | Other | Fire at a residence in Mammoth Lakes caused by gas leak from damaged regulator. | Open |
| 20230401-3520 | AmeriGas Propane | Interruption | Other | Fire at a business in Bridgeport caused by gas leak from damaged regulator. | Open |
| 20230412-3525 | PG&E | Operator Judgement | Regulator | Overpressure condition at Edwards Air Force Base Regulator Station. | Open |
| 20230515-3533 | PG&E | Operator Judgement | Regulator | Overpressure condition at Regulator Station in Watsonville | Open |
| 20230614-3550 | SDG&E | Operator Judgement | Transmission | During routine maintenance, SDG&E discovered a gas leak from transmission pipeline in El Cajon. Investigation is still ongoing. | Open |
| 20230824-3590 | PG&E | Operator Judgement | Service Line | Underpressure condition occurred during the commissioning of newly installed main in Modesto. | Open |
| 20231015-3614 | SoCalGas | Interruption | Customer Meter | Water incursion in gas main caused under-pressure incident in Delano. | Open |
| 20240109-3644 | SDG&E | Public Attention | Other | Multiple odor complaints in San Diego | Closed |
| 20240117-3645 | SoCalGas | Media Coverage | Customer Meter | Vehicle struck a meter set assembly in Lancaster, causing damage and a release of natural gas.  | Closed |
| 20240120-3646 | SoCalGas | Operator Judgement | Regulator | An overpressure incident occurred at regulator station in Carpinteria | Closed |
| 20240123-3647 | PG&E | Operator Judgement | Regulator | An overpressure condition at regulator station in Tracy. | Open |
| 20240123-3648 | SoCalGas | Public Attention | Other | Multiple odor complaints in Costa Mesa. | Closed |
| 20240123-3649 | SoCalGas | Operator Judgement | Transmission | An over pressure condition occurred due to a valve being left open at regulator station in Santa Baarbara. | Closed |
| 20240124-3650 | SoCalGas | Public Attention | Other | Multiple odor complaints in Porter Ranch. | Closed |
| 20240130-3651 | SoCalGas | Public Attention | Other | Multiple odor complaints in Compton. | Closed |
| 20240205-3652 | SoCalGas | Media Coverage | Service Line | Excessive rain caused a mudslide damaging a 3/4-inch service, resulting in a release of natural gas in Studio City.  | Closed |
| 20240205-3653 | SoCalGas | Media Coverage | Valve | Land erosion caused by heavy rains, damaged pipes resulting in a release of natural gas in Los Angeles. | Open |
| 20240207-3654 | SoCalGas | Public Attention | Other | Multiple odor complaints in Torrance. | Closed |
| 20240208-3655 | SoCalGas | Public Attention | Other | Multiple odor complaints in Carson. | Closed |
| 20240211-3656 | SoCalGas | Public Attention | Other | Multiple odor complaints in Costa Mesa. | Closed |
| 20240213-3657 | SoCalGas | Public Attention | Other | Multiple odor complaints in Los Angeles. | Closed |
| 20240213-3658 | SoCalGas | Public Attention | Other | Multiple odor complaints in Compton. | Closed |
| 20240213-3659 | SoCalGas | Media Coverage | Service Line | A third-party contractor struck a 1-inch plastic service line while excavating, resulting in a release of natural gas in Glendale.  | Closed |
| 20240220-3660 | AmeriGas Propane | Interruption | Other | Underpressure event occurred due to propane tanks being underfilled during delivery in Pine Grove. | Closed |
| 20240220-3661 | SoCalGas | Media Coverage | Customer Meter | A vehicle struck a meter set assembly, causing damage and a release of natural gas in Van Nuys.  | Closed |
| 20240306-3662 | PG&E | Media Coverage | Main | Damage caused by third party dig-in of plastic distribution pipeline in Sacramento.  | Open |
| 20240306-3664 | SoCalGas | Public Attention | Other | Multiple odor complaints in Los Angeles. | Closed |
| 20240306-3665 | SoWEST | Interruption | Service Line | Contractor working on a distribution replacement project, inadvertently abandoned a 1/2-inch PE service, resulting in the outage of one customer in Apple Valley. | Closed |
| 20240310-3666 | SDG&E | Public Attention | Other | Multiple odor complaints in San Diego. | Closed |
| 20240311-3667 | SDG&E | Public Attention | Other | Multiple odor complaints in Oceanside. | Closed |
| 20240313-3668 | SoCalGas | Interruption | Service Line | A mudslide damaged a 3/4-inch service, resulting in the release of natural gas in Sherman Oaks.  | Closed |
| 20240314-3669 | SoCalGas | Public Attention | Other | Multiple odor complaints in Carson. | Closed |
| 20240315-3670 | SDG&E | Public Attention | Other | Multiple odor complaints in San Diego. | Closed |
| 20240315-3671 | SoCalGas | Interruption | Main | Water incursion in gas main caused under-pressure incident in Rancho Mirage. | Closed |
| 20240315-3672 | SoCalGas | Public Attention | Other | Multiple odor complaints in Lynwood. | Closed |
| 20240318-3673 | SoCalGas | Public Attention | Other | Multiple odor complaints in Seal Beach. | Closed |
| 20240319-3674 | SoCalGas | Public Attention | Other | Multiple odor complaints in Westminster. | Closed |
| 20240321-3675 | SoCalGas | Interruption | Valve | An under-pressure incident due to water utilities closing gas valves incorrectly in Mentone. | Closed |
| 20240323-3676 | SoCalGas | Public Attention | Other | Multiple odor complaints in Ventura. | Closed |
| 20240323-3677 | SoCalGas | Public Attention | Other | Multiple odor complaints in Ventura. | Closed |
| 20240324-3678 | SoCalGas | Operator Judgement | Other | A mudslide damaged a transmission line, resulting in the release of natural gas in Ventura.  | Open |
| 20240326-3679 | Suburban Propane | Interruption | Regulator | The tampering of the nitrogen supply operating an aboveground propane storage tank's internal valves, lead the system to shutdown in Norden. | Open |
| 20240326-3680 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach. | Closed |
| 20240330-3681 | SoCalGas | Gas Loss | Main | A third-party contractor struck a 10-inch steel natural gas main causing a release of natural gas in Palmdale.  | Open |
| 20240409-3682 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach. | Closed |
| 20240410-3683 | SDG&E | Public Attention | Other | Multiple odor complaints in San Diego. | Closed |
| 20240411-3684 | SoCalGas | Operator Judgement | Regulator | An overpressure incident that occurred at regulator station in Ventura. | Open |
| 20240412-3685 | SoCalGas | Interruption | Main | Underpressure condition occurred during the alteration of mains in Los Angeles. | Closed |
| 20240420-3686 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach. | Closed |
| 20240503-3687 | SoCalGas | Media Coverage | Service Line | A third-party contractor struck a 1/2-inch plastic service line while excavating, resulting in a release of natural gas in Calabasas. | Closed |
| 20240514-3688 | SoWEST | Interruption | Customer Meter | Underpressure event occurred during maintenance of pipelines in Victorville, resulting in an outage of one customer. | Closed |
| 20240524-3689 | SoCalGas | Other | Regulator |  An overpressure incident occurred at pressure limiting station in Los Angeles. | Closed |
| 20240531-3690 | SoCalGas | Damages Above 50K | Other |  Major snow loading on Big Bear Mountain led to pipeline damage, and a release of natural gas. | Open |
| 20240531-3691 | SoCalGas | Damages Above 50K | Customer Meter |  Major snow loading on Big Bear Mountain led to pipeline damage, and a release of natural gas. | Open |
| 20240603-3693 | SoCalGas | Public Attention | Other | Multiple odor complaints in Manhattan Beach. | Closed |
| 20240611-3694 | SoWEST | Interruption | Service Line | Utility damaged pipe and released gas during a procedure to confirm the existence of plastic pipe insert in Barstow. | Closed |
| 20240614-3695 | SoCalGas | Interruption | Main | Water incursion in gas main caused under-pressure incident in Covina. | Closed |
| 20240629-3696 | SDG&E | Public Attention | Other | Multiple odor complaints in Oceanside. | Closed |
| 20240705-3697 | PG&E | Other | Regulator | Overpressure event at regulator station in Los Banos | Open |
| 20240708-3698 | SDG&E | Media Coverage | Main | Second party contractor damaged a 2-inch plastic pipe, interrupting service to 16 customers in San Diego. | Closed |
| 20240710-3699 | SoWEST | Interruption | Service Line | The second party contractor damaged a house service line interrupting service to one customer in Apple Valley. | Closed |
| 20240710-3701 | SoCalGas | Media Coverage | Service Line | Third-party excavator damaged a 1-inch service pipe, interrupting service to 2 customers in Santa Barbara | Closed |
| 20240710-3702 | PG&E | Casualties or Inpatient Hospitalization | Transmission | Gas released during maintenance caused an ignition at the Kettleman Compressor Station. | Open |
| 20240712-3703 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach. | Closed |
| 20240713-3704 | SoCalGas | Public Attention | Other | Multiple odor complaints in San Pedro. | Closed |
| 20240714-3706 | SoCalGas | Public Attention | Other | Multiple odor complaints in Sunset Beach. | Closed |
| 20240717-3707 | SoCalGas | Public Attention | Other | Multiple odor complaints in Seal Beach. | Closed |
| 20240717-3708 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach. | Closed |
| 20240724-3709 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach. | Closed |
| 20240727-3710 | SoCalGas | Public Attention | Main | A planned shut off to repair gas pipelines in Racho Palos Verdes due to ongoing earth movement, affecting 125 homes. | Closed |
| 20240727-3711 | SDG&E | Public Attention | Other | Multiple odor complaints in Carlsbad. | Closed |
| 20240731-3712 | SDG&E | Media Coverage | Main | Third-party contractor damaged a 2-inch PE main interrupting service to 5 customers in National City. | Open |
| 20240804-3713 | SoCalGas | Public Attention | Other | Multiple odor complaints in Los Angeles. | Closed |
| 20240804-3714 | SoCalGas | Interruption | Main | Water incursion in gas main caused under-pressure incident in Rosemead. | Closed |
| 20240807-3715 | SDG&E | Public Attention | Other | Multiple odor complaints in San Diego. | Closed |
| 20240809-3716 | SoCalGas | Media Coverage | Service Riser | Third-party vehicle damaged a service riser interrupting service to 6 customers in San Diego. | Closed |
| 20240809-3717 | SDG&E | Public Attention | Other | Multiple odor complaints in Carlsbad. | Closed |
| 20240812-3718 | SoCalGas | Public Attention | Other | Multiple odor complaints in Garden Grove. | Closed |
| 20240812-3719 | SDG&E | Public Attention | Other | Multiple odor complaints in Encinitas. | Closed |
| 20240813-3720 | SoCalGas | Public Attention | Other | Multiple odor complaints in El Segundo. | Closed |
| 20240813-3721 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach. | Closed |
| 20240813-3722 | SoCalGas | Public Attention | Other | Multiple odor complaints in Manhattan Beach. | Closed |
| 20240814-3723 | SoCalGas | Public Attention | Other | Multiple odor complaints in Cypress. | Closed |
| 20240815-3724 | PG&E | Gas Loss | Transmission | Farm Equipment struck transmission pipeline near Castroville. | Open |
| 20240815-3725 | SoCalGas | Public Attention | Other | Multiple odor complaints in Porterville. | Closed |
| 20240816-3726 | SoCalGas | Public Attention | Other | Multiple odor complaints in Redondo Beach. | Closed |
| 20240816-3727 | SoCalGas | Public Attention | Other | Multiple odor complaints in Diamond Bar. | Closed |
| 20240819-3728 | SoCalGas | Gas Loss | Main | Third-party excavator struck a 2-inch PE gas main line in West Hollywood, releasing gas into atmosphere. | Open |
| 20240820-3729 | SoCalGas | Public Attention | Other | Multiple odor complaints in Los Angeles. | Closed |
| 20240820-3730 | SDG&E | Public Attention | Other | Multiple odor complaints in Del Mar. | Closed |
| 20240825-3731 | SoCalGas | Public Attention | Other | Multiple odor complaints in Seal Beach. | Closed |
| 20240826-3734 | SoCalGas | Public Attention | Other | Multiple odor complaints in Garden Grove. | Closed |
| 20240901-3735 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach. | Closed |
| 20240902-3736 | SDG&E | Media Coverage | Service Line | Third-party damage to a 1/2-in pipe that released gas into atmosphere and interrupted service to 2 customers in San Diego. | Closed |
| 20240903-3737 | SoCalGas | Public Attention | Other | Multiple odor complaints in Newport Beach. | Closed |
| 20240904-3738 | SoCalGas | Public Attention | Other | Multiple odor complaints in Compton. | Closed |
| 20240904-3739 | SoCalGas | Public Attention | Other | Multiple odor complaints in Glendora. | Closed |
| 20240905-3740 | SoCalGas | Public Attention | Other | Multiple odor complaints in Newport Beach. | Closed |
| 20240906-3741 | SDG&E | Public Attention | Other | Multiple odor complaints in Encinitas. | Closed |
| 20240906-3742 | SDG&E | Interruption | Other | Multiple odor complaints in San Diego. | Open |
| 20240907-3743 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach. | Closed |
| 20240908-3744 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach. | Closed |
| 20240908-3745 | SoCalGas | Public Attention | Other | Multiple odor complaints in Hawthorne. | Closed |
| 20240909-3746 | SoCalGas | Public Attention | Other | Multiple odor complaints in Compton. | Closed |
| 20240910-3747 | SDG&E | Public Attention | Other | Multiple odor complaints in San Diego. | Closed |
| 20240911-3748 | SoCalGas | Media Coverage | Service Riser | A structure fire spread to gas facilities resulting in damage to the meter set assembly, causing a release of natural gas in Wrightwood. | Open |
| 20240911-3749 | SoCalGas | Public Attention | Other | Multiple odor complaints in Lynwood. | Closed |
| 20240916-3750 | SoCalGas | Public Attention | Other | Multiple odor complaints in Ontario. | Closed |
| 20240917-3751 | SoCalGas | Operator Judgement | Customer Meter | A structure fire spread to gas facilities resulting in damage to the meter set assembly in Monrovia. | Open |
| 20240920-3752 | SoCalGas | Public Attention | Other | Multiple odor complaints in Oxnard. | Closed |
| 20240921-3753 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach. | Closed |
| 20240923-3754 | SoCalGas | Public Attention | Other | Multiple odor complaints in Santa Monica. | Closed |
| 20240923-3755 | SoCalGas | Public Attention | Other | Multiple odor complaints in Belflower. | Closed |
| 20240928-3756 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach. | Closed |
| 20240930-3757 | SoCalGas | Public Attention | Other | Multiple odor complaints in Gardena. | Closed |
| 20241001-3758 | PG&E | Damages Above 50K | Main | Excavation activities damaged 6-inch distribution line in San Francisco. | Open |
| 20241003-3759 | SoCalGas | Interruption | Main | Water incursion in gas main caused under-pressure incident in Bakersfield. | Closed |
| 20241004-3760 | SoCalGas | Public Attention | Other | Multiple odor complaints in Los Alamitos. | Closed |
| 20241008-3761 | Long Beach Utilities | Casualties or Inpatient Hospitalization | Customer Meter | Residential ADU explosion in Long Beach - did not involve utilities facilities. | Closed |
| 20241016-3762 | SoCalGas | Public Attention | Other | Multiple odor complaints in Capistrano Beach. | Closed |
| 20241023-3764 | SoCalGas | Public Attention | Other | Multiple odor complaints in Rancho Palos Verdes. | Closed |
| 20241025-3765 | SoCalGas | Public Attention | Other | Multiple odor complaints in Torrance. | Closed |
| 20241027-3766 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach. | Closed |
| 20241028-3767 | SoCalGas | Interruption | Main | Water incursion in gas main caused under-pressure incident in Eastvale. | Open |
| 20241029-3769 | SoCalGas | Public Attention | Other | Multiple odor complaints in Venice. | Closed |
| 20241029-3770 | SoCalGas | Operator Judgement | Main | Water incursion in gas main caused under-pressure incident in Sylmar. | Open |
| 20241105-3771 | SoCalGas | Public Attention | Other | Multiple odor complaints in Laton. | Closed |
| 20241105-3772 | SoCalGas | Public Attention | Other | Multiple odor complaints in Playa Vista. | Closed |
| 20241106-3773 | SoCalGas | Damages Above 50K | Other | Wildfire near Camarillo damaged natural gas facilities, causing gas release. | Open |
| 20241115-3774 | SoCalGas | Other | Other | Multiple odor complaints in Lynwood. | Closed |
| 20241121-3775 | PG&E | Operator Judgement | Regulator | Pressure recording device showed pressure exceeded MAOP. Incident still under investigation. | Open |
| 20241121-3777 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach. | Closed |
| 20241122-3778 | SoCalGas | Public Attention | Other | Multiple odor complaints in Compton. | Closed |
| 20241122-3779 | PG&E | Operator Judgement | Other | Over pressure event occurred in Dixon. Incident still under investigation. | Open |
| 20241126-3780 | SoCalGas | Media Coverage | Main | A third-party contractor struck a 3-inch plastic main in Torrance. | Open |
| 20241127-3781 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach. | Closed |
| 20241127-3782 | SoCalGas | Public Attention | Other | Multiple odor complaints in Lynwood. | Closed |
| 20241127-3783 | SoCalGas | Public Attention | Other | Multiple odor complaints in Downey. | Closed |
| 20241205-3784 | SoWEST | Interruption | Service Line | Third party contractor caused an under-pressure incident during tie-over procedure. | Open |
| 20241210-3785 | SoCalGas | Public Attention | Other | Multiple odor complaints in Compton. | Open |
| 20241216-3786 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach. | Closed |
| 20241216-3787 | SoCalGas | Public Attention | Other | Multiple odor complaints in Los Alamitos. | Closed |
| 20241219-3788 | SDG&E | Public Attention | Other | Multiple odor complaints in San Diego. | Open |
| 20241227-3789 | PG&E | Media Coverage | Customer Meter | Gas release at meter set caused ignition and damage to residential home in Capitola | Open |
| 20241229-3790 | PG&E | Media Coverage | Transmission | Gas release found on a transmission line San Leandro reported by utility employee. | Open |
| 20241230-3791 | SDG&E | Media Coverage | Service Line | Third-party contractor struck a 1/2-inch plastic gas line, causing a release of natural gas in San Diego.  | Open |