## T&D
Division/Region/System | Monthly AIDI | ytd AIDI | Monthly AIFI | ytd AIFI | Monthly CAIDI | ytd CAIDI | Monthly C Min | ytd C Min | Monthly CESO | ytd CESO | Monthly SO | ytd SO | Tot Cust
SYSTEM | 11.4 | 213.8 | 0.1 | 1.402 | 113.9 | 152.5 | 65463602 | 1229549568 | 574792 | 8063669 | 2232 | 32823 | 5750834
TRANSMISSION | 0.7 | 10.2 | 0.006 | 0.083 | 108.9 | 121.9 | 3900093 | 58413752 | 35812 | 479271 | 16 | 228 | 5750834
T CENTRAL | 1 | 3 | 0.007 | 0.03 | 138.2 | 99.5 | 3446710 | 10007520 | 24935 | 100607 | 6 | 31 | 3337242
T NORTH | 0.4 | 32.1 | 0.01 | 0.212 | 44.2 | 151.8 | 383440 | 29291971 | 8679 | 192990 | 8 | 123 | 911808
T SOUTH | 0 | 12.7 | 0.001 | 0.124 | 31.8 | 102.9 | 69943 | 19114261 | 2198 | 185674 | 2 | 74 | 1501784
DISTRIBUTION | 10.4 | 199.2 | 0.091 | 1.278 | 114.2 | 155.8 | 59815093 | 1145478385 | 523816 | 7351554 | 2210 | 32519 | 5750834
CENTRAL COAST | 34.2 | 376.7 | 0.207 | 2.039 | 165.3 | 184.7 | 10293729 | 113259592 | 62287 | 613067 | 215 | 2777 | 300673
DE ANZA | 4.2 | 173.3 | 0.016 | 1.002 | 261.1 | 173 | 957060 | 39614863 | 3665 | 228932 | 44 | 1064 | 228538
DIABLO | 10.6 | 183.8 | 0.134 | 1.375 | 79.5 | 133.7 | 3537746 | 61172304 | 44509 | 457592 | 53 | 963 | 332832
EAST BAY | 10.3 | 102.1 | 0.138 | 0.898 | 74.5 | 113.7 | 3982472 | 39454137 | 53444 | 347114 | 61 | 792 | 386559
FRESNO | 10.8 | 162.9 | 0.1 | 1.121 | 107.5 | 145.4 | 4966089 | 74895758 | 46194 | 515120 | 204 | 3375 | 459671
HUMBOLDT | 24.7 | 555.2 | 0.133 | 2.341 | 184.9 | 237.2 | 3814750 | 85845792 | 20631 | 361984 | 152 | 1992 | 154632
KERN | 18.9 | 132.4 | 0.119 | 1.095 | 159.2 | 121 | 5188106 | 36249916 | 32595 | 299687 | 157 | 1883 | 273803
LOS PADRES | 15 | 221.1 | 0.206 | 1.832 | 72.7 | 120.7 | 3232490 | 47622619 | 44475 | 394648 | 93 | 1317 | 215438
MISSION | 5.9 | 101.9 | 0.049 | 0.761 | 121.4 | 134 | 2485148 | 42631789 | 20465 | 318156 | 50 | 823 | 418344
NORTH BAY | 13.6 | 191.4 | 0.124 | 1.29 | 109.4 | 148.4 | 3427281 | 48252674 | 31314 | 325248 | 133 | 1334 | 252126
NORTH VALLEY | 6.4 | 273.5 | 0.067 | 1.567 | 96.1 | 174.6 | 1357126 | 57558239 | 14118 | 329703 | 125 | 2285 | 210421
PENINSULA | 13 | 203.5 | 0.107 | 1.214 | 120.7 | 167.6 | 4078954 | 64070225 | 33797 | 382216 | 88 | 1197 | 314811
SACRAMENTO | 6.6 | 180 | 0.047 | 1.211 | 140.9 | 148.6 | 2060146 | 55948959 | 14617 | 376498 | 179 | 2465 | 310912
SAN FRANCISCO | 3.4 | 70.6 | 0.04 | 0.581 | 84.5 | 121.4 | 1413948 | 29640892 | 16740 | 244180 | 32 | 365 | 420045
SAN JOSE | 3.6 | 118.4 | 0.035 | 0.847 | 102.9 | 139.7 | 1579665 | 51979317 | 15348 | 372075 | 64 | 1216 | 439138
SIERRA | 3.3 | 354.8 | 0.041 | 2.184 | 81.6 | 162.5 | 780607 | 83678200 | 9566 | 514973 | 112 | 2077 | 235843
SONOMA | 6.2 | 177.8 | 0.059 | 1.307 | 104.9 | 136 | 1445852 | 41322889 | 13789 | 303842 | 110 | 1219 | 232458
STOCKTON | 8.3 | 251.4 | 0.075 | 1.586 | 111.1 | 158.6 | 2608220 | 78549816 | 23469 | 495414 | 123 | 2204 | 312391
YOSEMITE | 10.3 | 371.7 | 0.09 | 1.868 | 114.3 | 199 | 2605704 | 93730404 | 22793 | 471105 | 215 | 3171 | 252199
BAY REGION | 8.9 | 128.3 | 0.105 | 0.987 | 84.7 | 129.9 | 12361447 | 178520007 | 146007 | 1374134 | 279 | 3454 | 1391562
C COAST REGIO | 11.8 | 187.4 | 0.094 | 1.205 | 125.7 | 155.5 | 22627046 | 359178405 | 180037 | 2309094 | 554 | 8394 | 1916942
C VALLEY REGI | 11.8 | 218.3 | 0.096 | 1.372 | 122.9 | 159.1 | 15368119 | 283425894 | 125051 | 1781326 | 699 | 10633 | 1298064
NORTHERN REGI | 8.3 | 283.5 | 0.064 | 1.649 | 130.1 | 171.9 | 9458481 | 324354079 | 72721 | 1887000 | 678 | 10038 | 1144266

## Sub
Sub Area | Sub HQ | Monthly AIDI | ytd AIDI | Monthly AIFI | ytd AIFI | Monthly CAIDI | ytd CAIDI | Monthly C Min | ytd C Min | Monthly CESO | ytd CESO | Monthly SO | ytd SO | Tot Cust
BAY | MARTIN | 0 | 2.1868 | 0 | 0.024643 | 0 | 88.7 | 0 | 1163599 | 0 | 13113 | 0 | 4 | 532111
BAY | OAKPORT | 0 | 7.8412 | 0 | 0.094104 | 0 | 83.3 | 0 | 2780899 | 0 | 33374 | 0 | 4 | 354651
CENTRAL COAST | CONCORD | 0 | 0.7722 | 0 | 0.016307 | 0 | 47.4 | 0 | 259010 | 0 | 5470 | 0 | 1 | 335431
CENTRAL COAST | CUPERTINO | 0 | 0.6779 | 0 | 0.003978 | 0 | 170.4 | 0 | 446147 | 0 | 2618 | 0 | 1 | 658152
CENTRAL COAST | HAYWARD | 0 | 0.6189 | 0 | 0.024744 | 0 | 25 | 0 | 246436 | 0 | 9853 | 0 | 1 | 398203
CENTRAL COAST | MOSS LANDING | 0 | 3.4045 | 0 | 0.05587 | 0 | 60.9 | 0 | 1033407 | 0 | 16959 | 0 | 7 | 303545
CENTRAL COAST | SAN CARLOS | 0.816 | 0.9861 | 0.013986 | 0.021077 | 58.3 | 46.8 | 165925 | 200533 | 2844 | 4286 | 1 | 2 | 203350
NORTH COAST | COTTONWOOD | 0 | 32.3218 | 0 | 0.13305 | 0 | 242.9 | 0 | 2579890 | 0 | 10620 | 0 | 4 | 79819
NORTH COAST | EUREKA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 72599
NORTH COAST | MCMAUDE | 0 | 0.1453 | 0 | 0.001816 | 0 | 80 | 0 | 69440 | 0 | 868 | 0 | 1 | 478020
NORTH COAST | TABLE MTN | 0.6272 | 11.883 | 0.001889 | 0.073691 | 332 | 161.3 | 110556 | 2094527 | 333 | 12989 | 1 | 6 | 176262
NORTH COAST | UKIAH | 0 | 7.1756 | 0 | 0.087344 | 0 | 82.2 | 0 | 588707 | 0 | 7166 | 0 | 5 | 82043
NORTH VALLEY | DEL MAR | 0.0047 | 6.0319 | 0.000524 | 0.089699 | 9 | 67.2 | 1278 | 1634934 | 142 | 24313 | 1 | 10 | 271050
NORTH VALLEY | MERCED | 0 | 17.2899 | 0 | 0.059979 | 0 | 288.3 | 0 | 3488592 | 0 | 12102 | 0 | 5 | 201771
NORTH VALLEY | STOCKTON | 0 | 11.8603 | 0 | 0.10299 | 0 | 115.2 | 0 | 3437284 | 0 | 29847 | 0 | 4 | 289814
NORTH VALLEY | TESLA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 74675
NORTH VALLEY | VACA DIXON | 0 | 5.5727 | 0 | 0.02995 | 0 | 186.1 | 0 | 1297242 | 0 | 6972 | 0 | 2 | 232786
SOUTH VALLEY | BAKERSFIELD | 5.3598 | 10.7265 | 0.040813 | 0.087902 | 131.3 | 122 | 1462986 | 2927834 | 11140 | 23993 | 2 | 6 | 272953
SOUTH VALLEY | FRESNO | 0 | 2.3362 | 0 | 0.028103 | 0 | 83.1 | 0 | 1045288 | 0 | 12574 | 0 | 5 | 447432
SOUTH VALLEY | GATES | 0.199 | 0.5387 | 0.018289 | 0.021766 | 10.9 | 24.7 | 7671 | 20765 | 705 | 839 | 1 | 5 | 38547
SOUTH VALLEY | PISMO BEACH | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 213503

## Result Data
2023 RELIABILITY INDICES BY DIVISION, AREA & SYSTEM - YTD: | [5 empty] | December
(Excluding 2.5b ME Days, ISO, & Planned Outages)
SOMs (Metrics 2.1 and 2.2)
| AIDI |  | AIFI |  | CAIDI |  | CMIN |  | CESO |  | SO |  |  | YTD December (Unplanned)
Div/Area/System | Monthly Actual | YTD Actual | Monthly Actual | YTD Actual | Monthly Actual | YTD Actual | Monthly | YTD | Monthly | YTD | Monthly | YTD | Total Customers | SAIDI (Hours) | SAIFI
SYSTEM | 11.4 | 213.8 | 0.1 | 1.402 | 113.9 | 152.5 | 65463602 | 1229549568 | 574792 | 8063669 | 2232 | 32823 | 5750834 | 3.5633 | 1.402
TRANSMISSION | 0.7 | 10.2 | 0.006 | 0.083 | 108.9 | 121.9 | 3900093 | 58413752 | 35812 | 479271 | 16 | 228 | 5750834
Central Area | 1 | 3 | 0.007 | 0.03 | 138.2 | 99.5 | 3446710 | 10007520 | 24935 | 100607 | 6 | 31 | 3337242
North Area | 0.4 | 32.1 | 0.01 | 0.212 | 44.2 | 151.8 | 383440 | 29291971 | 8679 | 192990 | 8 | 123 | 911808
South Area | 0 | 12.7 | 0.001 | 0.124 | 31.8 | 102.9 | 69943 | 19114261 | 2198 | 185674 | 2 | 74 | 1501784
SUBSTATION | 0.30403 | 4.4019 | 0.0026368 | 0.039639 | 115.3004 | 111.0501 | 1748416 | 25314534 | 15164 | 227956 | 6 | 73 | 5750834
BAY AREA | 0 | 4.4482 | 0 | 0.052423 | 0 | 84.8516 | 0 | 3944498 | 0 | 46487 | 0 | 8 | 886762
MARTIN | 0 | 2.1868 | 0 | 0.024643 | 0 | 88.7 | 0 | 1163599 | 0 | 13113 | 0 | 4 | 532111
OAKPORT | 0 | 7.8412 | 0 | 0.094104 | 0 | 83.3 | 0 | 2780899 | 0 | 33374 | 0 | 4 | 354651
NORTH COAST AREA | 0.1244 | 6.0001 | 0.00037469 | 0.035604 | 332 | 168.5227 | 110556 | 5332564 | 333 | 31643 | 1 | 16 | 888743
COTTONWOOD | 0 | 32.3218 | 0 | 0.13305 | 0 | 242.9 | 0 | 2579890 | 0 | 10620 | 0 | 4 | 79819
EUREKA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 72599
MCMAUDE | 0 | 0.1453 | 0 | 0.001816 | 0 | 80 | 0 | 69440 | 0 | 868 | 0 | 1 | 478020
TABLE MTN | 0.6272 | 11.883 | 0.001889 | 0.073691 | 332 | 161.3 | 110556 | 2094527 | 333 | 12989 | 1 | 6 | 176262
UKIAH | 0 | 7.1756 | 0 | 0.087344 | 0 | 82.2 | 0 | 588707 | 0 | 7166 | 0 | 5 | 82043
NORTH VALLEY AREA | 0.0011943 | 9.2123 | 0.0001327 | 0.068437 | 9 | 134.6103 | 1278 | 9858052 | 142 | 73234 | 1 | 21 | 1070096
DEL MAR | 0.0047 | 6.0319 | 0.000524 | 0.089699 | 9 | 67.2 | 1278 | 1634934 | 142 | 24313 | 1 | 10 | 271050
MERCED | 0 | 17.2899 | 0 | 0.059979 | 0 | 288.3 | 0 | 3488592 | 0 | 12102 | 0 | 5 | 201771
STOCKTON | 0 | 11.8603 | 0 | 0.10299 | 0 | 115.2 | 0 | 3437284 | 0 | 29847 | 0 | 4 | 289814
TESLA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 74675
VACA DIXON | 0 | 5.5727 | 0 | 0.02995 | 0 | 186.1 | 0 | 1297242 | 0 | 6972 | 0 | 2 | 232786
CENTRAL COAST AREA | 0.08739 | 1.1511 | 0.0014979 | 0.020639 | 58.3421 | 55.7733 | 165925 | 2185533 | 2844 | 39186 | 1 | 12 | 1898681
CONCORD | 0 | 0.7722 | 0 | 0.016307 | 0 | 47.4 | 0 | 259010 | 0 | 5470 | 0 | 1 | 335431
SAN CARLOS | 0.816 | 0.9861 | 0.013986 | 0.021077 | 58.3 | 46.8 | 165925 | 200533 | 2844 | 4286 | 1 | 2 | 203350
CUPERTINO | 0 | 0.6779 | 0 | 0.003978 | 0 | 170.4 | 0 | 446147 | 0 | 2618 | 0 | 1 | 658152
HAYWARD | 0 | 0.6189 | 0 | 0.024744 | 0 | 25 | 0 | 246436 | 0 | 9853 | 0 | 1 | 398203
MOSS LANDING | 0 | 3.4045 | 0 | 0.05587 | 0 | 60.9 | 0 | 1033407 | 0 | 16959 | 0 | 7 | 303545
SOUTH VALLEY AREA | 1.5123 | 4.1071 | 0.012181 | 0.038466 | 124.1585 | 106.7713 | 1470657 | 3993887 | 11845 | 37406 | 3 | 16 | 972435
BAKERSFIELD | 5.3598 | 10.7265 | 0.040813 | 0.087902 | 131.3 | 122 | 1462986 | 2927834 | 11140 | 23993 | 2 | 6 | 272953
FRESNO | 0 | 2.3362 | 0 | 0.028103 | 0 | 83.1 | 0 | 1045288 | 0 | 12574 | 0 | 5 | 447432
GATES | 0.199 | 0.5387 | 0.018289 | 0.021766 | 10.9 | 24.7 | 7671 | 20765 | 705 | 839 | 1 | 5 | 38547
PISMO BEACH | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 213503
DISTRIBUTION TOTAL | 10.4 | 199.2 | 0.091 | 1.278 | 114.2 | 155.8 | 59815093 | 1145478385 | 523816 | 7351554 | 2210 | 32519 | 5750834
CENTRAL COAST | 34.2 | 376.7 | 0.207 | 2.039 | 165.3 | 184.7 | 10293729 | 113259592 | 62287 | 613067 | 215 | 2777 | 300673
DE ANZA | 4.2 | 173.3 | 0.016 | 1.002 | 261.1 | 173 | 957060 | 39614863 | 3665 | 228932 | 44 | 1064 | 228538
DIABLO | 10.6 | 183.8 | 0.134 | 1.375 | 79.5 | 133.7 | 3537746 | 61172304 | 44509 | 457592 | 53 | 963 | 332832
EAST BAY | 10.3 | 102.1 | 0.138 | 0.898 | 74.5 | 113.7 | 3982472 | 39454137 | 53444 | 347114 | 61 | 792 | 386559
FRESNO | 10.8 | 162.9 | 0.1 | 1.121 | 107.5 | 145.4 | 4966089 | 74895758 | 46194 | 515120 | 204 | 3375 | 459671
HUMBOLDT | 24.7 | 555.2 | 0.133 | 2.341 | 184.9 | 237.2 | 3814750 | 85845792 | 20631 | 361984 | 152 | 1992 | 154632
KERN | 18.9 | 132.4 | 0.119 | 1.095 | 159.2 | 121 | 5188106 | 36249916 | 32595 | 299687 | 157 | 1883 | 273803
LOS PADRES | 15 | 221.1 | 0.206 | 1.832 | 72.7 | 120.7 | 3232490 | 47622619 | 44475 | 394648 | 93 | 1317 | 215438
MISSION | 5.9 | 101.9 | 0.049 | 0.761 | 121.4 | 134 | 2485148 | 42631789 | 20465 | 318156 | 50 | 823 | 418344
NORTH BAY | 13.6 | 191.4 | 0.124 | 1.29 | 109.4 | 148.4 | 3427281 | 48252674 | 31314 | 325248 | 133 | 1334 | 252126
NORTH VALLEY | 6.4 | 273.5 | 0.067 | 1.567 | 96.1 | 174.6 | 1357126 | 57558239 | 14118 | 329703 | 125 | 2285 | 210421
PENINSULA | 13 | 203.5 | 0.107 | 1.214 | 120.7 | 167.6 | 4078954 | 64070225 | 33797 | 382216 | 88 | 1197 | 314811
SACRAMENTO | 6.6 | 180 | 0.047 | 1.211 | 140.9 | 148.6 | 2060146 | 55948959 | 14617 | 376498 | 179 | 2465 | 310912
SAN FRANCISCO | 3.4 | 70.6 | 0.04 | 0.581 | 84.5 | 121.4 | 1413948 | 29640892 | 16740 | 244180 | 32 | 365 | 420045
SAN JOSE | 3.6 | 118.4 | 0.035 | 0.847 | 102.9 | 139.7 | 1579665 | 51979317 | 15348 | 372075 | 64 | 1216 | 439138
SIERRA | 3.3 | 354.8 | 0.041 | 2.184 | 81.6 | 162.5 | 780607 | 83678200 | 9566 | 514973 | 112 | 2077 | 235843
SONOMA | 6.2 | 177.8 | 0.059 | 1.307 | 104.9 | 136 | 1445852 | 41322889 | 13789 | 303842 | 110 | 1219 | 232458
STOCKTON | 8.3 | 251.4 | 0.075 | 1.586 | 111.1 | 158.6 | 2608220 | 78549816 | 23469 | 495414 | 123 | 2204 | 312391
YOSEMITE | 10.3 | 371.7 | 0.09 | 1.868 | 114.3 | 199 | 2605704 | 93730404 | 22793 | 471105 | 215 | 3171 | 252199
Bay Area Region | 8.9 | 128.3 | 0.105 | 0.987 | 84.7 | 129.9 | 12361447 | 178520007 | 146007 | 1374134 | 279 | 3454 | 1391562
Central Coast Region | 11.8 | 187.4 | 0.094 | 1.205 | 125.7 | 155.5 | 22627046 | 359178405 | 180037 | 2309094 | 554 | 8394 | 1916942
Central Valley Region | 11.8 | 218.3 | 0.096 | 1.372 | 122.9 | 159.1 | 15368119 | 283425894 | 125051 | 1781326 | 699 | 10633 | 1298064
Northern Region | 8.3 | 283.5 | 0.064 | 1.649 | 130.1 | 171.9 | 9458481 | 324354079 | 72721 | 1887000 | 678 | 10038 | 1144266
DCC-System | 10.4011 | 199.1847 | 0.091085 | 1.2783 | 114.191 | 155.8145 | 59815093 | 1145478385 | 523816 | 7351554 | 2210 | 32519 | 5750834
North DCC | 8.266 | 283.4604 | 0.063553 | 1.6491 | 130.0653 | 171.8888 | 9458481 | 324354079 | 72721 | 1887000 | 678 | 10038 | 1144266
AOR 1 | 11.0755 | 309.1607 | 0.081234 | 1.6661 | 136.3412 | 185.5565 | 6617728 | 184726920 | 48538 | 995529 | 387 | 5496 | 597511
North Valley | 6.4496 | 273.5385 | 0.067094 | 1.5669 | 96.1274 | 174.576 | 1357126 | 57558239 | 14118 | 329703 | 125 | 2285 | 210421
Sonoma | 6.2198 | 177.765 | 0.059318 | 1.3071 | 104.8555 | 136.0012 | 1445852 | 41322889 | 13789 | 303842 | 110 | 1219 | 232458
Humboldt | 24.6699 | 555.1619 | 0.13342 | 2.3409 | 184.9038 | 237.1536 | 3814750 | 85845792 | 20631 | 361984 | 152 | 1992 | 154632
AOR 2 | 5.1957 | 255.3743 | 0.04423 | 1.6305 | 117.469 | 156.6256 | 2840753 | 139627159 | 24183 | 891471 | 291 | 4542 | 546755
Sierra | 3.3099 | 354.8047 | 0.040561 | 2.1835 | 81.6022 | 162.4905 | 780607 | 83678200 | 9566 | 514973 | 112 | 2077 | 235843
Sacramento | 6.6261 | 179.9511 | 0.047013 | 1.2109 | 140.9418 | 148.6036 | 2060146 | 55948959 | 14617 | 376498 | 179 | 2465 | 310912
Central DCC | 10.5753 | 162.5201 | 0.098547 | 1.1133 | 107.3122 | 145.9856 | 34988493 | 537698412 | 326044 | 3683228 | 833 | 11848 | 3308504
AOR 3 | 11.2685 | 153.244 | 0.13306 | 1.1631 | 84.689 | 131.7568 | 10947499 | 148879115 | 129267 | 1129954 | 247 | 3089 | 971517
North Bay | 13.5935 | 191.3832 | 0.1242 | 1.29 | 109.4488 | 148.3566 | 3427281 | 48252674 | 31314 | 325248 | 133 | 1334 | 252126
East Bay | 10.3024 | 102.065 | 0.13826 | 0.89796 | 74.5167 | 113.6633 | 3982472 | 39454137 | 53444 | 347114 | 61 | 792 | 386559
Diablo | 10.6292 | 183.7933 | 0.13373 | 1.3748 | 79.4838 | 133.6831 | 3537746 | 61172304 | 44509 | 457592 | 53 | 963 | 332832
AOR 4 | 7.4748 | 127.5231 | 0.068771 | 0.85241 | 108.6907 | 149.6036 | 5492902 | 93711117 | 50537 | 626396 | 120 | 1562 | 734856
Peninsula | 12.9568 | 203.5197 | 0.10736 | 1.2141 | 120.6898 | 167.6283 | 4078954 | 64070225 | 33797 | 382216 | 88 | 1197 | 314811
San Francisco | 3.3662 | 70.566 | 0.039853 | 0.58132 | 84.4652 | 121.3895 | 1413948 | 29640892 | 16740 | 244180 | 32 | 365 | 420045
AOR 5 | 4.6241 | 123.5944 | 0.036351 | 0.84636 | 127.2069 | 146.0306 | 5021873 | 134225969 | 39478 | 919163 | 158 | 3103 | 1086020
Mission | 5.9404 | 101.9061 | 0.048919 | 0.76051 | 121.4341 | 133.9965 | 2485148 | 42631789 | 20465 | 318156 | 50 | 823 | 418344
DeAnza | 4.1877 | 173.3404 | 0.016037 | 1.0017 | 261.1351 | 173.0421 | 957060 | 39614863 | 3665 | 228932 | 44 | 1064 | 228538
San Jose | 3.5972 | 118.3667 | 0.03495 | 0.84728 | 102.9232 | 139.7012 | 1579665 | 51979317 | 15348 | 372075 | 64 | 1216 | 439138
South DCC | 11.8393 | 218.3451 | 0.096337 | 1.3723 | 122.8948 | 159.1095 | 15368119 | 283425894 | 125051 | 1781326 | 699 | 10633 | 1298064
AOR 6 | 26.208 | 311.7202 | 0.20686 | 1.9525 | 126.6951 | 159.6505 | 13526219 | 160882211 | 106762 | 1007715 | 308 | 4094 | 516111
Central Coast | 34.2356 | 376.6869 | 0.20716 | 2.039 | 165.2629 | 184.7426 | 10293729 | 113259592 | 62287 | 613067 | 215 | 2777 | 300673
Los Padres | 15.0043 | 221.0502 | 0.20644 | 1.8318 | 72.6811 | 120.6711 | 3232490 | 47622619 | 44475 | 394648 | 93 | 1317 | 215438
AOR 7 | 9.2349 | 305.1422 | 0.081939 | 1.7119 | 112.7042 | 178.2481 | 5213924 | 172280220 | 46262 | 966519 | 338 | 5375 | 564590
Stockton | 8.3492 | 251.4471 | 0.075127 | 1.5859 | 111.1347 | 158.5539 | 2608220 | 78549816 | 23469 | 495414 | 123 | 2204 | 312391
Yosemite | 10.3319 | 371.6526 | 0.090377 | 1.868 | 114.3204 | 198.9586 | 2605704 | 93730404 | 22793 | 471105 | 215 | 3171 | 252199
AOR 8 | 13.844 | 151.5332 | 0.10742 | 1.1109 | 128.8783 | 136.4074 | 10154195 | 111145674 | 78789 | 814807 | 361 | 5258 | 733474
Fresno | 10.8036 | 162.9334 | 0.10049 | 1.1206 | 107.5051 | 145.3948 | 4966089 | 74895758 | 46194 | 515120 | 204 | 3375 | 459671
Kern | 18.9483 | 132.3942 | 0.11905 | 1.0945 | 159.1688 | 120.9593 | 5188106 | 36249916 | 32595 | 299687 | 157 | 1883 | 273803

## Summary
Safety and Operational Metric (SOM) 2.1 – System Average Interruption Duration Index (SAIDI) (Unplanned)
Year | SAIDI (Hours)
2013 | 1.6
2014 | 1.52
2015 | 1.34
2016 | 1.56
2017 | 1.62
2018 | 1.66
2019 | 1.96
2020 | 2.1
2021 | 3.06
2022 | 3.56
2023 | 3.5633