Qualifying Capacity Methodology Manual Adopted 2015

### Table of Contents

1.	Table of Contents	1

2.	Introduction	1

2.1.	Guide to this Document	2

3.	Resource Classification	2

4.	Deliverability	4

5.	Data Conventions	6

6.	Outages and QC Calculation	7

7.	Dispatchable Generation	7

8.	Wind, PV, and Solar Thermal	8

9.	Qualifying Facility Cogeneration Resources	13

10.	Other Non-Dispatchable Resources	14

11.	Demand Response (DR)	15

12.	Acronym List	21

### Introduction

This manual describes the current net qualifying capacity (NQC) counting rules of the California Public Utilities Commission (CPUC) and the methodology for implementing these rules.  Each year, CPUC staff works with the California Energy Resources Conservation and Development Commission (Energy Commission) and California Independent System Operator (California ISO) to publish an NQC list which describes the amount of capacity that can be counted from each resource toward meeting Resource Adequacy (RA) requirements in the CPUC’s RA program.  The qualifying capacity (QC) of each resource is set by the methodologies described in this document.  Then after that, if the QC is not fully deliverable to aggregate California ISO load, the QC is adjusted to its deliverable capacity resulting in the NQC.  For the purposes of this report, the term ‘resource’ is used to refer to a generator that has a resource ID on the Master CAISO Control Area Generation Capability List (Generation Capability List) or a demand response program which may or may not have a resource ID.

## Guide to this Document

Sections 3 through 6 describe how resource classifications, deliverability, data conventions, and outages and derates affect QC calculations.  Sections 7 through 11 provide details on the specific calculation methodologies for each of the resource classifications.

The appendices to this report are presented in a separate file.

### Resource Classification

Each year, CPUC staff coordinates with California ISO and Energy Commission staff to group resources, by California ISO scheduling resource ID (CAISO ID), into the classifications described below.  Classification is based on the dispatchability and technology type of the resource.   Primary guidance comes from the most recent available Generation Capability Data List.  Demand response resources are not listed on the Generation Capability List; these resources are addressed in Section 11.

First, resources are grouped and classified according to the “ISO Classification” column.  Resources listed as wind are classified as wind, resources classified as photovoltaic are classified as PV, and those that are classified as solar thermal are classified as solar thermal.  The wind, PV, and solar thermal classifications receive QC according to the methodology described in Section 8.  Resources listed as hydro are classified as hydro resources.  Biomass, cogeneration, and geothermal facilities are also classified using the Generation Capability Data List.  Then, resources are sub-classified by dispatchability, as described below.

Each year, Energy Division and California ISO publish a preliminary NQC list of all qualifying resources, including the proposed classification of each resource.  Scheduling Coordinators (SCs) for individual resources may suggest changes to the classification of their resources.  Stakeholders suggesting a change are to do so in the appropriate time schedule and in the format specified each year when the California ISO and CPUC post the draft NQC list.  Resources that are dispatchable by the SC or California ISO are classified as dispatchable generation.  Dispatchable generation resources including dispatchable hydro resources receive QC according to the methodology described in Section 7.  This classification includes a variety of technologies:  steam turbines; combustion turbines; combined cycle gas turbines; reciprocating engines; and dispatchable combined heat and power (CHP), biomass and geothermal resources.  Use limited resources may be classified as dispatchable.

Finally, the non-dispatchable resources are classified according to technology type; wind and solar facilities receive a QC based on the method explained in section 8, QF cogeneration facilities receive a QC based on the method explained in section 9, and other non-dispatchable facilities receive a QC based on the method explained in section 10.

### Deliverability

Deliverability is the ability of the output of a generating resource to be delivered to aggregate California ISO load.  If a resource’s QC exceeds its deliverable capacity as determined by California ISO Deliverability Assessments, its NQC is adjusted downwards to its deliverable capacity.  In most cases, a resource is fully deliverable and there is no difference between QC and NQC.  There are three other deliverability states a resource can have: interim deliverability, partial deliverability, or energy only deliverability.

California ISO assesses the deliverability of new and existing resources two to three times per year; a Deliverability Assessment is a required part of the Large Generator Interconnection Procedures (LGIP).  Existing resources retain priority for deliverability over new resources and existing deliverable resources are not expected to lose deliverability rights unless the resource is unable to produce its deliverable capacity for at least three consecutive years.  The deliverability study provides new resources with information to understand which network upgrades are necessary to achieve full deliverability.

The ability of the output from a new generation project and existing generation to be delivered to aggregate load within California ISO during a resource shortage condition is evaluated pursuant to the ISO’s LGIP and the California ISO Deliverability Assessment Methodology posted on the California ISO’s website.

The California ISO Tariff defines a generation project’s deliverability as full deliverability, partial deliverability, interim deliverability, or energy only deliverability.  Full Capacity Deliverability Status and Energy-Only Deliverability Status are the most common deliverability statuses, and equate to either 100% or 0% deliverability, meaning the resource receives either 100% or 0% of their QC as NQC, respectively.  Partial Deliverability Status equates to a resource-specific MW limit that is between 0 and 100% deliverable.    Interim Deliverability Status means the resource is either fully or partially deliverable, but only temporarily and contingent on other developments such as other generators that will consume deliverability or other transmission that will create additional deliverability.  Either a power line is under construction or another resource is under construction that affects the resource’s final deliverability status.  A finding of deliverability does not ensure that a resource will not experience congestion, especially during non-peak periods, but the status is important for RA purposes.

Not all new resources use the LGIP.  Some resources connected to the transmission system with nameplate capacity 20 MW or less use the Small Generator Interconnection Procedure (SGIP).  The SGIP does not include a Deliverability Assessment and resources that use SGIP have an NQC equal to zero.  Other small resources that are connected to the distribution system may use a Small Generator Interconnection Agreement (SGIA) with the distribution system owner.  These SGIAs include deliverability assessments which are accepted by California ISO.  Therefore, these resources can be deliverable up to 100% their QC.

### Data Conventions

This section lists certain conventions used by CPUC staff in calculating the QC of non-dispatchable generating facilities:

- For wind, PV, solar thermal, and other non-dispatchable resources, historical production data is used to determine QC.  Production data is represented by “Actual Settlement Quality Meter Data” and equals the total hourly settled MWh quantity produced by the resource and injected into the CAISO-controlled grid.  This data is obtained by the CPUC on an hour specific and unit specific basis via subpoena to California ISO.

- For Predispatch QF cogeneration facilities, historical production equals a combination of settlement data augmented by bidding and scheduling data.  This data is also received by the CPUC from the California ISO via a subpoena.  This data represents the actual scheduled MW amount for that resource, as scheduled into the California ISO day ahead market.  If there is no scheduled MW amount, then historical production equals the settlement data for that hour.  This data is obtained on an hour specific and unit specific basis.

- New wind, solar, and other non-dispatchable resources produce energy in advance of officially reaching a Commercial Operation Date (COD).  Data created before the resource reaches a COD is called “test data” and is discarded for the QC calculation.  CPUC staff only utilizes historical production data beginning on the date a resource (or phase of a resource) reaches COD.

- A resource that reaches COD on the 15th day of a particular month or before will receive a QC calculated from historical production data from the first month it is online.  A resource that reaches COD on the 16th (or later) day of a month will have QC calculated from historical production data beginning in the following month.

- If facilities (either wind, solar thermal, PV, hydro, geothermal, etc.) have less than three years of historical production data (based on COD),  the QC value is a composite of calculations based on historical production data for phases that have reached COD and technology factors attributed to the remaining phases or time periods before the resource reached COD.  Production data is used for calculations for months that have sufficient settlement or scheduled MW data available (more than 15 days of production) , while monthly technology factors are used for the remainder of the three years.  For example, a resource that reached COD in July 2014 would receive a 2016 QC based on six months of actual production data and 30 months of values generated from technology factors.

### Outages and QC Calculation

Pursuant to D.15-06-063, neither forced nor planned outages affect the QC of a generating resource, whatever the generating type.  Thus this section was removed.

### Dispatchable Generation

Dispatchable generation resources receive NQC values based on their available capacity, subject to the checks described in Section 4, Deliverability.  The SC of the resource submits a proposed QC value to the California ISO, along with a reference to the resource’s most recent maximum power plant output (PMax) test that is in California ISO’s master file.  This information is submitted to the California ISO in a standard format.  The California ISO then checks the submitted value for consistency with the resource’s PMax and deliverability status.  If the proposed QC value is less than or equal to the PMax and the maximum deliverable capacity, it is accepted as the NQC value.  If not, the PMax or maximum deliverable amount is accepted as the NQC value.  The SC may coordinate with California ISO to update the PMax test or supply other information as requested by California ISO in order to determine an acceptable change to NQC and update the NQC at any time.

### Wind, PV, and Solar Thermal

The QC of wind, PV, and solar thermal facilities is based on an exceedance methodology.  The exceedance approach measures the minimum amount of generation produced by the resource in a certain percentage of included hours.  For example, the mathematical concept of “median” is a special case of the exceedance concept, with the exceedance level set to 50%.  The exceedance level used to calculate the QC of wind and solar resources is 70%.  Another way to describe the exceedance level is that the 70% exceedance level of a resource’s production profile is the MWh generation amount that the resource produces at least 70% of the time.  The exceedance concept is depicted in Figure 1.  While the median is not used in the wind and solar QC calculation, it is included in the diagram to provide context to the 70% exceedance.  The 70% exceedance value is shown as a blue horizontal line and the median is a purple horizontal line.

Figure 1.  Conceptual Diagram of Exceedance

Intuitively, the exceedance calculation ranks in descending order all of the included hours by production and draws the initial QC from the value 70% of the way through the ranking (30% from the lowest value).  In practice, this could be achieved with the percentile function in Excel, but for QC calculations the Statistical Analysis Software® (SAS) PROC UNIVARIATE routine is used.  Since in many cases, the precise 70th percentile falls between two values, interpolation between the two values surrounding the 70th percentile is needed.  The average, weighted by proximity to the 70th percentile, of the two values is used.  In Figure 1, interpolation is not needed since there are exactly 100 values in the data set and the 70th percentile corresponds to a discrete value in the data.

The included hours for the wind and solar QC calculations are shown in Table .  The included hours vary seasonally and are based on the time of system peak demand.

| Jan–Mar, Nov and Dec: | HE17 - HE21 (4:00 p.m. - 9:00 p.m.) |
| --- | --- |
| Apr–Oct: | HE14 - HE18 (1:00 p.m. - 6:00 p.m.) |

Table 1.  Included Hours for QC Calculations

36 months of production data are used for the QC calculation.  Staff uses as many months of complete data as are available (i.e. for 2009 QC values, 2005-2007 data).  As noted below, most of the following steps are repeated for each of the 36 months, and then the values for each month of the three years are averaged to result in 12 final monthly values.

The first step in calculating QC of wind and solar resources is to calculate the 70% exceedance for each time period (Equation 1).  This is called the Initial QC.  An initial QC is calculated for each resource for each of the 36 months.

Equation 1.  Initial QC

Differences in production profiles across different individual wind or solar resources are called diversity.  The exceedance of the sum of a diverse group of resources is always greater than or equal to the sum of the exceedances of the individual resources (i.e. the initial QCs).  Any difference between the exceedance of the total and the sum of the initial QCs is called the diversity benefit.  The total benefit of diversity is the difference between the 70% exceedance of all wind and solar resources as a group and the sum of the initial QCs of all individual resources.  The system diversity benefit is calculated for each of the 36 months (Equation 2).

Equation 2.  System Diversity Benefit

The benefits of resource diversity are allocated to all wind and solar resources on the basis of the energy produced during the included hours.  Each resource’s diversity share is calculated as the MWh produced during the included hours by that resource divided by the MWh produced by all wind and solar resources during the same time period (Equation 3).  The resource specific diversity benefit is the product of the resource diversity share and the system diversity benefit (Equation 4).  No resource may have a calculated QC that exceeds its maximum capacity (maximum capacity is calculated as the 1st percentile exceedance of the resources production over all the resource’s production data).  Therefore, this process is repeated in “passes” (for each of the 36 months) until the entire system diversity benefit (for the month) is allocated to specific resources and no resources have calculated QC greater than maximum capacity.  For the first pass, all resources are included, but in any passes after the first, only resources with calculated QCs from the previous pass that are less than maximum capacity are included.  The resource diversity benefit is calculated for each resource for each of the 36 months.  It is possible that some of the 36 months may require multiple passes while other months require only a single pass.

Equation 3. Resource Diversity Share

Equation 4.  Resource Diversity Benefit

The sum of a resource’s diversity benefit and its corresponding initial QC is referred to as the calculated QC (Equation 5).  As noted above, the calculated QC cannot exceed the maximum capacity.  If the calculated QC would exceed the maximum capacity, the calculated QC is set to the maximum capacity and the amount of the resource diversity benefit that is beyond the maximum capacity is considered the residual resource diversity benefit.  The residual resource diversity benefits of all resources are summed to become the system diversity benefit used in the following pass.  For the first pass, the initial QCs are used in Equation 5 for the calculated QC of the previous pass (i.e. CalculatedQCPass-1).

Equation 5.  Calculated QC for Existing Resources

Equation 6.  System Diversity Benefit for Pass 2 and any later Passes

If Equation 6 yields a positive system diversity benefit, a new pass is initiated, beginning with Equation 3.  Only the resources which have a calculated QC of less than maximum capacity from the just completed pass are included in the calculations during the new pass.

After the preceding steps are completed, each existing resource has 36 initial QCs and 36 corresponding resource diversity benefits. Therefore, each existing resource has 36 calculated QCs.  New resources, which do not have the complete 36 months of data, have calculated QCs for any month(s) which they do have data.  For each month that a new wind (solar) resource does not have an initial QC and resource diversity benefit, it receives a calculated QC value based on the performance (i.e. calculated QC) of all wind (solar) resources that existed during that month.  This value is the average calculated QC as a fraction of the available capacity of all of the wind (solar) resources in that month. The available capacity is calculated as the 1st percentile exceedance value of all hours in the month.  This value is multiplied by the PMax of the new resource (Equation 7).

Equation 7.  Calculated QC for New Wind (Solar) Resources

Now each and every wind and solar resource has 36 QC calculated values.  To calculate the final 12 monthly QC values, the three corresponding months are averaged for each resource.  For example, the three January values are averaged to calculate the final January QC (Equation 8).

Equation 8.  Final QC

The preceding description is a conceptual approach to the calculations of wind and solar QC values.  In practice, the calculations are performed in a SAS® program.  Annotated SAS® code for these calculations is included in the Appendix.

### Qualifying Facility Cogeneration Resources

Pursuant to D.15-06-063, a new classification was created for qualifying facilities that are cogeneration.  Many of these facilities are in the process of migrating to contracts that allow for utility predispatch and are called utility predispatch facilities (UPF).

D.15-06-063 adopted a treatment for these facilities in particular, which relies on bidding and scheduling history instead of settlement data.  CPUC staff has requested bidding and scheduling data from the CAISO, and now has the required data to supplement settlement data beginning in 2014.  In future years, more scheduling data will be available, and by the 2018 RA compliance year, CPUC staff will possess three full years of scheduling MW amounts.  Resources do not schedule themselves in all hours, however, and thus a combination of settlement data and scheduling data is required to calculate QC for these resources.

Beginning for the 2016 RA compliance year, CPUC staff took settlement data and scheduling data for QF cogeneration resources and, in hours where the resource had a scheduled MW amount, that scheduled MW amount was used instead of the same resource’s settlement data for that hour.  In hours where the scheduling MW data was non-existent for a particular resource (the resource did not submit a MW schedule amount) the settlement data for that hour was used.

A month specific average of production during the Selected Hours was created for each resource, and that month specific average became the QC of the resource.

### Other Non-Dispatchable Resources

Other non-dispatchable generation resources (i.e. exclusive of the wind, PV, solar thermal, and UPF cogeneration facilities dealt with in previous sections) receive monthly QC values based on a three-year rolling average of production during the Selected Hours in Table .  Production for these facilities is calculated from settlement quality meter data only.  The three most recent years of available data are used.  For example, 2010 QC is calculated based on 2006-2008 data.  Annotated SAS® code for these calculations is included in the Appendix.

For this calculation, each monthly value is calculated as an average of the production during the specified hours (Equation 9).  The 36 monthly average values are calculated as:

Equation 9.  Monthly Average Production for Non-Dispatchable Resources

Then, the monthly values are averaged together for all (up to three) years of available data to calculate the final QC for each month (Equation 10).

Equation 10.  Final QC of Non-Dispatchable Resources

Technology factors are also created for each type of resource, based on technology type (geothermal, cogeneration, non-dispatchable hydro, and biomass).  New, non-dispatchable resources with less than three years of historical production data for any month shall receive QC for that month based on multiplying the resource’s PMax by the applicable technology factors (Equation 11).

Equation 11.  QC for Non-Dispatchable Resources with no Available Data

### Demand Response (DR)

In D.09-06-028, CPUC directed that the QC of DR resources will be based on the Load Impact Protocols (LIPs) adopted by D.08-04-050.  However, the LIPs provide far more detailed information than 12 monthly QC values.  The discussion of the LIPs in this manual does not in any way impact the requirements of any previous decision in the DR proceedings or any other uses of the LIPs besides QC calculations.

The LIPs must be followed by the entity (typically the IOU) requesting that the DR program be eligible for meeting RA Requirements.  That entity must work with Energy Division staff to provide the LIP information described below for the DR resource to receive QC values.  The following table summarizes the use of LIPs for QC demonstration.  Event based resources (i.e. AC cycling) are DR programs that only operate when a specific event is called, while non-event based resources (i.e. Time-Of-Use rates or permanent load shifting) operate each day, regardless of whether or not a DR event is “called”.  Page and section references in this table refer to Attachment A to D.08-04-050.

The monthly QC of a DR resource is the average expected (ex ante) load impact measured over certain measurement hours.  The measurement hours are:

| RA Compliance Year | Hours |  |
| --- | --- | --- |
| 2011 | Hour Ending (HE) 15 to HE 18 (2:00 p.m. to 6:00 p.m.) |  |
| 2012 and beyond, except for programs that have a different, fixed operational period set by CPUC decision. | Jan–Mar, Nov and Dec: | HE 17 to HE 21 (4:00 p.m. - 9:00 p.m.) |
|  | Apr–Oct: | HE 14 to HE 18 (1:00 p.m. - 6:00 p.m.) |

Table 2.  Measurement Hours for DR

The hourly estimates for each of these hours from the LIP data are averaged together.  These hourly estimates must be provided according to protocols 17, 21, 22, and 23.  Other protocols described in this table are required for supporting data and report formatting.

| Resource Type | Load Impact Protocols Required |
| --- | --- |
| Event Based Resources. Example IOU programs: CPP CBP DBP AC Cycling OBMC | Ex Post for Event Based Resources Protocol 7 requires impact estimates be reported in a table format. Uncertainty adjustments are not needed in the table. Protocol 8 requires reporting for the average across all participants notified on an average event day over the evaluation period. Only the hourly load drop across all participants notified on an average event day is required; no need to provide the following details: - Each day on which an event was called; - The average event day over the evaluation period - For the average across all participants notified on each day on which an event was called; - For the total of all participants notified on each day on which an event was called. Protocol 10 requires regression based methods (read section 4.2.2, pg 60 for an overview of regression analysis). Any suppliers choosing not to use regression as described in Protocol 10 must file an evaluation plan (Protocols 1-3) well in advance of the QC demonstration deadline. Ex Ante for Event Based Resources Protocol 17 requires that ex ante estimates should be informed by ex post whenever possible. Protocol 21 requires impact estimates be reported in a table format. Uncertainty adjustments are not needed in the table. Protocol 22 requires the use of 1-in-2 weather year for the monthly system peak day. The 1-in-10 weather year, typical event day, or an average weekday for each month are not needed for QC calculation. Protocol 23 requires ex ante estimates be based on regression methodologies (read section 6.2, pg 98 for guidance). Portfolio Impacts, if Required Protocol 24 describes methodology for estimating the impacts of multiple DR programs within a portfolio. All DR resources whose participants also participate in other DR programs (potentially operated by other entities) must follow Protocol 24; such resources should also submit an evaluation plan (Protocols 1-3). Sampling if Required Protocol 25 requires certain procedures to ensure that sampling bias is minimized. Protocol 25 is not anticipated to be required for most DR resources using LIPs only to demonstrate QC; DR resources with a small number of participating customers should provide data from all participants, obviating the need for sampling methodologies. For resources with enough participants to adopt a sampling methodology, an evaluation plan (Protocols 1-3) is required well in advance of the QC demonstration deadline. Reporting Protocols Protocol 26 lists certain sections that should be included in the evaluation reports. These reports may be limited in scope, as described above. |
| Non-Event Based Resource. Example IOU programs: TOU RTP SLRP PLS | Ex Post for Non-Event Based Resources Protocol 14 (same as Protocol 7) requires impact estimates be reported in a table format. Uncertainty adjustments are not needed in the table. Protocol 15 requires reporting for the monthly system peak day. Protocol 16 requires regression based methods (read section 5.2, pg 84 for guidance). Any suppliers choosing not to use regression as described in Protocol 10 must file an evaluation plan (Protocols 1-3) well in advance of the QC demonstration deadline. Ex Ante for Non-Event Based Resources Protocol 17 requires ex ante estimates should be informed by ex post whenever possible. Protocol 21 requires impact estimates be reported in a table format. Uncertainty adjustments are not needed in the table. Protocol 22 requires the use of 1-in-2 weather year for the monthly system peak day. The 1-in-10 weather year, average weekday, or typical event day are not needed for QC calculation. Protocol 23 requires ex ante estimates be based on regression methodologies (read section 6.2, pg 98 for guidance). Portfolio Impacts, if Required Protocol 24 describes methodology for estimating the impacts of multiple DR programs within a portfolio. All DR resources whose participants also participate in other DR programs (potentially operated by other entities) must follow Protocol 24; such resources should also submit an evaluation plan (Protocols 1-3). Sampling if Required Protocol 25 requires certain procedures to ensure that sampling bias is minimized. Protocol 25 is not anticipated to be required for most DR resources using LIPs only to demonstrate QC; DR resources with a small number of participating customers should provide data from all participants, obviating the need for sampling methodologies. For resources with enough participants to adopt a sampling methodology, an evaluation plan (Protocols 1-3) is required well in advance of the QC demonstration deadline. Evaluation Reporting Protocol 26 lists certain sections that should be included in the evaluation reports. These reports may be limited in scope, as described above. |

Table 3.  Required LIPs

As noted above, in order to summarize the detailed LIP information to monthly QC values, QC is measured using the average expected (ex ante) load impact during the appropriate measurement hours shown in Table 2.  CPUC staff takes the hourly estimates provided according to the LIPs and averages the estimates over the relevant hours.

In order for DR programs to receive local capacity credit for RA, the load impact must be broken down by local areas.  However, this breakdown is not required for all months – it is only required for August.  Further, for compliance purposes the CPUC aggregates PG&E’s “other” local areas: Fresno, Humboldt, North Coast/North Bay, Sierra, and Stockton.  These areas do not need to be broken out individually.  For August, average expected (ex ante) load impact must be provided by local area as follows, for each DR program:

| SDG&E | SCE | PG&E |
| --- | --- | --- |
| San Diego | Big Creek/Ventura | Greater Bay Area |
| System (no local area) | LA Basin | Other PG&E local areas |
|  | System (no local area) | System (no local area) |
| Program Total | Program Total | Program Total |

Table 4. Local Area Breakdown for DR Resources.

For each program, the sum of system and local capacities should equal the program total capacity.  Table  is not intended to be a format, but simply a description of the data required.  If a program operates in multiple IOU territories, expected load impacts for all relevant local areas should be included.

Recently, D.15-06-063 changed the source of data for CPUC to use when grossing up load impacts for avoided transmission and distribution line (T&D) losses.  Previously, CPUC staff sourced T&D line loss data from each utility’s most recent adopted General Rate Case.  D.15-06-063 changed the source of data, and for the time being CPUC staff will source T&D line loss data from the most recent LTPP scenarios and assumptions update.  CPUC staff will “gross-up” the DR QC for avoided line losses.  A single loss rate for each service area is calculated according to Equation 12.  Total Line Loss Factor

Equation 12.  Total Line Loss Factor

Finally, the QC of DR is calculated by grossing up by the loss rate.

Equation 13.  Final QC of DR

### Acronym List

| Acronym | Definition |
| --- | --- |
| CAISO ID | California ISO Scheduling Resource ID |
| California ISO | California Independent System Operator |
| CEC | California Energy Resources Conservation and Development Commission |
| CPUC | California Public Utilities Commission |
| HE | Hour Ending |
| IOU | Investor Owned Utility |
| kW | Kilowatt |
| kWh | Kilowatt-hour |
| LGIP | Large Generator Interconnection Procedures |
| LIP | Load Impact Protocol |
| MW | Megawatt |
| MWh | Megawatt-hour |
| NQC | Net Qualifying Capacity |
| PMax | Maximum Power Plant Output |
| QC | Qualifying Capacity |
| RA | Resource Adequacy |
| SAS® | Statistical Analysis Software |
| SC | Scheduling Coordinator |
| SGIA | Small Generator Interconnection Agreement |
| SGIP | Small Generator Interconnection Procedures |
| SLIC | Scheduling and Logging for ISO of California |

(END OF APPENDIX B)

http://www.caiso.com/14d4/14d4c4ff59780.html.

D.15-06-063 adopted disaggregation of solar facilities into PV and solar thermal resources for purposes of QC calculation

See Appendix U of the California ISO Tariff: http://www.caiso.com/2471/2471994c26350.pdf.  See also:  Section 5.1.3.4 of CAISO’s Business Practice Manual for Reliability Requirements: https://bpm.caiso.com/bpm/bpm/version/000000000000011.

The exception to this rule is reduction in deliverability caused by any degradations of the transmission system which are not repaired promptly, for example due to fires or other force majeure events.

http://www.caiso.com/23d7/23d7e41c14580.pdf.

See Appendix S to the California ISO Tariff: http://www.caiso.com/2471/247198fe24690.pdf.

SGIA interconnections use the Wholesale Distribution Access Tariff (WDAT).

See also, Section 5 of CAISO’s Business Practice Manual for Reliability Requirements: https://bpm.caiso.com/bpm/bpm/version/000000000000011.

California ISO coordinates with SCs for resources to schedule PMax tests at a time selected by the SC.  Generally, SCs select the timing of a PMax test to demonstrate output of the resource at or near its maximum possible output.

See http://www.caiso.com/1796/179697c864850.xls.

Previous to D.15-06-063, both PV and solar thermal resources were lumped together, and the production of both types of resources created the solar technology factor.  D.15-06-063 created separate technology factors for each classification.

Adopted in D.09-06-028, Appendix C.

The production profile in the figure is generated randomly and is not intended to represent any particular resource or classification of resources.

For more information about SAS®, see http://www.sas.com/technologies/analytics/statistics/stat/index.html.

See the description of the PCTLDEF=1 at: http://support.sas.com/documentation/cdl/en/procstat/59629/HTML/default/procstat_univariate_sect028.htm.

HE indicates “hour ending”, or the 60 minutes that end at the numbered hour, in 24 hour time.  For example, HE17 indicates the 60 minutes beginning at 16:00 
(i.e. 4:00 p.m.) and ending at 16:59.

The LIPs are detailed in Appendix A to D.08-04-050; http://docs.cpuc.ca.gov/WORD_PDF/FINAL_DECISION/81979.PDF.

The deadline is typically April 1.

If assumptions underlying the LIP estimates for a particular program are unreasonably optimistic, CPUC staff accordingly reduces the load impacts.